## Sheet2
| Meter Cluster Specific | [6 empty] | Distribution Domain Specific |  |  |  | Area Physical / Environmentals |  |  | Spectrum
[15 empty] | < 700MHz |  | 700 - <900MHz |  | 900 - <1000MHz |  | 1 - <2GHz |  | 2 - <3GHz |  | 3 - <4GHz |  | 4 - <5GHz |  | 5 - <6GHz
Geopolitical Area | # meters - electr | # meters - gas | # meters - water | # meter cluster sq mi | # service area sq mi | miles to nearest meter cluster (centroid - centroid) | for most isolated meter - miles to nearest meter | # distr points - proposed total | # substations - distr | # distr feeder circuits | # distr ROW miles | terrain - perdominate/secondary types | clutter - perdominate /secondary (type & height & density) | foliage - perdominate /secondary (type & height & density) | present (Y/N or specify band) | noise floor levels | present (Y/N or specify band) | noise floor levels | present (Y/N or specify band) | noise floor levels | present (Y/N or specify band) | noise floor levels | present (Y/N or specify band) | noise floor levels | present (Y/N or specify band) | noise floor levels | present (Y/N or specify band) | noise floor levels | present (Y/N or specify band) | noise floor levels
Service Area 1
outside of Meter Clusters
Meter Cluster 1A
Meter Cluster 1B
Meter Cluster 1C
Meter Cluster 1D
Meter Cluster 1E
Meter Cluster 1F
Meter Cluster 1G
Meter Cluster 1H
Meter Cluster 1I
Service Area 2 | 21800 | 16510 | 18710 | 1900 | 2500 |  | 5 | 93 | 7 | 22 | 1200 | flat / rolling hills |  | open / low trees
outside of Meter Clusters | 5290 | 0 | 2200 | 1867 |  |  | 5 | 50 | 3 | 7 | 1200 | flat / rolling hills | 1-2str | open / low trees
Meter Cluster 2A | 2380 | 2380 | 2380 | 4 |  | 17 |  | 8 |  | 3 |  | flat | 1-2str | open / low trees
Meter Cluster 2B | 250 | 250 | 250 | 2 |  | 17 |  | 6 | 1 | 2 |  | flat | 1str | low trees
Meter Cluster 2C | 3000 | 3000 | 3000 | 8 |  | 9 |  | 9 | 1 | 3 |  | valley / mnt | 1-2str | pines / mature deciduous
Meter Cluster 2D | 9500 | 9500 | 9500 | 16 |  | 27 |  | 15 | 2 | 7 |  | flat | 1str / 2-3str | mature deciduous
Meter Cluster 2E | 1380 | 1380 | 1380 | 3 |  | 9 |  | 5 |  | 1 |  | rolling hills | 1-2str | low trees
Service Area 3
outside of Meter Clusters
Meter Cluster 3A
593.1169