## SM Requirements
Rqmt Ref | Data Flow Ref (min set that includes opts) - SG-Net Diag r0.4e | Data Flow from Actor | Data Flow to Actor | Use Case Ref | ANSI C12.19 Ref | Proposed Category | Requirements (assumed electric unless noted otherwise) | Payload Name - Specific Data/Mesg (Logical - info content the same) | Payload Type | Daily Clock Periods of Primary Occurance | How Often | Reliability | Latency (response time one direction) Rqmts | Candidate NIST LIC | Payload Size Type (native, Intgrt, display) | App Payload Size - bytes | Implication (sys critical, low importance)
| 1D, 1Ca | Smart Meter | AMI Head-End | Security Mgmt | 24 | Meter Mgt | Smart meter sends an indication when a deregistration response is received from the AMI Head-End. | Deregistered | ack |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca | Smart Meter | AMI Head-End | Security Mgmt | 24 | Meter Mgt | Smart meter sends an indication when a deregistration message is sent to the AMI Head-End. | Deregistration Attempt | alarm |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca | Smart Meter | AMI Head-End | Security Mgmt | 23 | Meter Mgt | Smart meter sends an indication when a successful registration message is received from the AMI Head-End. | Registered | ack |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca | Smart Meter | AMI Head-End | Security Mgmt | 23 | Meter Mgt | Smart meter sends an indication when a registration message is sent to the AMI Head-End. | Registration Attempt | alarm |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca | Smart Meter | AMI Head-End | System Updates |  | ??? | Smart meter sends an indication when a network hush procedure is started. | Network Hush Started | alarm |  |  |  | seconds |  |  |  | low importance
| 1D, 1Ca | Smart Meter | AMI Head-End | System Updates |  | NAN Mgt | Smart meter sends an indication when the RFLAN cell ID is changed. | RFLAN Cell ID changed | ack |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Configuration Mgmt |  | Meter Mgt | Smart meter sends an indication when a command to activate firmware is received while the meter is already activating another firmware load. | Activate In Progress | alarm |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Configuration Mgmt |  | Meter Mgt | Smart meter sends an indication when an error occurs during a reconfiguration attempt or if configuration is rejected. | Configuration Error | alarm/nack |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Configuration Mgmt | 16, 17 | Meter Mgt | Smart meter sends an indication when it has detected an error in the Load Profile. | Load Profile Error | alarm |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Configuration Mgmt |  | Meter Mgt | Smart meter sends an indication when a meter reconfiguration has occurred. | Meter Reconfigure | alarm |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Configuration Mgmt |  | Meter Mgt | Smart meter sends an indication when a pending table is received. (Does not apply to firmware download.) | Pending Reconfigure | ack |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Configuration Mgmt | 12, 13 | Meter Mgt | Smart meter sends an indication when a message to activate a specific pending table is received, but the specified item is not found in the pending table list. | Pending Table Activate Fail | nack |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Configuration Mgmt | 12, 13 | Meter Mgt | Smart meter sends an indication when a pending table is activated. | Pending Table Activation | ack |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Configuration Mgmt | 14, 15 | Meter Mgt | Smart meter sends an indication when a pending table is cleared. | Pending Table Clear | ack |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Configuration Mgmt | 14, 15 | Meter Mgt | Smart meter sends an indication when a message to clear a specific pending table is received, but the specified item is not found in the pending table list. | Pending Table Clear Failed | nack |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Configuration Mgmt | 12, 13, 14, 15 | Meter Mgt | Smart meter sends an indication when an error has occurred during a pending table procedure. | Pending Table Error | alarm |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Configuration Mgmt |  | Meter Mgt | Smart meter sends an indication when an attempt to add a firmware table to pending tables list is made and the firmware pending table list is full. | Pending Table List Full | nack |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Configuration Mgmt |  | Meter Mgt | Smart meter sends an indication when a firmware download pending table header is swapped with a new header. | Pending Table Swapped | ack |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Configuration Mgmt |  | Meter Mgt | Smart meter sends an indication when it is unable to determine Service Type. | Service Type Unknown | alarm |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 1B | Smart Meter | MDMS |  | 11 | Meter Mgt | Smart meter sends an indication when it has entered Test Mode. | Test Mode Enter | ack |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 1B | Smart Meter | MDMS |  | 11 | Meter Mgt | Smart meter sends an indication when it has exited Test Mode and returned to Normal Mode. | Test Mode Exit | ack |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 1B, 7 | Smart Meter | MDMS, NMS, WMS | Performance Mgmt | 11 | Meter Mgt | Smart meter sends an indication when it fails its self-check. | Self-check fail | alarm |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Load Mgmt | 16 | Meter Mgt | Smart meter sends an indication when a given load profile is activated. | Load Profile Activate | ack |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Load Mgmt | 17 | Meter Mgt | Smart meter sends an indication when a given load profile is deactivated. | Load Profile Deactivated | ack |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 9 | Smart Meter | LMS | Load Mgmt |  | HAN Mgt | Smart meter sends an indication whenever a HAN device changes status. | HAN Device Status Change | alarm |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 9 | Smart Meter | LMS | Load Mgmt |  | HAN Mgt | Smart meter sends an indication whenever a HAN device sends a message. | HAN Message Sent | alarm |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 9 | Smart Meter | LMS | System Updates |  | HAN Mgt | Smart meter sends an indication when registered HAN device stops communicating. | HAN Communication Failure | alarm |  |  |  | minutes |  |  |  | high importance
| 1D, 1Ca, 9 | Smart Meter | LMS | System Updates |  | HAN Mgt | Smart meter sends an indication when a HAN device registers to it. | HAN Register | alarm |  |  |  | minutes |  |  |  | high importance
| 1D, 1Ca, 9 | Smart Meter | LMS | System Updates |  | HAN Mgt | Smart mter sends an indication when a HAN device deregisters from it. | HAN Deregister | alarm |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca, 1B, 7, 9 | Smart Meter | MDMS, LMS, NMS, WMS | Service Switch | 21 | Meter Mgt | Smart meter sends an indication when a base configured for enhanced mode does not respond with enhanced mode messages. | Base Mode Error | alarm |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca, 1B, 9 | Smart Meter | MDMS, LMS | Service Switch | 21 | Meter Mgt | Smart meter sends an indication when a base switch command is activated. | Base Switch Command | ack |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 9 | Smart Meter | LMS | Load Mgmt | 21 | Load Mgt | Smart meter sends an indication when a load control message is sent to a device via HAN. | Load Control Event Sent | ack |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 9 | Smart Meter | LMS | Load Mgmt | 21 | Load Mgt | Smart meter sends an indication when a load control status message is received via HAN. | Load Control Event Status | alarm |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 9 | Smart Meter | LMS | Load Mgmt | 21 | Load Mgt | Smart meter sends an indication when an opt-out (override) load control event status is received. | Load Control Opt Out | alarm |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 9 | Smart Meter | LMS | Load Mgmt | 21 | Load Mgt | Smart meter sends an indication when the HAN rejects a load control message as invalid. | Load Control Error | alarm |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 1B, 9 | Smart Meter | MDMS, LMS | Service Switch | 21 | Meter Mgt | Smart meter sends an indication when a base switch command is rejected. | Base Switch Command Error | alarm |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Meter Read | 3 | Meter Mgt | Smart meter sends an indication when billing data is cleared. | Billing Data Cleared | ack |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca, 1B, 1Aa | Smart Meter | MDMS, CIS | Meter Read |  | Meter Mgt | Smart meter sends an indication when billing schedule is set to expire in one year. | Billing Schedule Expiration | alarm |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Meter Read | 9 | Meter Mgt | Smart meter sends an indication when a demand reset is initiated. | Demand Reset | ack |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Meter Read | 9 | Meter Mgt | Smart meter sends an indication when a Demand Reset related to a Periodic Read is scheduled. | PR Demand Reset | ack |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Meter Read | 5 | Meter Mgt | Smart meter sends an indication when a Self Read related to a Periodic Read is scheduled. | PR Self Read | ack |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Meter Read |  | Meter Mgt | Smart meter sends an indication when watthour register has exceeded its threshold. | Register Full Scale Exceeded | alarm |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca, 1B, 1Aa | Smart Meter | MDMS, CIS | Meter Read | 5 | Meter Mgt | Smart meter sends an indication when a self read has occurred, either scheduled or by ANSI command. | Self Read Occurred | alarm |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca, 1B, 1Aa | Smart Meter | MDMS, CIS | Meter Read |  | Meter Mgt | Smart meter sends an indication when a service limiting tier threshold is reached. | Service Limiting Tier Threshold | ack |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Meter Read |  | Meter Mgt | Smart meter sends an indication when a given table is written and saved. | Table Written | ack/alarm |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca, 1B, 14, 7 | Smart Meter | MDMS, NMS, WMS, OMS | Performance Mgmt |  | Meter Mgt | Smart meter sends an indication when a metrology element failure has occurred. | Metrology Fail | alarm |  |  |  | seconds |  |  |  | critical
| 1D, 1Ca, 1B, 1Aa | Smart Meter | MDMS, CIS | Pre-Pay Metering |  | Pre-Pay | Smart meter sends an indication when prepayment pre-warning limit is reached. | Prepay Pre-Warning | alarm |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca, 1B, 1Aa | Smart Meter | MDMS, CIS | Pre-Pay Metering |  | Pre-Pay | Smart meter sends an indication when prepayment warning limit is reached. | Prepay Warning | alarm |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca, 1B, 1Aa | Smart Meter | MDMS, CIS | Pre-Pay Metering |  | Pre-Pay | Smart meter sends an indication when prepayment overdraft limit is reached. | Prepay Overdraft | alarm |  |  |  | minutes |  |  |  | high importance
| 1D, 1Ca, 1B, 1Aa | Smart Meter | MDMS, CIS | Meter Read |  | Meter Mgt | Smart meter sends an indication when billing tier threshold is reached. | Billing Tier Threshold | alarm |  |  |  | minutes |  |  |  | high importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Security Mgmt | 18 | App Security | Smart meter sends an indication when an incorrect password is used over the optical port. | ANSI Security Fail | alarm |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Security Mgmt | 18 | App Security | Smart meter sends and indication when a connection over the optical port is accepted. | ANSI Login | alarm |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca, 1B, 7, 1Aa | Smart Meter | MDMS, NMS, WMS, CIS | Tamper Events | 26 | App Security | Smart meter sends an indication when a tamper event has cleared. | Tamper Event Cleared | alarm |  |  |  | minutes |  | Unsigned32 |  | low importance
| 1D, 1Ca, 1B, 7, 1Aa | Smart Meter | MDMS, NMS, WMS, CIS | Performance Mgmt | 26 | App Security | Smart meter sends an indication when a fatal error is detected. | Fatal Error | alarm |  |  |  | seconds |  |  |  | critical
| 1D, 1Ca, 1B, 7, 1Aa | Smart Meter | MDMS, NMS, WMS, CIS | Tamper Events | 26 | App Security | Smart meter sends an indication when an inversion tamper is detected. | Inversion Tamper Detected | alarm |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca, 1B, 7, 1Aa | Smart Meter | MDMS, NMS, WMS, CIS | Tamper Events | 26 | App Security | Smart meter sends an indication when a removal tamper event is detected. | Removal Tamper Detected | alarm |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca | Smart Meter | AMI Head-End | Security Mgmt | 18 | Network Security | Smart meter sends an indication when a RFCOM login is accepted. | RFCOM Login | alarm |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca | Smart Meter | AMI Head-End | Security Mgmt | 18 | Network Security | Smart meter sends an indication when a RFCOM login is rejected. | RFCOM Security Fail | alarm |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca | Smart Meter | AMI Head-End | Security Mgmt | 19 | Network Security | Smart meter sends an indication when an RFCOM logout is accepted. | RFCOM Logout | alarm |  |  |  | minutes |  |  |  | low importance
| 1D, 1Ca, 9 | Smart Meter | LMS, OMS | Load Mgmt |  | Meter Mgt | Smart meter sends an indication when a random-time power-up event is scheduled. | RND Power Up | ack |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 9 | Smart Meter | LMS | Load Mgmt |  | Meter Mgt | Smart meter sends an indication when it is unable to schedule randomized service limiting. | RND RCD Exceptions | nack |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 1B, 9 | Smart Meter | MDMS, LMS | Load Mgmt |  | Meter Mgt | Smart meter sends an indication when an invalid event is scheduled on the event manager queue. | Scheduled Event Rejected | nack |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Performance Mgmt |  | Meter Mgt | Smart meter sends an indication when time sync to the network has failed for any reason. | Time Adjustment Failed | alarm |  |  |  | seconds |  |  |  | critical
| 1D, 1Ca, 1B | Smart Meter | MDMS | Performance Mgmt |  | Meter Mgt | Smart meter sends an indication when internal time is changed either manually or by network time sync. | Time Change | ack |  |  |  | seconds |  |  |  | high importance
| 1D, 1Ca, 1B | Smart Meter | MDMS | Performance Mgmt |  | Meter Mgt | Smart meter sends an indication when current year or season is not programmed or no battery is present and operational. | TOU Schedule Error | alarm |  |  |  | minutes |  |  |  | critical
| 1D, 1Ca, 1B | Smart Meter | MDMS | Meter Read |  | Meter Mgt | Smart meter sends an indication when a season change occurs. | Season Change | alarm |  |  |  | minutes |  |  |  | low importance

## ANSI C12.19 Procedures
ANSI C12.19 Procedures
Number | Name
0 | Cold Start
1 | Warm Start
2 | Save Configuration
3 | Clear Data
4 | Reset List Pointers
5 | Update Last Read Entry
6 | Change End Device Mode
7 | Clear Standard Status Flags
8 | Clear Manufacturer Status Flags
9 | Remote Reset
10 | Set Date and Time
11 | Execute Diagnostics
12 | Activate All Pending Tables
13 | Activate Specific Pending Tables
14 | Clear All Pending Tables
15 | Clear Specific Pending Tables
16 | Start Load Profile
17 | Stop Load Profile
18 | Log In
19 | Log Out
20 | Initiate an Immediate Call
21 | Direct Load Control
22 | Modify Credit
23 | Register
24 | Deregister
25 | Network Interface Control
26 | Exception Report
27 | Clear Pending Call Status
28 | Start Quality of Service
29 | Stop Quality of Service
30 | Start Secured Registers
31 | Stop Secured Registers