  - NIST IR 7628 Actors to Open ADR Roles Mapping

| NIST IR 7628 Actor Number | NIST IR 7628 Actor | Open ADR Role |
| --- | --- | --- |
| 27 | Distribution Management System | DR Controlling Entity |
| 41 | Aggregator/Retail Energy Provider | DR Controlling Entity/DR Resource |
| 32 | Load Management Systems/Demand Response Management System | DR Controlling Entity |
| 30 | Energy Management System (EMS) | DR Controlling Entity |
| 5 | Customer Energy Management System | DR Resource |
| 3 | Customer Appliances and Equipment | DR Asset |
| 4 | Customer Distributed Energy Resources: Generation and Storage (DER) | DR Asset |

  - NIST IR 7628 Security Objectives to Open ADR Security Principles Mapping

| NIST IR 7628 Scenario | Cyber Security Objective / Requirements | Open ADR Security Principle |
| --- | --- | --- |
| Real-Time Pricing (RTP) for Customer Load and DER/PEV | Integrity, including non-repudiation, of pricing information is critical, since there could be large financial and possibly legal implications Availability, including non-repudiation, for pricing signals is critical because of the large financial and possibly legal implications Confidentiality is important mostly for the responses that any customer might make to the pricing signals |  |
| Time of Use (TOU) Pricing | Integrity is not critical since TOU pricing is fixed for long periods and is not generally transmitted electronically Availability is not an issue Confidentiality is not an issue, except with respect to meter reading |  |
| Net Metering for DER and PEV | Integrity is not very critical since net metering pricing is fixed for long periods and is not generally transmitted electronically Availability is not an issue Confidentiality is not an issue, except with respect to meter reading |  |
| Feed-In Tariff Pricing for DER and PEV | Integrity is not critical, since feed-in tariff pricing is fixed for long periods and is generally not transmitted electronically Availability is not an issue Confidentiality is not an issue, except with respect to meter reading |  |
| Critical Peak Pricing | Critical Peak Pricing builds on TOU pricing by selecting a small number of days each year where the electric delivery system will be heavily stressed and increasing the peak (and sometime shoulder peak) prices by up to 10 times the normal peak price. This is intended to reduce the stress on the system during these days. |  |
| Load Management | Integrity of load control commands is critical to avoid unwarranted outages Availability for load control is important – in aggregate (e.g. > 300 MW), it can be critical Confidentiality is not very important |  |

  - NIST IR 7628 Technical Requirements Mapped Open ADR Controls

| NIST IR 7628 Requirement | NIST IR 7628 Short Name | Open ADR Control | Coverage |
| --- | --- | --- | --- |
| SG.AC-3 |  |  |  |
| SG.AC-5 | Information Flow Enforcement |  |  |
| SG.AC-6 | Separation of Duties |  |  |
| SG.AC-7 | Least Privilege |  |  |
| SG.AC-8 | Unsuccessful Login Attempts |  |  |
| SG.AC-11 | Concurrent Session Control |  |  |
| SG.AC-12 | Session Lock |  |  |
| SG.AC-13 | Remote Session Termination |  |  |
| SG.AC-14 | Permitted Actions without Identification or Authentication |  |  |
| SG.AC-15 | Remote Access |  |  |
| SG.AC-16 | Wireless Access Restrictions |  |  |
| SG.AC-17 | Access Control for Portable and Mobile Devices |  |  |
| SG.AC-21 | Passwords |  |  |
| SG.AU-2 | Auditable Events |  |  |
| SG.AU-3 | Content of Audit Records |  |  |
| SG.AU-4 | Audit Storage Capacity |  |  |
| SG.AU-15 | Audit Generation |  |  |
| SG.AU-16 | Non-Repudiation |  |  |
| SG.CM-7 | Configuration for Least Functionality |  |  |
| SG.CM-8 | Component Inventory |  |  |
| SG.IA-4 | User Identification and Authentication |  |  |
| SG.IA-5 | Device Identification and Authentication |  |  |
| SG.IA-6 | Authenticator Feedback |  |  |
| SG.SC-2 | Communications Partitioning |  |  |
| SG.SC-3 | Security Function Isolation |  |  |
| SG.SC-4 | Information Remnants |  |  |
| SG.SC-5 | Denial-of-Service Protection |  |  |
| SG.SC-6 | Resource Priority |  |  |
| SG.SC-7 | Boundary Protection |  |  |
| SG.SC-8 | Communication Integrity |  |  |
| SG.SC-9 | Communication Confidentiality |  |  |
| SG.SC-10 | Trusted Path |  |  |
| SG.SC-11 | Cryptographic Key Establishment and Management |  |  |
| SG.SC-12 | Use of Validated Cryptography |  |  |
| SG.SC-15 | Public Key Infrastructure Certificates |  |  |
| SG.SC-16 | Mobile Code |  |  |
| SG.SC-17 | Voice-Over Internet Protocol |  |  |
| SG.SC-18 | System Connections |  |  |
| SG.SC-19 | Security Roles |  |  |
| SG.SC-20 | Message Authenticity |  |  |
| SG.SC-21 | Secure Name/Address Resolution Service |  |  |
| SG.SC-29 | Application Partitioning |  |  |
| SG.SC-30 | Smart Grid Information System Partitioning |  |  |
| SG.SI-2 | Flaw Remediation |  |  |
| SG.SI-7 | Software and Information Integrity |  |  |
| SG.SI-8 | Information Input Validation |  |  |
| SG.SI-9 | Error Handling |  |  |
| SG.AC-5 | Information Flow Enforcement |  |  |
| SG.AC-6 | Separation of Duties |  |  |
| SG.AC-7 | Least Privilege |  |  |