3. Failure Analysis

## 3.2. Security and Operational Objectives

3.2.1 Contextual Assumptions

This document assumes that the following conditions, largely or wholly outside of the organization’s control, apply to the environment in which Open ADR systems will be deployed:

- Load shedding/Generation capacity and ramp rate vary from DR Asset to DR Asset. Risks associated with the compromise of each DR Asset will be different depending on the compromised DR Asset’s capabilities.

- DR Resource/Asset’s response to DR Event(s) is uncertain due to DR Resource/Asset’s ability to opt-out of DR Event(s) at any time. Open ADR is not intended to be part of critical grid operations unless DR Resource/Asset gives full commitment to accurately follow DR instructions.

- All participants will act to maximize their own profits. This assumes possible behaviors such as bidder collusion or the use of grid reliability information in the bidding process unless such behaviors are specifically prohibited by the organization.

- Regulation and legal agreements require a separation between electric system operations and market functions.

- DR Controlling Entity has little to no control over the physical environment in which DR Assets reside in.

3.2.2 Core Operational Assumptions

This document assumes that organizations will operate Open ADR systems in the following manner:

- Open ADR services shall be provided via existing, well established IP based communication protocols.

- The organization shall provide messaging standards that will be used to exchange all DR related information. In addition, all participants will adhere to these standards.

- Open ADR systems will operate in such a way as to minimize the need for human intervention as much as possible.

- DR Resources are responsible for physical control of assets under their purview.

- The triggers for DR Event(s) may not be predictable or may even lie outside the DRCE’s control. It is presumed that DRCE will receive instructions from authoritative entities at unpredictable times (e.g. during oscillations in the grid due to external causes such as transmission line faults).

    - Security Principles

These objectives served as the “ground rules” for the Open ADR systems and helped with use case development and failure identification. The 12 objectives are as follows:

- Security controls should have minimal impact on the primary mission of the Open ADR.

- DR Resource/Asset should only accept and respond to authorized and valid DR messages in a timely manner.

- Open ADR should not, in any way compromise grid stability.

- Open ADR should employ different types of security measures depending on the risks associated with different types of DR events in order to facilitate efficient operations of Open ADR applications (see Figure 1 below).

- No unauthorized or unauthenticated download of software (firmware, configuration, etc.) shall be accepted by Open ADR system components.

- Open ADR systems should be able to determine the source of DR event messages and its intended recipients at all times.

- All control activity (configuration changes, access requests, etc.) on the Open ADR system shall be auditable.

- The integration of Open ADR systems should not expose other utility systems to unauthorized access or attack.

- Only the authorized personnel should have physical access to Open ADR system devices.

- Open ADR systems should support non-repudiation of all transactions between the DR controlling entity and DR Resource/Asset.

- Asset owners must not rely on security measures outside their direct observation and control for protection from unauthorized access.

- Users shall not be allowed to perform any action that falls outside of their assigned role.

Figure 1

3.3. Failures

Generic Failures

| Failure ID | Definition | Explanation | Examples |
| --- | --- | --- | --- |
| F1 | <Role> does not send a message in a timely manner. | The transmission of a message must occur within a particular span of time but the role fails to start the transmission within that span. | DRCE fails to notify DR Asset of upcoming DR Event(s) during the notification period. |
| F2 | <Role> does not receive a message in a timely manner due to flooding or jamming attacks (Denial of Service attacks) on the communications channel. | The reception of a message must occur within a particular span of time, but the role fails to initiate reception of the message in that time due to DoS attacks. | DR Asset fails to receive information regarding upcoming DR Event(s). |
| F3 | <Role> does not receive a message in a timely manner due to internal errors. | The reception of a message must occur within a particular span of time, but the role fails to initiate reception of the message in that time due to internal errors such as receive buffer overflow. | DR Asset fails to receive information regarding upcoming DR Event(s). |
| F4 | <Role> fails to execute action in a timely fashion after receiving a legitimate message | The role fails to execute a command within the required span of time. | DR Asset fails to respond to DR Event(s) due to a task scheduling error. |
| F5 | <Role> sends a message to an incorrect recipient | The role addresses a message to recipients that do not require the message or are incapable of processing the message. | DRCE sends a DR Event notification to a DR Asset who is not enrolled in that DR Event. |
| F6 | <Role> sends an unauthorized message | The role transmits a message in spite of a prohibition against doing so or in violation of limits on the sender’s use of network resources. | DR Asset sends a DR Event notification message to another DR Asset. |
| F7 | <Role> receives and responds to a message from an unauthorized source | The role accepts a message that comes from a source that is not authorized to send information to the role. | DR Asset responds to a DR Event which was initiated by another DR Asset. |
| F8 | <Role> sends an incorrect type of message | The role sends a message containing information other than what is required by the recipient. |  |
| F9 | <Role> receives and processes an incorrect type of message | The role receives a message other than the type that is expected, but processes that message regardless. |  |
| F10 | <Role> sends an incorrectly formatted message | The role transmits a message using a protocol or message format that is not understood by the recipient and therefore cannot be processed by the recipient. | DRCE sends a DR Event notification message which violates the messaging standards defined by the organization. Such messages cannot be processed by the recipient. |
| F11 | <Role> receives and processes a corrupted message. | The role processes a message with an expected type from a legitimate source but that is ill formed or has been manipulated in transit (e.g. Man-In-the-middle attack). | DR Asset responds to a DR Event message that has been modified in transit by an unauthorized third party. |
| F12 | <Role> sends a spurious message | The role transmits a message that is not required or expected by a legitimate recipient. | . |
| F13 | <Role> receives and processes a spurious message | The role receives a message that is not expected but processes the message regardless. |  |
| F14 | <Role> accepts and applies corrupted configuration file | The role applies new configuration settings regardless of their integrity or appropriateness in the context of the device’s mission. | DR Asset is configured to independently generate and transmit DR Event(s) to other DR Assets. |
| F15 | <Role> fails to protect data storage from being corrupted | <Role> fails to protect against data being modified or destroyed and the modification or destruction is not detected, is irreversible, or both | The List of scheduled DR Events is modified by an unauthorized user. |
| F16 | <Role> fails to protect information or resources against unauthorized access and manipulation | The role allows a user or device to read or modify data without regard for their credential and access rights. |  |
| F17 | <Role> fails to accept authorized and valid message | The role fails to recognize the credentials of a device or individual, improperly marks the message as erroneous, or both, and thereby improperly disregards messages from that device or individual. | DR Resource rejects a valid DR Event message due to authentication software errors. |
| F18 | <Role> fails to prevent exhaustion of storage space. | The role fails to provide sufficient resources to storing data and the exhaustion of storage goes unnoticed. |  |
| F19 | <Role> executes wrong action based on changes to its operational parameters, its data, or its internal state | The roles Is made to take action or inaction that is inappropriate to its mission or operation state. This can occur when software is corrupted prior to being placed into a particular device. | DR Asset is instructed to increase its power consumption during high price periods or to decrease its power consumption during low price periods, or both. |

Specific Failures

| Failure ID | Definition | Explanation | Examples |
| --- | --- | --- | --- |
| SF1 | DR Asset is physically disabled and is unable to receive or respond to DR event signals. | DR Asset is physically removed or damaged due to equipment failures or malicious activities and cannot respond to DR Event(s). |  |
| SF2 | DR Asset is synchronized to a wrong time source and responds to DR Event(s) at the wrong time. |  |  |
| SF3 | DR Resource submits false Resource information (e.g. Load Shedding Capacity, ramp rate) during the registration process. |  |  |
| SF4 | DR Resource/Asset denies receiving DR event information. | DR Resource/Asset does not respond correctly to scheduled DR Event(s) and then denies receiving the related information. |  |
| SF5 | DR Resource/Asset submits false feedback information. | DR Resource/Asset submits feedback information that contradicts with the actual load shedding/generation it has performed. | A facility submits feedback claiming it has performed 5 MW of load shedding when it has not performed any load shedding. |
| SF6 | DR Asset is unable to respond to DR event(s) correctly due to load shedding/generation capacity constraints. (Only applicable to Class B-2 and C-2 applications) |  |  |

# Comments

Not really sure how specific this principle should be explained…may need to comeback to this during security controls section.

What’s the difference between F8, F9 and F12, F13?

What’s the difference between F15 and F16?