# Functional Analysis

The purpose of the functional analysis is to define a clear picture of the scope, architecture, and functionality of Open Automated Demand Control (OpenADR) systems, as addressed by this security profile. The implementation of OpenADR system functions varies in terms of function, scope, and technology from among different market and system offerings and deployments. However, this profile approaches the problem by defining a set of abstract roles that capture essential functionality that may be realized through a variety of implementations. This profile defines roles in such a way that the logical architecture and use case functionality may be used to represent a wide variety of real-world implementations.

By way of background, the following steps were performed in the functional analysis:

- Review of the existing documents that define the overall OpenADR process, paradigm, and design (as defined in Appendix E References).

- Define abstract roles that characterize elements of OpenADR Systems. Roles are neutral to implementation and vendor, and capture the essence of common functionality without the details of particular applications. The resulting roles are presented in Section 2.2. Their relationships with each other (topologically) are presented in Section 2.1.

- Define use cases describing how the roles interact to implement OpenADR functionality. The use cases are modular in nature, which allows organizations to determine which use cases are relevant to their deployments. They also capture raw functionality, without the inclusion of security controls, which ensures that no pre-existing security controls are assumed and allows different controls to be applied without bias. The resulting use cases are presented in Section 2.4.

- Validate the roles and use cases by ensuring that they are adequate to describe common real-world implementations. The mapping between roles and real world implementations are presented in Section 2.2.13 (this is presented before the use cases to reinforce the meaning of the roles).

The security recommendations found in this document are defined in terms of the logical architecture and its constituent roles, both of which are defined in this section. The logical architecture includes some elements that are outside the scope of this profile; however, each of these elements are important within the context of OpenADR and so are included as context.

## Logical Architecture

The roles defined in this profile are abstract or logical roles; that is, each role does not necessarily map one-to-one with an actor, device, or system. It is possible for an actor to implement the functionality of multiple roles. However, it is also possible for the functionality of one role to be implemented by multiple actors. This document focuses on defining the roles, their functionality, and ultimately the security controls each role must implement at this abstract level and leaves the task of mapping roles to specific actors, devices, or systems to those developing or procuring these elements.

Figure 1 – Role Interaction Diagram

The essential roles involved in OpenADR are shown in Figure 1. This diagram represents the roles (defined in Section 2.2) as rounded rectangles. Rectangles that include other rectangles indicate that a role is a composition or aggregation of other roles. For example, a DR Resource is comprised of multiple assets. A rectangle with multiple roles indicates that a single actor can act in multiple roles in the OpenADR process. For example, the same actor can be a DR Resource for on set of interactions, and a DR Controlling Entity for another set of interacdtions.

Figure 2 – DR Event Activity Diagram

A high level Activity Diagram of the OpenADR Event process is shown in Figure 2.

The detailed steps of all OpenADR processes in scope are defined in detailed Use Cases in Section 2.4. The major steps are outlined as:

- A DR Resource communicates capabilities, constraints, status and performance characteristics.(Register DR Resource)

- A DR Controlling Entity decides to call an event (based on grid conditions)

  - Determine what objectives to meet

- Execution of the Event

  - Which DR Resources to apply to meet those objectives

  - Send Signal(s) to the DR Resources

  - Monitor what is going on (Feedback)

- Evaluation of what happened (out of scope for OpenADR)

  - Measurement and & Verification

  - Reconciliation (Billing)

All roles are assumed to have some inherent communications ability (i.e., there is no need to model a distinct communications element associated with each role).

## Role Definitions

All roles are defined in the following sub-sections.

### Demand Response (DR) Controlling Entity

The Demand Response Controlling Entity role represents all of the different entities that may need to manage and interact with wholesale and/or retail DR resources and includes the following actors: Independent System Operator / Regional Transmission Operator (ISO/RTO), Distribution Company, Load Serving Entity, DR Aggregator and others. Different actors may function as the DR Controlling Entity at different points in the process of administering a DR Event. The DR Controlling Entity may represent a single actor, such as a Utility Distribution Company (UDC) in the business role of a Load Serving Entity.

A DR Controlling Entity may represent a hierarchy of entities such as the following example:

- An ISO/RTO dispatches DR instructions to a Transmission Operator.

- The Transmission Operator in turn assumes the DR Controlling entity role by sending the dispatch instructions on to a UDC.

- The UDC in turn assumes the DR Controlling Entity Role by sending instructions to a DR Aggregator.

- The DR Aggregator then assumes the DR Controlling Entity role by directing a specific DR Resource to execute the instruction.

This can be modeled as a recursive relationship with a DR Controlling Entity which represents each of these actors in an integration role. The goal is to minimize the number of different logical components and hence the number of different services and message payloads that need to be defined through reuse of the standard services and payload definitions.

This concept is elaborated more extensively in an EPRI report titled Concepts to Enable Advancement of Distributed Energy Resources. The terminology for the interaction parties varies depending on the source . For the purposes of this analysis, the roles and definitions used are those defined in “OpenADR 1.0 System Requirements Specification v1.0” developed by the OpenSG OpenADR Task Force.

### Demand Response (DR) Resource

A DR resource is a virtual representation of one or more assets or physical devices capable of shedding or managing load in response to a triggering event. A DR Resource may consist of multiple assets or devices that have been aggregated to form a larger load shedding capacity or energy resource.

As in the examples for a  DR Controlling Entity, many of the same actors are also a DR Resource:

- An ISO/RTO dispatches DR instructions to a Transmission Operator. The Transmission Operator is a DR Resource of the ISO/RTO.

- The Transmission Operator in turn assumes the DR Controlling entity role by sending the dispatch instructions on to a UDC.  The UDC is a DR Resource of the Transmission Operator.

- The UDC in turn assumes the DR Controlling Entity Role by sending instructions to a DR Aggregator.  The DR Aggregator is a DR Resource of the UDC.

- The DR Aggregator then assumes the DR Controlling Entity role by directing a specific DR Resource to execute the instruction. The DR Resource in this example could be a manufacturing facility. The facility has multiple types of machinery that is one large DR Resource composed of the aggregated the total load shedding capacity of all the assets or devices in the plant. A DR Resource may also consist of different types of generation assets such as a wind Turbine, battery, and an electric motor that work in combination to meet DR program obligations.

### Demand Response (DR) Asset

# A DR Asset is an end device that is capable of shedding or managing load in response to Demand Response Events, Energy or Ancillary Services, Price Signals or other system events (e.g. under frequency detection). The DR Asset can be controlled by an end device control through Direct Load Control or Demand Response Load Control.

## Role Mappings

The logical architecture presented in the previous section can be realized in different deployment settings. For example, The DR Controlling Entity that initiates a DR Event can be a Market Operator, Independent System Operator (ISO), or a Utility depending on location and market structure. The DR Resource that participates in the event under the direction of a DR Controlling Entity could be a Utility, DR Aggregator, or any resource at a customer location. At each level of interaction a DR Resource that receives a DR Signal from a DR Controlling Entity can in turn act as a DR Controlling Entity to direct other DR Resources. An example of one possible mapping to a single implementation scenario is provided in Figure 3.

Figure 3 - Role Mapping

## Use Cases

This section is a subset of all the interactions needed to implement OpenADR as a system based on the scope defined in Section 2.1.

This Security Profile defines OpenADR functionality using the following use cases:

- Use Case 1 deals with the interactions initiated by a DR Resource to provide the DR Controlling Entity with information on the capabilities and constraints of a DR Resource to participate in DR Events. These include:

  - Notice of capabilities and constraints and subsequent changes these capabilities and constraints.

  - Notice of scheduling constraints based on temporary changes to availability

- Use Cases 2-5 deal with the interactions used by a DR Controlling Entity to manage the DR Resources during the execution of a DR Event. The DR Signals used by a DR Controlling Entity can influence the behavior of a DR Resource through the use of signal types for Objectives, Price, and Direct Load Control. For the purposes of failure analysis the use cases are broken out based on the interaction pattern:

  - Point to Point Push – Point to Point Push is an interaction initiated by the producer or creator of the message. This pattern assumes that the communications is point to point and between entities that are aware of each others identity.

  - Point to Point Pull – Point to Point Pull is an interaction initiated by the message consumer. It requires that a callback can be associated with a request. This pattern assumes that the communications is point to point and between entities that are aware of each others identity.

  - Broadcast – A Broadcast is a message sent to a set of parties where the sender does not know who the recipients may be. Access to the broadcast message could be through a message board, a message broker, or other means. A Broadcast may also be considered an anonymous push.

  - Anonymous Pull – The Anonymous Pull pattern is similar to the point to point pull except that the identity of the consumer is unknown to the sender. It is also assumed that no reply from the consumer is required or expected.

- Use Cases 6-8 deal with Feedback provided by a DR Resource to a DR Controlling Entity during the execution of a DR Event. Feedback interactions use Point-to-point Pull and Point-to-point Push as defined above. Use Cases 7-8 are derivatives of Use Case 6.

These use cases do not include security controls, such as the use of authentication or encryption. Security controls and their mapping to the roles performing these use cases are found in Section 4.

The use cases include the depiction of “acknowledgements” in the interaction (sequence) diagrams for the purpose of completeness in the representation. Acknowledgements are considered a separate security control and are not included in the use case summary or addressed individually in context of a use case step. A “reply” to a message contains other information other than a simple acknowledgement that a message has been received (e.g. notice of non-performance, failure information, etc.). Reply messages are included are included in the use case analysis as security controls may vary by context.

Each use case contains the following elements:

- Use Case Description: This is a summary of the use case, describing the overall flow and steps.

- Preconditions: These are conditions that must be true for the use case to be successfully executed.

- Minimal Guarantees: These are properties that must remain true any time the use case is initiated, regardless of whether it terminates successfully.

- Success Guarantees: These are properties that will be true only if the use case terminates successfully. This requires that all preconditions and all condition checks (e.g., for validity of a request) be satisfied during execution of the use case.

- Trigger: This is the stimulus that initiates execution of the use case.

- Main Success Scenario: This defines the series of steps undertaken by each role during successful execution of the use case. The scenario is depicted graphically in an activity diagram (the notation used in these diagrams is explained in Appendix B) and each step is summarized in text.

# Use Case 1: Demand Response Resource Registers with a Demand Response Controlling Entity

Use Case Description: A party with ownership, controlling interest or administrative responsibilities for a Resource communicates operational information about the Resource to a controlling entity. This includes information about the capabilities, availability, and constraints regarding the Resource’s ability to shed load or generate power.

The DR Resource initiates the process through a Registration Message and can subsequently change that information or remove any availability for performance in a DR Program using the same interaction pattern. A DR Resource can also declare itself unavailable to perform in a DR Program on a temporary basis using an Opt-out.

Preconditions:

- The DR Resource and DR Controlling Entity have all of the necessary network connections available.

- The party with ownership, controlling interest or administrative responsibilities for the Resource has enrolled in a Demand Response Program that is administered by the DR Controlling Entity.

Minimal Guarantees:

- The DR Resource does not reveal any information to another party that would allow that party to provide any false information to a DR Controlling Entity attributed to the DR Resource.

- The DR Controlling Entity does not process any invalid data.

Success Guarantees:

- The DR Resource has registered with the DR Controlling Entity prior to a call for performance under the terms of the DR Program and provided all Resource information necessary to participate in a DR Event.

Trigger:

The trigger for this use case could be an operator initiated trigger or the result of a pre-configured device configured to participate in a DR Program.

Diagram: Use Case 1:  Register DR Resource

Main Success Scenario:

1:  The DR Resource sends a registration request to create, change, or remove a profile to the DR Controlling Entity.

2: The DR Controlling Entity receives the registration.

3: The DR Controlling Entity assesses the validity of the Resource registration request.

4: The DR Controlling Entity sends a reply based on the results of the assessment.

# Use Case 2: DR Controlling Entity Notifies a DR Resource of DR Event (Point-to-point Push)

Use Case Description: This interaction is used to dispatch DR Resources.  The initiator of the interaction is the DR Controlling Entity. The initiating event message is directed to a specific DR Resource. The dispatch can convey an objective, price or direct load control signal.

The objective is expressed as a load or generation value (e.g. shed 100kW) for the load profile of the DR Resource for a specific interval or series of intervals.

The price message expresses the price for an interval or intervals as an absolute real time price or a price relative to the current tariff price.

The direct load control message includes an on/off or set point (e.g. set thermostat to 80 degrees).

The Event Notification message can contain one or more of the three signal types.

Preconditions:

- The DR Resource and DR Controlling Entity have all of the necessary network connections available.

- The party with ownership, controlling interest or administrative responsibilities for the Resource has enrolled in a Demand Response Program that is administered by the DR Controlling Entity.

- The DR Resource is successfully registered with the DR Controlling Entity as defined in Use Case 1.

Minimal Guarantees:

- The DR Controlling Entity does not reveal any information that could allow another party to present false identification, or intercept or alter future messages sent to the DR Resource.

- The DR Resource does not process any invalid data.

Success Guarantees:

- The DR Resource receives and replies to an Event notification.

Trigger:

The trigger for this use case could be from multiple sources depending on the span of control of the DR Controlling Entity and the DR Program definition. The originating Event message could be a manual response from a Market Operator based on forecasted or current conditions. The event could be a manual or automated response to a program rule regarding time of day and outside air temperature, or any number of options. If the DR Controlling Entity is a DR Aggregator, it could be a manual or automated response to an event signal from a Market Operator.

Diagram: Use Case 2:  DR Event Notification

Main Success Scenario:

1: A DR Controlling Entity sends a DR Event Notification (a.k.a DR Dispatch) to the DR Resource. [A DR Event Notification could be for a new DR Event, an update or cancellation of a pending or current DR Event.]

2: The DR Resource receives the DR Event Notification and may or may not choose to send an acknowledgement of receipt reply.

3: The DR Resource assesses the validity of the Event Notification and initiates action necessary to send a valid reply.

4: The DR Resource sends a reply with an affirmative acknowledgement, notice to opt out, or failure message.

5: The DR Controlling Entity receives the reply and may or may not choose to send an acknowledgement of receipt reply.

# Use Case 3: DR Controlling Entity Notifies DR Resource of DR Event – (Broadcast)

Use Case Description: This interaction is used to dispatch DR Resources.  The initiator of the interaction is the DR Controlling Entity. The initiating event message is directed to multiple DR Resources. Identification of the applicable Resources could be one of several groups such as geographic location. The dispatch can convey an objective, price or direct load control signal.

The objective is expressed as a load or generation value (e.g. shed 100kW) for the load profile of the DR Resource for a specific interval or series of intervals.

The price message expresses the price for an interval or intervals as an absolute real time price or a price relative to the current tariff price.

The direct load control message includes an on/off or set point (e.g. set thermostat to 80 degrees).

The Event Notification message can contain one or more of the three signal types.

Preconditions:

- The DR Resource and DR Controlling Entity have all of the necessary network connections available.

- The party with ownership, controlling interest or administrative responsibilities for the Resource has enrolled in a Demand Response Program that is administered by the DR Controlling Entity.

- The DR Resource is successfully registered with the DR Controlling Entity as defined in Use Case 1.

Minimal Guarantees:

- The DR Controlling Entity does not reveal any information that could allow another party to present false identification, or intercept or alter future messages sent to the DR Resource.

- The DR Resource does not process any invalid data.

Success Guarantees:

- The DR Resource receives price notification and is able to respond and perform load-shed or generation based on the current price conditions and best economic interests of the DR Resource.

Trigger:

The trigger for this use case could be from multiple sources depending on the span of control of the DR Controlling Entity and the DR Program definition. It could be a manual or automated process.

Diagram: Use Case 3:  DR Event Notification – Broadcast

Main Success Scenario:

1: A DR Controlling Entity broadcasts a DR Event message to multiple DR Resources.

2: The DR Resource receives the DR Event message.

3: The DR Resource initiates action to reduce load or generate power.

# Use Case 4: DR Resource Requests New DR Event from DR Controlling Entity (Point-to-point Pull)

Use Case Description: This interaction is used to dispatch DR Resources based on a request from the DR Resource.  The Event Notification message can contain one or more of the three signal types: objective, price or direct load control message.

The objective is expressed as a load or generation value (e.g. shed 100kW) for the load profile of the DR Resource for a specific interval or series of intervals.

The price message expresses the price for an interval or intervals as an absolute real time price or a price relative to the current tariff price.

The direct load control message includes an on/off or set point (e.g. set thermostat to 80 degrees).

Preconditions:

- The DR Resource and DR Controlling Entity have all of the necessary network connections available.

- The party with ownership, controlling interest or administrative responsibilities for the Resource has enrolled in a Demand Response Program that is administered by the DR Controlling Entity.

- The DR Resource is successfully registered with the DR Controlling Entity as defined in Use Case 1.

Minimal Guarantees:

- The DR Resource does not reveal any information that would allow another party to present false identification or intercept messages as a DR Resource.

- The DR Controlling Entity does not process invalid requests.

Success Guarantees:

- The DR Resource receives an Event notification and is able to respond and attempt to perform based on the content and intentions of the DR Event signal and provide feedback to the DR Controlling Entity.

Trigger:

The trigger for this use case is a request from the DR Resource. The request is sent based on the temporal aspects of the specific Demand Response Program and enrollment agreements between the DR Controlling Entity and DR Resource. For example, for a day-ahead program the request is sent for the next day’s event.

.

Diagram: Use Case 4:  DR Resource Requests DR Controlling Entity for New DR Event

Main Success Scenario:

1: The DR Resource requests a DR Event Notification from the DR Controlling Entity.

2: The DR Controlling Entity receives a Request for a DR Event Notification.

3: The DR Controlling Entity responds with the Event Notification.

4: DR Resource receives the DR Event Notification.

5: The DR Resource assesses the validity of the Event Notification and initiates action necessary to send a valid reply.

6: The DR Resource replies to receipt of the DR Event Notification.

7: The DR Controlling Entity receives the reply and may or may not choose to send an acknowledgement of receipt reply.

# Use Case 5: DR Resource Requests New DR Event from DR Controlling Entity (Anonymous Pull)

Use Case Description: This interaction is used to dispatch DR Resources based on a request from the DR Resource. The identity of the DR Resource is unknown to the DR Controlling Entity. The Event Notification message can contain one or more of the three signal types: objective, price or direct load control message.

The objective is expressed as a load or generation value (e.g. shed 100kW) for the load profile of the DR Resource for a specific interval or series of intervals.

The price message expresses the price for an interval or intervals as an absolute real time price or a price relative to the current tariff price.

The direct load control message includes an on/off or set point (e.g. set thermostat to 80 degrees).

Preconditions:

- The DR Resource and DR Controlling Entity have all of the necessary network connections available.

- The party with ownership, controlling interest or administrative responsibilities for the Resource has enrolled in a Demand Response Program that is administered by the DR Controlling Entity.

- The DR Resource is successfully registered with the DR Controlling Entity as defined in Use Case 1.

Minimal Guarantees:

- The DR Resource does not reveal any information that would allow another party to present false identification or intercept messages as a DR Resource.

- The DR Controlling Entity does not process invalid requests.

Success Guarantees:

- The DR Resource receives an Event notification and is able to respond and perform based on the content and intentions of the DR Event signal and provide feedback to the DR Controlling Entity..

Trigger:

The trigger for this use case is a request from the DR Resource. The request is sent based on the temporal aspects of the specific Demand Response Program and enrollment agreements between the DR Controlling Entity and DR Resource. For example, for a day-ahead program the request is sent for the next day’s event.

Diagram: Use Case 5: Anonymous DR Resource Requests DR Controlling Entity for New DR Event

Main Success Scenario:

1: The DR Resource requests a DR Event Notification from the DR Controlling Entity.

2: The DR Controlling Entity receives a Request for a DR Event Notification.

3: The DR Controlling Entity responds with the Event Notification.

4: DR Resource receives the DR Event Notification.

# Use Case 6: DR Controlling Entity Schedules DR Resource for Periodic Feedback (Point-to-point Push)

Use Case Description: This interaction is used by the DR Resource to notify the DR Controlling Entity of the Resource’s status or state of the Resource during the event. The feedback is provided continuously during the event in intervals agreed upon by the parties. The performance feedback contains information such as the load profile response characterization of the DR Resource in response to getting the DR signal and information about the near real time electricity usage of the DR Resource.

This use case is comprised of three interaction patterns:

  - Initiate periodic feedback.

  - Provide periodic feedback.

  - Change (terminate is a type of change) feedback request.

Preconditions:

- The DR Resource and DR Controlling Entity have all of the necessary network connections available.

- The party with ownership, controlling interest or administrative responsibilities for the Resource has enrolled in a Demand Response Program that is administered by the DR Controlling Entity.

- The DR Resource is successfully registered with the DR Controlling Entity as defined in Use Case 1.

- The DR Resource has been notified of a DR Event.

Minimal Guarantees:

- The DR Resource does not reveal any information that could allow another party to present false identification, or intercept or alter future messages sent to the DR Controlling Entity.

- The DR Controlling Entity does not process any invalid data.

Success Guarantees:

- The DR Controlling Entity receives continuous and timely (real time or near real time) feedback from the DR Resource during the entire Event performance window.

Trigger:

The trigger for this use case is based on an agreed upon reporting interval associated with a DR Event. Generally, the DR Controlling Entity will initiate the feedback interactions at the start of an Event.

Diagram: Use Case 6: DR Controlling Entity Schedules DR Resource for Periodic Feedback

Main Success Scenario:

1. Initiate or terminate periodic feedback:

1.1: A DR Controlling Entity sends a Feedback schedule request to a DR Resource.

1.2: A DR Resource receives a Feedback schedule request from a DR Controlling Entity.

1.3: A DR Resource assesses the request and initiates action to provide a reply and subsequent feedback messages.

2. Provide periodic feedback

2.1: A DR Resource periodically summarizes performance status using an interval defined in the Feedback schedule request.

2.3: A DR Resource sends a Feedback message to a DR Controlling Entity containing the information assembled in the previous step.

2.4: The DR Controlling Entity Receives a Feedback message from a DR Resource.

# Use Case 7: DR Resource Notifies DR Controlling Entity of Event Performance with Feedback by Request (Point-to-point Pull)

Use Case Description: This interaction is used by the DR Resource to notify the DR Controlling Entity of the Resource’s status or state of the Resource during the event. The feedback is provided as requested by the DR Controlling Entity. The performance feedback contains information such as the load profile response characterization of the DR Resource in response to getting the DR signal and information about the near real time electricity usage of the DR Resource. This case differs from the prior use case in that the request from the DR Controlling Entity is for a single reply without a recurring schedule.

Preconditions:

- The DR Resource and DR Controlling Entity have all of the necessary network connections available.

- The party with ownership, controlling interest or administrative responsibilities for the Resource has enrolled in a Demand Response Program that is administered by the DR Controlling Entity.

- The DR Resource is successfully registered with the DR Controlling Entity as defined in Use Case 1.

- The DR Resource has been notified of a DR Event.

Minimal Guarantees:

- The DR Resource does not reveal any information that could allow another party to present false identification, or intercept or alter future messages sent to the DR Controlling Entity.

- The DR Controlling Entity does not process any invalid data.

Success Guarantees:

- The DR Controlling Entity receives timely (real time or near real time) feedback from the DR Resource.

Trigger:

The trigger for this use case is based on an agreed upon reporting interval.

Diagram: Use Case 7: DR Resource Notifies DR Controlling Entity of Event Performance (Feedback)

Main Success Scenario:

1: A DR Controlling Entity sends a Feedback request to a DR Resource.

2: A DR Resource receives a Feedback request from a DR Resource.

3: A DR Resource retrieves feedback information.

4: A DR Resource sends a Feedback message to a DR Controlling Entity.

5: The DR Controlling Entity Receives a Feedback message from a DR Resource.

# Use Case 8: DR Resource Notifies DR Controlling Entity of Event Performance with Feedback Self-Scheduled (Point-to-point Push)

Use Case Description: This interaction is used by the DR Resource to notify the DR Controlling Entity of the Resources status or state of the Resource during the event. The feedback is provided as scheduled by the DR Resource without scheduling influences from the DR Controlling Entity. The performance feedback contains information such as the load profile response characterization of the DR Resource in response to getting the DR signal and information about the near real time electricity usage of the DR Resource.

Preconditions:

- The DR Resource and DR Controlling Entity have all of the necessary network connections available.

- The party with ownership, controlling interest or administrative responsibilities for the Resource has enrolled in a Demand Response Program that is administered by the DR Controlling Entity.

- The DR Resource is successfully registered with the DR Controlling Entity as defined in Use Case 1.

- The DR Resource has been notified of a DR Event.

- The DR Resource is a self-scheduled Resource.

Minimal Guarantees:

- The DR Resource does not reveal any information that could allow another party to present false identification, or intercept or alter future messages sent to the DR Controlling Entity.

- The DR Controlling Entity does not process any invalid data.

Success Guarantees:

- The DR Controlling Entity receives timely (real time or near real time) feedback from the DR Resource.

Trigger:

The trigger for this use case is based on an agreed upon reporting interval.

Diagram: Use Case 8: DR Resource Notifies DR Controlling Entity of Event Performance with Feedback Self-Scheduled

Main Success Scenario:

1. DR Resource sends Feedback to DR Controlling Entity.

2. DR Controlling Entity receives Feedback message from DR Resource.

# Footnotes

Concepts to Enable Advancement of Distributed Energy Resources: White Paper on DER. EPRI, Palo Alto, CA : 2010. 1020432

The document referenced by 1 is also referenced by [ENERGYINTEROP-v1.0] Energy Interoperation Version 1.0. OASIS Committee Specification Draft 02 / Public Review Draft 02. 15 July 2011. http://docs.oasis-open.org/energyinterop/ei/v1.0/csprd02/energyinterop-v1.0-csprd02.html

For the purposes of use case interactions defined in this document the role DR Controlling Entity is equivalent to Resource Energy Controller (REC) as used in 1 and Virtual Top Node (VTN) as used in 2. The role of DR Resource is equivalent to the role of Virtual End Node as used by 1 and 2.

The terminology used for interaction patterns applies only to the pattern being described, and do not imply any specific routing or communication methodology.

# Comments

I like this diagram, but does there need to be some form of input to initiate the “Determine Current Operational State” task?

Are there any outputs out of “Execute Dispatch or DR Response Strategy”?

If you really wanted to you could add manual numbers to for ease of reference outside of the diagram.

Ed will add step for load control with input to state.

I did not see this step in the flow diagram.

Add as a precondition.in the overview.

Change to match updated diagram.

In general the text here needs to be reconciled with the Activity diagram (process diagram) in Figure 2.

As identified by??

Why would a DR Controlling entity respond to a DR Event Request from an anonymous resource?  What is an example of this?