OpenADR Phase 2 System Requirements Specification

Version: Draft v0.2

Release Date: 11/23/2011

Acknowledgements

The following individuals and their companies have contributed and/or provided support to the work of the OpenADR System Requirements Specification for Phases 1 and 2:

- Albert Chui from PG&E

- Bob Old from Siemens

- Bruce Bartell from Xtensible Solutions / SCE & PGE

- Carl Besaw from SCE

- Edward Koch from AKUACOM

- Gale R. Horst from EPRI

- Gerald Gray from Guiding Principle Consulting

- Girish Ghatikar from LBNL

- Jeremy Laundergan from SCE

- Joe Zhou from Xtensible Solutions

- John Mani from Comverge

- Junaid Hossain from FP&L

- Terry Saxton from Xtensible Solutions / SCE & PGE

- Mike Coop from ThinkSmartGrid

- John Nunneley from Gridata

The OpenADR Task Force wishes to thank all of the above-mentioned individuals and their companies for their support of this important endeavor as it sets a key foundation for an interoperable Smart Grid.

Document History

Revision History

Date of this revision: November 23, 2011

| Revision Number | Revision Date | Revision By | Summary of Changes | Changes marked |
| --- | --- | --- | --- | --- |
| 0.0 |  | Bruce Bartell | Initial draft “shell” based on OpenADR 1.0 SRS | N |
| 0.2 | 8/3/2011 | Gerald R. Gray | Baselined (accepted all changes) | N |
| 0.2 | 10/4/2011 | Bruce Bartell | Updated Business Requirements list for approved Business Requirements document. | N |
| 0.2 | 10/4/2011 | Bruce Bartell | Revised section 2 for approach. | Y |
| 0.2 | 11/23/2011 | Bruce Bartell | Revised from comments during review of 11/17/2011 | Y |

Open Items and Issues Log

Last updated: June 27, 2011

As open items and issues are addressed in new versions of this document, they are removed from this list.

| Item No. | Date | Provided By | Summary of the Issue | Status / Disposition |
| --- | --- | --- | --- | --- |

Contents

1	Introduction	6

1.1	Purpose	6

1.2	Scope	7

1.2.1	Scope of Original Release	7

1.2.2	Scope of Phase 2	8

1.3	Acronyms and Abbreviations	8

1.4	External Considerations and References	9

1.4.1	RFC 2119 Keyword interpretation	10

1.5	Document Overview	10

2	Architecture Vision	12

2.1	Architectural Goals and Guiding Principles	14

2.2	Architectural Considerations	14

3	OpenADR Systems Architecture	16

3.1	OpenADR Business Architecture View	16

3.2	Integration Requirements Specification	20

3.2.1	Functional Requirements – Business Processes	20

3.2.2	Functional Requirements – Integration Services	22

3.2.2.1	Logical Components	22

3.2.2.2	Functional Requirements - Integration Services	26

3.2.2.2.1	New Integration Services	26

3.2.2.2.2	Change To An Existing Service	26

3.2.2.2.3	Existing Services Address the Requirement	27

3.2.2.2.4	Non-functional Requirement	29

3.2.2.2.5	Requirements Out-of-Scope	30

3.2.3	Technical Requirements – Integration Services	31

3.3	OpenADR Application Architecture View	31

3.4	OpenADR Data Architecture View	32

3.4.1	Temporal Model of a DR Event	33

3.4.2	Data Requirements (Details on any new data objects defined in 3.4)	35

3.4.3	Modified Data Objects	35

3.5	OpenADR Technical Architecture View	36

3.5.1	Networking Standards	36

3.5.2	Security Standards	36

3.5.3	Service / Resource Patterns	36

3.6	Governance	39

4	Appendices	40

4.1	Terms and Definitions	40

List of Figures

Figure 1.  The Open Group Architecture Framework (TOGAF) architecture development cycle.	11

Figure 2.  OpenADR SRS component diagram showing the actors and components.	12

Figure 3.  OpenADR Stakeholders Overview	16

Figure 4.  Overview of Business Process Flows	17

Figure 5.  Overview of Business Process Flows Using Logical Components.	23

Figure 6.  Overview diagram of Logical Components	24

Figure 7.  REC-VEN Operations, adapted from: Concepts to Enable Advancement of Distributed Energy Resources: White Paper on DER. EPRI, Palo Alto, CA : 2010. 1020432	25

Figure 8. Temporal Model of a DR Event and its Associated Data	34

# Introduction

The Open Smart Grid Open Automated Demand Response (OpenADR) is an industry-led initiative under the Open Smart Grid (OpenSG) subcommittee within the UCA International Users Group (UCAIug).  The OpenADR Task Force defines systems requirements, policies and principles, best practices, and services, required for business and data requirements for standardizing control and pricing signals for Demand Response (DR) and Distributed Energy Resources (DER) as part of the Smart Grid implementation. OpenADR, as an open user group forum, is developing a set of utility-ratified requirements and specifications for utilities and 3rd Parties to adopt and implement.  The end-state of this effort will contribute to the development of open and interoperable Demand Response solutions.

This will be achieved by defining and making the following OpenADR related items available to the market:

- Common business processes and functional requirements

- Common architecture principles and patterns

- Common information requirements and model

- Common integration services (functional & informational)

## Purpose

The purpose of this document is to provide both the functional and technical guidance and requirements needed to serve as the “rules of engagement” for messaging and data exchange to achieve interoperability.  This would lead to open and interoperable components that can be delivered with different vendor products and/or solutions within the scope of OpenADR.  The functional requirements will be driven by business processes and the technical requirements will be driven by desired architectural principles and best practices.

The system requirements presented in this document represent the additional requirements developed for OpenADR Phase 2. The original system requirements are defined in: “OpenSG OpenADR 1.0 System Requirements Specification”.

## Scope

The SRS focuses on the requirements to support the interactions and exchange of information for the purposes of Demand Response (DR) and includes the exchanges of DR related information between various entities dealing with the Utilities, such as Independent System Operators (ISO’s), Aggregators, Energy Service Providers and end use customers. The scope of OpenADR SRS includes standardizing dispatch, control and pricing signals for DR and Distributed Energy Resources (DER) as part of the Smart Grid implementation as defined in Section 1.4 External Considerations and References.

Demand Response is defined as the temporary modification of customer energy usage for a defined duration which is triggered by some condition on the grid such as reliability or market conditions. These DR events result in the exchange of “DR signals” between service providers such as Utilities, ISO’s, Aggregators, ESP’s, etc. and their customers. The information in the DR signals causes modifications to the end users load profiles. The requirements in the SRS are from the perspective of the enterprise systems of the service providers that are publishing the DR signals to their customers (i.e. Utility). This is in contrast to the customer’s systems or perspective which is covered in other efforts such as OpenHAN and SEP. The thing that all the various efforts have in common is the need to exchange the DR related information in some standardized form. Furthermore this SRS does not cover many of the administrative aspects of managing a DR program such as measurement and verification and settlement.  The SRS is focused on only those aspects of DR management that is required to facilitate the exchange of DR signals with their customers.

The SRS defines the logical components and business functions in order to identify the interfaces that must be specified to enable interoperability across different implementations, for many utilities to many 3rd Parties.  It includes architectural aspects and specific requirements.  The inputs include OpenADR use cases, as well as industry best practices and standards, including information models and other specifications.

### Scope of Original Release

OpenADR SRS 1.0 addressed the following functional areas:

- Direct Load Control Signals

- Dispatching of Load Profiles

- DR Related Pricing Signals

- DER applications (Limited to the context of grid-connected DR and to those DER devices that can affect load levels on the grid. Excludes injection of power and micro-grids)

- DR Program Management (Limited to data required to support DR Signals)

  - Program and Customer Registration

  - DR Resource Registration

### Scope of Phase 2

The scope of OpenADR Phase 2 is defined in “OpenADR Business and User Requirements Document (Phase 2)” in section 4.2 “Scope of 2.0 Release”

The 2.0 Version of OpenADR consists of addressing the following areas for Demand Response:

- Plug-in Electric Vehicle (PEV)

- Fast Demand Responses (FastDR)

- Distributed Generation (DG)

- Security

Security Use Cases and Requirements are addressed in the “OpenADR Security Profile” which is being developed jointly with the SG Security (UtilSec) Team.

The OpenADR SRS does not include the following items that are typically a part of solution architecture.  Some of them are or have been addressed by other parts of the OpenSG initiative.  Others will need to be dealt with specifically for each implementation.

- Network and hardware infrastructure architecture

- Operational architecture

- Testing methodology and architecture

- Internal application architecture

## Acronyms and Abbreviations

This subsection provides a list of all acronyms and abbreviations required to properly interpret the OpenSG OpenADR System Requirements Specification.

| Acronym | Name |
| --- | --- |
| ADE | Automatic Data Exchange |
| ADR | Automated Demand Response |
| AMI | Advanced Metering Infrastructure |
| AS | Ancillary Services |
| CIM | IEC TC57 Common Information Model |
| DLC | Direct Load Control |
| DR | Demand Response |
| EMS | Energy Management System |
| ESP | Energy Service Provider |
| ESCO | Energy Services Company |
| ESI | Energy System Interface; Energy Services Interface |
| HAN | Home Area Network |
| IETF | Internet Engineering Task Force |
| IHD | In-Home Display |
| ISO | Independent System Operator |
| IT | Information Technology |
| M&V | Measurement and Verification |
| NERC | North American Electric Reliability Corporation |
| PHEV | Plug-In Hybrid Electric Vehicle |
| RTO | Regional Transmission Organization |
| RTP | Real Time Pricing |
| SDO | Standards Development Organization |
| SEP 2.0 | Smart Energy Profile |
| SLA | Service Level Agreement |
| SRS | System Requirements Specification |
| TOGAF | The Open Group Architecture Framework |

## External Considerations and References

The work of the OpenADR SRS is dependent upon the requirements defined in the following sources:

- Open ADR Functional Requirements and Use Case Document  (OpenSG)

- Requirements Specifications for Wholesale Standard DR Signals - for NIST PAP09

- Requirements Specifications for Retail Standard DR Signals - for NIST PAP09

- OPEN AUTOMATED DEMAND RESPONSE COMMUNICATIONS SPECIFICATION - Public Interest Energy Research (PIER), California Energy Commission

- Requirements Specifications for Common Electricity Product and Pricing Definition - for NIST PAP03

- Requirements Specifications for Common Scheduling Mechanism for Energy Transactions - for NIST PAP04

- ZigBee Smart Energy Profile™ 2.0 Technical Requirements Document

- Smart Energy Profile Specification ZigBee Profile: 0x0109 Revision 15

- Energy Information Standards (EIS) Alliance Customer Domain Use Cases

- Energy Information Standards (EIS) Alliance Customer Domain Energy Services Interface (ESI) Requirements

- Energy Interoperation Version 1.0 - © OASIS® 2010

- Smart Grid Communication Standards for Demand Response Data Requirements – (IRC) ISO/RTO Council for PAP09

- Transactional Energy Market Information Exchange (TeMIX) An Information Model for Energy Transactions in the Smart Grid - By Edward G. Cazalet, PhD on behalf of the OASIS Energy Market Information Exchange Technical Committee

- J2836-1 Use Cases for Communication Between Plug-In Vehicles and the Utility Grid; Surface Vehicle Information Report, ©2010

- J2847-1 Communication between Plug-In Vehicles and the Utility Grid; Surface Vehicle Recommended Practice, ©2011

- ISO/IEC CD 15118-1.2 Road vehicles – Vehicle to grid communication interface – Part 1: General information and use case definition ©2011

The work of OpenADR SRS is dependent upon the best practices available from the following entities and standards organizations:

- IETF Internet Suite - Internet Standards, including the following

          - [RFC-793] IETF Transmission Control Protocol (TCP)

          - [RFC-791] IETF Internet Protocol (IP)

          - [RFC-2616] Hypertext Transfer Protocol -- HTTP/1.1

- [IEC-61968] IEC TC57 Working Group 14 (IEC 61968) (Common Information Model)

- [ASAP-SG-3P] Security Profile for Third Party Access (ASAP-SG)

- W3C XML, XML Schema related standards

- OASIS Web Services related standards

### RFC 2119 Keyword interpretation

The key words "MUST", "MUST NOT", "REQUIRED", "SHALL", "SHALL NOT", "SHOULD", "SHOULD NOT", "RECOMMENDED", "MAY", and "OPTIONAL" in this document are to be interpreted as described in RFC 2119.

## Document Overview

TOGAF 9.0 defines four architecture domains that are commonly accepted as subsets of overall enterprise architecture, all of which TOGAF is designed to support, see Figure 1.

- Architecture Vision defines overall architecture guiding principles, goals and objectives and desired traits.

- The Business Architecture defines the business strategy, governance, organization, and key business processes.

- The Information Systems Architecture, including the following.

  - The Data Architecture describes the structure of an organization's logical and physical data assets and data management resources.

  - The Application Architecture provides a blueprint for the individual application systems to be deployed, their interactions, and their relationships to the core business processes of the organization.

- The Technology Architecture describes the logical software and hardware capabilities that are required to support the deployment of business, data, and application services. This includes IT infrastructure, middleware, networks, communications, processing, standards, etc.

Figure 1.  The Open Group Architecture Framework (TOGAF) architecture development cycle.

As such, the document will be structured as follows:

Section 2 describes the overall Architecture Vision for the system, including Guiding Principles, Architectural Considerations, and the OpenADR Reference Model, all relevant to providing a consistent framework within which the four architecture components can be developed.

Section 3 provides details on the following:

- Business Architecture:  This will refer to work products produced by the Use Case and Service Definition Teams of OpenADR, which includes the list of use cases and integration requirements and business services at the functional level.

- Data Architecture:  This provides the technical level requirements relative to how the OpenADR data should be modeled and represented consistently across all integration services to ensure semantic interoperability.

- Application Architecture: This provides the technical level requirements relative to how applications are modeled as logical components, and what services each logical component may provide or consume. This should be an instantiation of the business services identified within the Business Architecture.

- Technology Architecture: This provides the technical level requirements relative to how services will interact with each other to support end-to-end AMI business processes.

Section 4 contains the Appendices, which includes terms and definitions, logical components list, integration requirements list, and integration services view.

# Architecture Vision

The Architecture Vision articulates the Architectural Goals and Principles that enables the business goals and addresses the stakeholder concerns and objectives. As stated in the Introduction, the goal is the development of open and interoperable Demand Response solutions.

Demand Response systems consist of the hardware, software and associated system and data management applications that create a communications network between end systems at customer premises (including meters, gateways, and other equipment) and diverse business and operational systems of utilities and third parties, see Figure 2.

The Demand Response system components are defined as part of the Systems Architecture later in this document. The components in Figure 2 show the controlling components the Utility Enterprise and Operational Systems that communicate with the Assets and Resources of the Customer through public or private networks.

Although not shown in the diagram below the architecture does not preclude the use of intermediaries such as aggregators or third party control companies that may receive DR signals on behalf of the end user facilities. This is discussed in more detail in section 2.1 Architectural Goals and Guiding Principles where the concepts of a Resource Energy Controller and Virtual End Node are introduced.

Figure 2.  OpenADR SRS component diagram showing the actors and components.

Following table defines the components identified in Figure 2.

| Components | Description / Key Business Functions |
| --- | --- |
| Energy Management System | A system that helps a customer to manage their energy usage within a facility. |
| Energy Service Interface | Energy System Interface; Energy Services Interface Provides communications, security and, often, coordination functions that enable secure interactions between relevant Home Area Network Devices and the Utility. Permits applications such as remote load control, monitoring and control of distributed generation, in home display of customer usage, reading of additional meters (e.g. water, gas, renewables, PEVs), and integration with building management systems. Also provides auditing/logging functions that record transactions to and from Home Area Networking Devices. The ESI is assumed to have at least two interfaces: one which provides connectivity to the Home Area Network, and one which provided connectivity to the utility. (ZigBee Smart Energy Profile™ 2.0 Technical Requirements Document) |
| Distribution Management System | A system that manages the distribution network operations. |
| HAN Management System | A system that allows utilities to send messages (such as pricing, billing, usage or alarms) to customer display devices (IHDs). Manages the enrollment of devices in specific home area networks, management the enrollment of those devices in programs, manages the de-enrollment in programs and from the HAN |
| Demand Response Management | A system that manages the demand response programs from utility point of view. Includes load control, integration with DMS, and DR program management. Uses historical and externally input data to make predictions and what-if analysis for DR purposes |
| Customer Information System | A system that manages customer interaction, billing and issues resolution. |

## Architectural Goals and Guiding Principles

Architecture guiding principles are rules of engagement designed to ensure that all aspects of the implementation fit within a well-defined framework.  These principles, discussed and agreed upon with all stakeholders of OpenADR, are used to drive the architectural approach and patterns to be implemented.  These principles should not be taken lightly as they imply what and how the overall goals of OpenADR will be met.  Each of the principles has a level of effort and cost implications for utilities and 3rd Parties looking to adopt this specification.  Adherence to these principles can be adjusted for specific cases driven by time and budget constraints.  These exceptions should be approved by all stakeholders and must be documented.

- Exchanges of data cross enterprise boundaries

  - Industry best practices must be followed

  - The most interoperable and widely supported technologies should be used to ensure adoption regardless of development and deployment platforms used

  - The technologies chosen shall be well specified, with active communities and tools and/or frameworks available. For example, WS-I, or RESTful in conjunction with AtomPub, OData or GData.

  - Security and privacy of customer information is of utmost importance, since transfers must support the secure use of public networks, and sensitive customer information may be exchanged across enterprise boundaries.

- Recommendations must promote and enable interoperability

  - Many utilities need to be interoperable with many 3rd Parties, so there are significant efficiency savings possible by defining a common interface for the OpenADR message exchanges. Therefore, recommendations must be specific and prescriptive, actionable and testable

- Must meet the goals of several different types of stakeholders

  - Requires an open process to allow discussion and negotiation of the recommendation

- Forwards and backwards version compatibility is needed

  - Existing implementations must remain operational when either side adds future extensions

## Architectural Considerations

OpenADR as a system needs to be architected with requirements that cover the entire spectrum of business, technical, and market needs.  The following list of architectural attributes will be used as guidelines for OpenADR systems requirements development.

- System quality attributes discernable at runtime

  - Performance - Services SHALL provide and consume data in a timely manner as defined by the requirements.

    - Clock Accuracy – Services that are actionable based on specified date, time, and duration SHALL ensure that sufficient clock accuracy is maintained to provide timely response.

  - Security –

    - Parties involved in any DR event SHALL be authenticated and authorized;

    - Command/message exchanged between parties involved in any DR event SHALL be secure from end to end.

    - Results of the DR event execution SHALL be auditable.

  - Authorization – Protected resources SHALL be authorized individually by the user(s) associated with those resources.

  - Availability – Services SHALL be highly available as defined by the requirements.

  - Functionality – SHALL meet the functional needs of customers and regulators

  - Usability – SHALL require only commonly available tools and technologies

  - Scalability – SHALL be able to add additional servers to meet performance

- System quality attributes requiring assessment for evaluation

  - Modifiability – SHALL allow additions without affecting existing systems

  - Portability – SHALL be possible to implement on a variety of platforms

  - Reusability – SHALL use standard industry object representations

  - Integrability – SHALL be possible to map to a variety of other interfaces

  - Testability – SHALL be possible to perform testing using a variety of methods

- Business Qualities

  - Cost – SHALL not be cost-prohibitive

  - Projected life time of the system – SHALL allow growth

- Qualities directly related to the architecture

  - Conceptual integrity – Semantics of defined elements SHALL be consistent across objects that use those elements

  - Correctness and completeness - Is aligned with common application architectures and addresses all considerations required for interoperability.

Note that desired, minimum and maximum levels for performance, availability, functionality, acceptable use, clock accuracy and other characteristics will likely be specified and negotiated in Service Level Agreements (SLAs) between DR Signal consumers and providers.

Regulators may also require certain service levels. Each side will likely have some number of terms required for use of their services. This is not part of the standardization effort, just a note to prepare for these agreements.

# OpenADR Systems Architecture

## OpenADR Business Architecture View

The key stakeholders to be addressed by the business architecture are shown in the figure below.  The stakeholders all perform business roles and represent a subset of the Actors from the use cases which fill business roles in the OpenADR business processes, as described in the DR Functional Requirements and Use Case Document.

Figure 3.  OpenADR Stakeholders Overview

The primary business flows include DR Program Administration, Bidding, and Execution as shown in the following diagram. The swim lanes represent business roles and the blocks within the swim lanes correspond to a business process carried out by that business role. Business roles are related to the Actors identified earlier; however, in some cases multiple Actors may carry out the same business role. For example, an ISO/RTO, Utility Distribution Company (UDC), Load Serving Entity, or DR Aggregator can all perform the business role of Service Provider.  The business processes shown are those that involve the exchange of information between business roles.

Figure 4.  Overview of Business Process Flows

The Business Roles used in the Business Process Flow shown in Figure 4 are summarized from the Use Cases and represent activities performed at the business level. Section 3.2.2 Functional Requirements – Integration Services maps these business roles into integration roles as described in that section.

The Demand Response process flow is broken into four phases: DR Administration, DR Bidding, Execute DR Event, and Post DR Event Measurement and Verification / Settlement. The DR Execution processes includes DR Program types of Direct Load Control, Dynamic Price Based / Real Time Pricing, and Notification (Objectives) Based.

Following is a table listing all major Business Roles that will provide some functions to support ADR business processes.

| Business Role | Description / Key Business Functions | Map to NIST | Map to LBNL |
| --- | --- | --- | --- |
| Load Serving Entity | A role which carries the responsibility of serving end-users and selling electric energy to end-users. (PAP09 Retail dated 2/11/2010 v 1.5) The entity that is responsible for serving the Electricity Customers Electricity needs. An LSE may also perform the role of DR Aggregator. (Base Use Case) | Load Serving Entity |  |
| Electricity Consumer | The end users of electricity. May also generate, store, and manage the use of energy. Traditionally, three customer types are discussed, each with its own domain: home, commercial/building, and industrial. | Utility Customer | Participant |
| Service Provider | A role which carries the responsibility of coordinating resources to deliver electricity products and services to a market or distribution operator. (Requirements Specifications for Retail Standard DR Signals - for NIST PAP09 dated 5/13/2010) The Business Role of Service Provider as used in the PAP09 Retail Use Cases is also referred to as a DR Aggregator. See “Aggregators and Curtailment Service Providers” below. | Service Provider |  |
| DR Asset | An end device that is capable of shedding or managing load in response to Demand Response Events, Energy or AS Price Signals or other system events (e.g. under frequency detection). |  |  |
| DR Resource | A DR resource is a virtual representation of one or more DR assets. It is similar to a DR Asset in that it is capable of shedding or managing load in response to a triggering event. Unlike a DR Asset, which is atomic, a DR Resource may consist of multiple DR Assets that have been aggregated to form a larger capacity or energy resource. An apartment building with multiple electricity consumers, each one having one or more DR Assets may be considered one large DR Resource by aggregating the total load shedding capacity of all the DR Assets in the apartment building and representing the sum total of this capacity as one DR Resource. A DR Resource may also consist of different types of Assets (e.g., a wind Turbine and an electric motor that work in combination to meet DR program obligations). (PAP09 Retail dated 2/11/2010 v 1.5) |  | DRAS Client |
| System and Market Operator | A System Operator is a Balancing Authority, Transmission Operator, or Reliability Coordinator whose responsibility is to monitor and control an electric system in real time (based on NERC definition). The System Operator is responsible for initiating Demand Response Events (e.g., Advance Notifications, Deployment, and Release/Recall instructions). The Market Operator manages the bulk electricity market and produces prices for various products. ISO New England and PJM Interconnection are examples of Market and System Operators that perform this function. (PAP09 Retail dated 2/11/2010 v 1.5) |  |  |

Aggregators and Curtailment Service Providers

The terminology used regarding Aggregators and Service Providers is summarized in “Framework for Integrated Demand Response (DR) and Distributed Energy Resources (DER) Models”:

In the organized markets (wholesale electricity markets), generally the end use customer does not participate directly in the market.  An intermediary aggregates these end use customers and presents this aggregated capability to reduce consumption to the organized market.  The Federal Energy Regulatory Commission (FERC) refers to these entities as Aggregators of Retail Customers (ARC), and these entities are also called Curtailment Service Providers (CSP) or Demand Response provides (DRP) in the wholesale market place.  Local distribution companies (LDC) may also aggregate retail customers for Demand Response and present these curtailments to the wholesale market.  The ARC, CPS, DRP and LDC are wholesale market participants and may provide various services to the wholesale market based on the specific market rules.

For the purposes of this specification, the term DR Aggregator is synonymous with an ARC or CSP.

## Integration Requirements Specification

### Functional Requirements – Business Processes

The business processes that have been developed as part of OpenADR Phase 2 are listed as follows.

The following requirements are identified based the use cases defined in OpenADR Business and User Requirements Document (Phase 2).

[From Section 2.5 Specific Business Requirements listed and referenced by subject area]

- Plug-in Electric Vehicle (PEV)

  - OADR BREV-1: The utility MAY offer the Customer a PEV tariff that provides a low rate for off-peak charging and a higher rate for on-peak charging.  (SAE J2836/1 ™)

  - OADR BREV-2: The utility MUST provide services to support energy supplied to customer PEV (Reference SAE J2836/1 ™)

  - OADR BREV-3: The utility MUST implement an enrollment system for Customers with a PEV including registration and commissioning. (Reference SAE J2836/1 ™)

  - OADR BREV-4: The utility’s Energy Services Communication Interface (ESCI) SHALL allow for the establishment of a communications session (communications binding), at a premise location each time a PEV plugs in for charging. (Reference SAE J2836/1 ™)

  - OADR BREV-5: Information related to utility PEV programs, energy usage, and PEV charging status/information SHOULD be made available to the Customer for viewing via a website or other customer provided display equipment (Reference SAE J2836/1 ™)

  - OADR BREV-6: If available, the Customer MAY select green energy as a charging option for PEV vehicles (Reference SAE J2836/1 ™).

  - OADR BREV-7: The Customer MAY select the priority of the energy charging request which indicates the urgency of the charging need. (Reference:  SAE J2836/1 ™)

  - OADR BREV-8: The Customer MAY select to optimize the charging of the PEV (Reference:  SAE J2836/1 ™)

  - OADR BREV-9: The utility (or ESCO) MUST authenticate PEV enrollment requests (Reference:  SAE J2836/1 ™)

  - OADR BREV-10: The Customer MAY elect a program that allows their PEV to discharge onto the grid

- Distributed Generation (DG)

  - OADR BRDG-11: Distributed Generation may participate or Opt-out of a DR Event based on economic considerations regarding the cost of energy during the event. Price information during the event shall be sufficient to support the economic considerations.

  - OADR BRDG-12: Distributed Generation shall have the ability to communicate and Opt-out for a specific DR Event.

  - OADR BRDG-13: Distributed Generation shall have the ability to enroll (register) resources in DR Programs.

  - OADR BRDG-14: Distributed Generation resources should have the ability to consume DR Event signals for regulation services.

- Fast Demand Responses (FastDR)

  - OADR BRFD-15:FastDR shall support dispatch frequencies from 4 seconds to many minutes.

  - OADR BRFD-16:FastDR shall support telemetry rates as fast as 4 seconds.

  - OADR BRFD-17:FastDR shall support DR Resources dispatched in the 1000's.

  - OADR BRFD-18:All Demand Response communications must be secure and support the normal set of features including integrity, confidentiality, availability, and authenticity. Non-repudiation may also be required.

  - OADR BRFD-19:Demand Response Dispatches are typically usage levels and may represent either a specific usage set point (i.e. like a generator) or may be an offset from baseline.

  - OADR BRFD-20:Dispatches may have specific start and stop times or they may be open ended meaning it is a command that is followed until the resource is told otherwise.

  - OADR BRFD-21:All communications must be reliable..

- Security (Security Use Cases and Requirements are addressed in the “OpenADR Security Profile” which is being developed jointly with the SG Security (UtilSec) Team.)

### Functional Requirements – Integration Services

#### Logical Components

Logical Components are used in this document to organize interfaces (integration services) for OpenADR.  These logical components represent IT systems which exchange information to carry out the business processes and implement the use cases identified earlier. They may be mapped to specific physical components for a particular implementation. The Logical Components in some cases consolidate multiple Business Roles/Actors to represent entities which perform a common integration role in exchanging information. For example, a DR Controlling Entity is a generalized actor class which represents all the different entities that may need to manage and interact with wholesale and/or retail DR resources. It represents actors such as an ISO/RTO, Distribution Company, Load Serving Entity, and DR Aggregator.

Following is a table listing all major logical components that will provide some functions to support ADR business processes.  All services will be organized accordingly.

| Logical Components | Description / Key Business Functions | Map to NIST | Map to LBNL |
| --- | --- | --- | --- |
| Electricity Consumer | The end users of electricity. May also generate, store, and manage the use of energy. Traditionally, three customer types are discussed, each with its own domain: home, commercial/building, and industrial. | Utility Customer | Participant |
| DR Controlling Entity | This is a generalized actor class and represents all the different entities that may need to manage and interact with wholesale and/or retail DR resources and includes the following actors; ISO/RTO, Distribution Company, Load Serving Entity, DR Aggregator. (PAP09 Retail dated 2/11/2010 v 1.5) |  | DRAS - Demand Response Automation Server |
| DR Asset | An end device that is capable of shedding or managing load in response to Demand Response Events, Energy or AS Price Signals or other system events (e.g. under frequency detection). |  |  |
| DR Resource | A DR resource is a virtual representation of one or more DR assets. It is similar to a DR Asset in that it is capable of shedding or managing load in response to a triggering event. Unlike a DR Asset, which is atomic, a DR Resource may consist of multiple DR Assets that have been aggregated to form a larger capacity or energy resource. An apartment building with multiple electricity consumers, each one having one or more DR Assets may be considered one large DR Resource by aggregating the total load shedding capacity of all the DR Assets in the apartment building and representing the sum total of this capacity as one DR Resource. A DR Resource may also consist of different types of Assets (e.g., a wind Turbine and an electric motor that work in combination to meet DR program obligations). (PAP09 Retail dated 2/11/2010 v 1.5) |  |  |
| System and Market Operator | A System Operator is a Balancing Authority, Transmission Operator, or Reliability Coordinator whose responsibility is to monitor and control an electric system in real time (based on NERC definition). The System Operator is responsible for initiating Demand Response Events (e.g., Advance Notifications, Deployment, and Release/Recall instructions). The Market Operator manages the bulk electricity market and produces prices for various products. ISO New England and PJM Interconnection are examples of Market and System Operators that perform this function. (PAP09 Retail dated 2/11/2010 v 1.5) |  |  |

The following figure represents the Business Process Flows consolidated using the Logical Components.

Figure 5.  Overview of Business Process Flows Using Logical Components.

The following diagram shows the logical components involved in data exchanges. The exchanges are identified at a high level in order to show the major types of functions carried out.

Figure 6.  Overview diagram of Logical Components

Note that a DR Controlling Entity may represent a single Actor, such as a Utility Distribution Company in the business role of a Load Serving Entity. However, a DR Controlling Entity may also represent a hierarchy of entities, such as an ISO/RTO dispatching DR instructions to a Transmission Operator, who in turn sends the dispatch instructions on to a UDC, who sends instructions to a DR Aggregator, who then directs a specific DR Resource to execute the instruction. This can be modeled as a recursive relationship with DR Controlling Entity which represents each of these Actors in an integration role. The goal is to minimize the number of different logical components and hence the number of different services and message payloads that need to be defined through reuse of the standard services and payload definitions.

This concept is elaborated more extensively in a recent EPRI report titled Concepts to Enable Advancement of Distributed Energy Resources. This approach is made possible as we shift from designing control systems which issue direct load controls to system viewed as a grid resource which “has the ability to handle a situation in an effective manner”, where the “how” of the response is replaced by a description of the situation requiring a change in energy consumption, leaving it to the final DR Resource to know how to control DR Assets to effect the desired change in energy use. The concept put forward by the EPRI report is called the REC-VEN concept, where the REC (Resource Energy Controller) determines when and why to send specific grid messages to the resources it manages, which are represented as a VEN (Virtual End Node). A VEN can in turn also function as a REC to another VEN which is lower down in the control hierarchy.

Figure 7.  REC-VEN Operations, adapted from: Concepts to Enable Advancement of Distributed Energy Resources: White Paper on DER. EPRI, Palo Alto, CA : 2010. 1020432

In the diagram above, the DR Controlling Entity can be thought of as a VEN-REC object, thus representing all the entities in series from the System and Market Operator to the DR Resource. This is modeled by adding a recursive relation to a DR Controlling Entities, so that the DR Controlling Entity in the diagram represents one or more entities. This approach ensures a scalable architecture for all future Smart Grid developments.

#### Functional Requirements - Integration Services

The requirements defined for OpenADR Phase 2 are examined for impact on the Integration Services defined in the OpenADR 1.0 System Requirements Specification.

| Use Case Scenario | Service Name | Provider | Functional Description of the Service |
| --- | --- | --- | --- |
| Administrate Customer for DR | DR Customer Agreement | DR Controlling Entity | Customer is Registered for, Updated or Removed from a DR Program. |
| Administrate DR Resource | DR Resource | DR Resource Owner | DR Resource is registered and associated with a DR Program and Customer. The Resource is updated and/or removed from DR Program. |
| Administrate DR Asset | DR Asset | DR Asset Owner | DR Asset is registered and associated with a DR Resource. The Resource is updated and/or removed from DR Program. |
| Execute DR Event | Notify DR Event | DR Controlling Entity | DR Event information is sent to participants prior to the DR Event start based on defined intervals and is Updated, and/or Canceled. |
| Execute DR Event | DR Event | DR Controlling Entity | DR Event is a polymorphic message type that supports Direct Load Control, DR Instructions (Objectives), Price Schedule |
| Execute DR Event – Operational Coordination | Forecast Demand | DR Controlling Entity | Multiple levels of aggregated DR Demand and Telemetry data is provided for the purpose of coordinating a DR Event and to provide checks against circuit limits. |
| Execute DR - Event Monitoring / Confirmation | Asset / Resource Status (State) | DR Resource or Asset | The DR Resource or Asset (in the event of DLC) provides status for opt in / out or other state that impacts Demand Response. The Status message may be as a confirmation reply to a DR Signal or as an update resulting from a state/status change or in response to a Get message. |

The OpenADR Services are impacted by the Phase 2 requirements on one of five ways:

- New service is identified.

- Change to an existing service.

- Existing service addresses the requirement.

- Non-functional requirement.

- Out of Scope.

New Integration Services

The following new Integration Services have been identified for Phase 2:

No new Integration Services are identified for Phase2.

Change To An Existing Service

The following existing Integration Services have been identified for additional requirements that require a change to the existing data architecture or data requirements:

- OADR BRFD-18: All Demand Response communications must be secure and support the normal set of features including integrity, confidentiality, availability, and authenticity. Non-repudiation may also be required.

    - Digital Signatures may require extensions to Services when required by a Security Control

      - The digital signature syntax should follow the standards and recommendations addressed by  Internet Engineering Task Force RFC 3275: XML Digital Signature and Processing and http://www.w3.org/TR/xmldsig-core/

      - The digital signatures considered an implementation item separate from the Data Objects defined in this document. Therefore, no modification to the Data Objects is required.

  - OADR BREV-6: If available, the Customer MAY select green energy as a charging option for PEV vehicles (Reference SAE J2836/1 ™).

    - The requirements to support the selection of “green energy” was not addressed in Phase 1. Green energy is supported to some extent in the OASIS EMIX Specification by “Warrants”. Reference: [EMIX] Energy Market Information Exchange (EMIX) Version 1.0. 17 November 2011. OASIS Committee Specification Draft 05 / Public Review Draft 05; Section  15 EMIX Warrants. Note that for version 1.0 Source Warrants were deemed not ready for Standardization and are addressed broadly as a “Source Warrant Type”. Therefore, no modifications to existing Data Objects can be recommended at this time.

Existing Services Address the Requirement

The following existing Integration Services address the Phase 2 Business Requirements with the existing definitions or clarifications:

  - o	OADR BREV-1: The utility MAY offer the Customer a PEV tariff that provides a low rate for off-peak charging and a higher rate for on-peak charging.  (SAE J2836/1 ™)

    - The Services defined for Phase 1 System Requirements were limited to “DR Signals” for price. The Phase 1 Service Definitions were expanded to include Consumption Block and Time-of-Use Rates. See: “OPENADR 1.0 SERVICE DEFINITION – COMMON VERSION: DRAFT R0.91” Section 6.2.3 DEMAND RESPONSE EVENT – PRICE, and supporting services [http://osgug.ucaiug.org/sgsystems/OpenADR/Shared%20Documents/Services/OpenSG%20OpenADR%20SD%20-%20Common%20r0.91.doc]

  - OADR BREV-8: The Customer MAY select to optimize the charging of the PEV (Reference:  SAE J2836/1 ™)

    - The interpretation of “optimize” is for economic optimization for the customer. The PEV should have access to the Time of Use rates as defined above and price adjustments during DR Event schedules as provided as part of a DR Event Message.

  - OADR BREV-9: The utility (or ESCO) MUST authenticate PEV enrollment requests (Reference:  SAE J2836/1 ™)

    - Authentication should be part of the Register Resource Service and process.

  - OADR BREV-10: The Customer MAY elect a program that allows their PEV to discharge onto the grid

    - The existing definition of the DR Event Services allow for generation or discharge to the grid just as for any generation resource.

  - OADR BRFD-19:Demand Response Dispatches are typically usage levels and may represent either a specific usage set point (i.e. like a generator) or may be an offset from baseline.

    - Phase 1 Objective messages included the following Dispatch Types that require further defintion:

      - LOAD_LEVEL - Value of the load level to be achieved based on a set of enumerated values.(i.e. moderate, high, etc),

      - LOAD_AMOUNT - Fixed amount of load to shed in kW

LOAD_PERCENTAGE - Percentage of load to increment or shed.

[need to improve the definitions or add a new set of types; relative to baseline, relative to current value, setpoint]

  - OADR BRDG-11: Distributed Generation may participate or Opt-out of a DR Event based on economic considerations regarding the cost of energy during the event. Price information during the event shall be sufficient to support the economic considerations.

    - The requiremet for Opt-out is supported by the Opt Out Service, both by schedule and for specific events.

    - The Price requirement is supported by the DR Event Service by the Price Signal.

      - [Note: The interpretation of “cost of energy” as a transactional price (i.e. Bid to Buy / Offer to Sell) is out of scope for Demand Response. The existing Price Signal supports a Real Time Retail Price based on a the existing Wholesale Price plus uplift.

  - OADR BRDG-12: Distributed Generation shall have the ability to communicate and Opt-out for a specific DR Event.

    - Supported by the Opt Out Service, as stated for BRDG-11.

  - OADR BRDG-13: Distributed Generation shall have the ability to enroll (register) resources in DR Programs.

    - Supported by the Register Resource Service.

  - OADR BRDG-14: Distributed Generation resources should have the ability to consume DR Event signals for regulation services.

    - Regulation Services are supported as by the DR Event Services and the DR Event Objective Signal type.

    - Phase 1 Objectives are limited to Active Power. OASIS Energy Interoperation 1.0 supports Reactive Power as a DR Event Objective.

- OADR BRFD-20: Dispatches may have specific start and stop times or they may be open ended meaning it is a command that is followed until the resource is told otherwise.

    - Phase 1 defines intervals as a start time and duration. The definition for duration should be expanded to include: “Period of time the Control Command is in effect.. A zero (0) duration indicates that the duration is open ended or unknown.

- OADR BREV-7: The Customer MAY select the priority of the energy charging request which indicates the urgency of the charging need. (Reference:  SAE J2836/1 ™)

    - In the context of participation in Demand Response events, PEVs can prioritized participation in multiple ways:

      - Provide availability schedules as part of the Registration and Availability schedules provide Opt Outs as part of an Opt Out schedule, or Opt Out of individual events.

Non-functional Requirement

The following requirements are non-functional requirements:

o	OADR BRFD-15:FastDR shall support dispatch frequencies from 4 seconds to many minutes

o	OADR BRFD-16:FastDR shall support telemetry rates as fast as 4 seconds.

o	OADR BRFD-18:All Demand Response communications must be secure and support the normal set of features including integrity, confidentiality, availability, and authenticity. Non-repudiation may also be required.

- Security requirements are addressed in the OpenADR Security Profile.

- Digital Signatures may require extensions to the service definitions (see “additional requirements”.

- OADR BRFD-21:All communications must be reliable.

- OADR BREV-4: The utility’s Energy Services Communication Interface (ESCI) SHALL allow for the establishment of a communications session (communications binding), at a premise location each time a PEV plugs in for charging. (Reference SAE J2836/1 ™)

Requirements Out-of-Scope

The following business requirements are out-of-scope:

- OADR BREV-2: The utility MUST provide services to support energy supplied to customer PEV (Reference SAE J2836/1 ™)

    - Rates applicable to electric vehicles may require identifiers unique to the vehicle and premises. Some solutions will also require sub metering.  M&V and Settlement requirements are out of scope for DR. However, it should be noted that the Resource Identifier is general in its method of assignment and could represent any identifier used for the PEV. Sub metering locations can be handled as an extension to Service Delivery Point (e.g. Usage Point) as done in other recommendations for measurement standards.

  - OADR BREV-3: The utility MUST implement an enrollment system for Customers with a PEV including registration and commissioning. (Reference SAE J2836/1 ™)

    - Customer Enrollment is out of scope for both Phase 1 and Phase 2.

    - Vetting of sub metering by third parties is part of M&V and also out of scope.

- OADR BREV-5: Information related to utility PEV programs, energy usage, and PEV charging status/information SHOULD be made available to the Customer for viewing via a website or other customer provided display equipment (Reference SAE J2836/1 ™)

    - Potentially and OpenADR Requirement.

### Technical Requirements – Integration Services

Integration services that are well defined, understood and managed are the linchpin of an open and interoperable implementation between the utility enterprise and other business entities.  Following is a list of guiding principles for integration services design:

- Common protocol and business semantics SHALL be used to achieve loose coupling of end-point service (directly or indirectly)

- Services SHALL be representative of a unique unit of work and reusable across business functions.

- Services SHALL be reusable across common practices of utilities.

- Service design SHALL be driven by business requirements and reflected in the architecture.

- Service design SHALL be governed with a common approach and framework to achieve conceptual integrity.

- Service level agreement should be defined to support key architecture qualities: security, reliability, performance, availability, scalability, data quality, information fidelity, etc.

## OpenADR Application Architecture View

- Audit information SHOULD be maintained, so that a report could be produced containing details (who, what, when, etc.) about authorizations, transfers, and other significant events.

- OpenADR Application Architecture SHALL provide measures that protect and defend information and information systems by ensuring their availability, integrity, authentication, confidentiality, and non-repudiation.

## OpenADR Data Architecture View

Based on OpenADR use cases, the following data objects were identified for OpenADR 1.0. The OpenADR services SHALL implement methods to make requests related to these objects.

- DR Customer Enrollment

  - Register Customer for DR Program

  - Update Customer for DR Program

  - Remove Customer from DR Program

- DR Asset (End Device)

  - Register Asset for DR Program

  - Update Asset for DR Program

  - Remove Asset from DR Program

- DR Resource (Device Group)

  - Register Resource for DR Program

  - Update Resource for DR Program

  - Remove Resource from DR Program

- Notify Demand Response Event

  - Advance Notification

  - Update Event

  - Cancel Event

- Demand Response Event

  - Types:

    - Direct Load Control Signal

    - Demand Response Instructions / Objectives (DR Dispatch)

    - Price Signal / Schedule

  - Updates

  - Cancel

- Forecast Demand (out of scope)

- Asset / Resource Status (Monitor Demand Response Event)

  - Response to Signal

  - Get Status/State

  - Continuous Response

- The following additional Data Objects were identified for Phase 2:

  - No additional Data Objects were identified for Phase 2.

### Temporal Model of a DR Event

An Event consists of the time periods, deadlines, and transitions during which Demand Resources perform. A DR Event Schedule a Notification Period, Active Event Period, Ramp Period and Recovery Period. The Ramp Period is considered part of the Active Event Period. A DR Event can be partitioned into a continuous block of consecutive time periods called intervals. Events can also be open-ended. i.e. a Start Time without duration or end-time.

An instance of DR instructions represents a specific type of instruction that was defined specifically for the DR program and is effective for a specific interval or open-ended.  Each type of instruction may have a schedule of values that are valid across the entire period for which the DR event is active. Therefore, a single type of instruction may have multiple values, each of which are valid during a different time period during the event.

The Temporal Model of a DR Event is shown in Figure 8 below (Based upon OpenADR model).

Figure 8. Temporal Model of a DR Event and its Associated Data

### Data Requirements (Details on any new data objects defined in 3.4)

| A new data object required – named and defined. |
| --- |
| Data Element | Description |
|  | No new data objects are defined for Phase 2. |

### Modified Data Objects

No modifications to existing Data Objects defined for Phase 2.

## OpenADR Technical Architecture View

Given a large variety of integration technologies that exist in the market place and in the utility enterprises, it would be up to each utility to implement the OpenADR systems requirements specification that fit with their chosen technology infrastructure and architecture goals.  However, regardless of the technologies, the following architectural issues are important and needs to be addressed when it comes to achieving interoperability.

### Networking Standards

- OpenADR services SHALL be provided via TCP/IP (internet) networks. (See [RFC-1122])

- OpenADR services SHALL be exposed primarily using the HTTPS protocol. (See [RFC-1123])

- OpenADR services MAY support Secure FTP. Since OpenADR requires HTTPS, FTP is only an option if both parties implement and agree to use FTP. (Note that requiring support is in discussion.)

### Security Standards

A major component of OpenADR is ensuring that protected resources, including data, can and will be secured to prevent unauthorized access. To ensure that data is not provided to unauthorized parties, the constraints and controls documented in The OpenADR Security Profile are to be complied with for OpenADR installations.

### Service / Resource Patterns

Service and/or resource naming standards are important to achieve a level of “plug & play” at the run time environment.  It implies the semantics of the service and its operations.

The OpenADR services naming convention has the following rules:

- Information Object – Collection of entities (classes and attributes) to describe an object in a business context.

- Service / Resource Name – Service naming convention follows the information object in a business process for an interface definition.

- Service Patterns -These patterns are used for Web services naming convention.

- Send – to provide (send) information (business object) for public (enterprise) consumption. To be invoked by the system of record for the business object and only when the state of the business objects has been changed.

- Receive – to consume (receive) information (business object).

- Request – to request another party to perform a specific service

- Execute – to run a service provided to the public, which may include a state change request or a query request.

- Reply – to reply with the result of the execution of a service (by the Execute service)

- Show – to provide (show) information (business object) for public (enterprise) consumption, when the state of the business object is not changed, by the system of record or other system that has a copy of the same business object.

- Retrieve – to request specific data of a business object to be provided.

- Publish – to provide (send) information (business object) for public (enterprise) consumption. To be invoked by the system of record for the business object and only when state of a business object has changed.

- Subscribe – to consume (receive) information (business object) from an external source.

- Operation Name – Operation name indicates a specific action that will be performed to the Information Object. Here is a list of operation naming patterns utilizing IEC 61989 verbs (See IEC61968-1 Specification for details):

The following verbs are used for service/operation provided by the master system that owns the Information Object to entertain the request for the specified action implied by the verb.

    - Create

    - Change

    - Cancel

    - Close

    - Delete

The following verbs are used for service/operation provided by systems that are interested in receiving the Information Object as the result of the specified action implied by the verb.  This can be invoked by the master system or an intermediary to supply the Information Object.

    - Created

    - Changed

    - Closed

    - Canceled

    - Deleted

The following verbs are used for query type services provided by the master system of the Information Object.

    - Get

    - Show

The following verbs may be used within OpenADR.

    - Subscribe

    - Unsubscribe

## Governance

Governance defines the rules by which parties participating in interoperability (integration, or data exchange) efforts can change the interfaces and components providing and consuming them, in order to maintain efficient operation. For OpenADR, governance includes guidelines recommended for addition or extension of standard interfaces, as well as modifications to or extensions to become part of the standard.

- Changes shall be made to be backwards compatible (optional additions only), to allow existing implementations to continue to operate.

- Participants are encouraged to submit extensions to the working group as business requirements, with additional recommendations as necessary, to be discussed, ratified, and added to periodic updates.

# Appendices

## Terms and Definitions

This subsection provides the definitions of all terms required to properly interpret the OpenSG OpenADR SRS.

| Term | Definition |
| --- | --- |
| Advanced Metering Infrastructure (AMI) | The infrastructure built around advanced metering allowing the utility and consumer to communicate in real time with respect to energy consumption. Based on the information collected, the utility is able to obtain an accurate reading of demands, while consumers are able to modify their usage to save energy. |
| Aggregator | Intermediary that manages a collection or “aggregation” of Demand Response by Utility Customers. Also known as Curtailment Service Provider. |
| [DR] Asset Owner | The entity that is responsible for the DR Resource or Asset in the retail market. |
| Ancillary Services | Ancillary services are those functions performed by electrical generating, transmission, system-control, distribution equipment and customers to support the integrity of the bulk power system. |
| Curtailment Service Provider | See Aggregator. |
| Demand Response | Demand Response is defined as the temporary modification of customer energy usage for a defined duration which is triggered by some condition on the grid such as reliability or market conditions. |
| Demand Response Program | A Demand Response Program is a program that is created to provide incentive to customers to reduce or shift demand. |
| Demand Response Provider (DRP) | An entity or role with the responsibility to coordinate demand resources to deliver demand response services. A DRP includes entities that have acquired curtailment rights from electricity consumers, and manage the aggregation of capacity that is curtailable as an eligible energy or capacity resource for participating in Demand Response programs. (PAP09 Retail dated 2/11/2010 v 1.5) |
| Direct Load Control | Direct Load Control is a Dispatch type that requests an Asset to be in a specific load control state (e.g., to turn it on or off). |
| IEC | The International Electrotechnical Commission (IEC). The IEC TC57 maintains an electric utility focused information model called CIM (Common information model). |
| IEC 61968 | International standards for Energy Distribution Managements Systems, respectively, specify a Common Information Model (CIM) for utility data exchange, Applications Programming Interfaces (API) for application integration (GID), and XML messaging standards. |
| Logical Data Model | A representation of an organization’s data based upon entities and attributes of those entities. A logical data model is often a logical representation of a business’ integration or business requirements. |
| SLA | Service Level Agreement: the part of a service contract where the level of the services are agreed upon between two systems. |

.

# Footnotes

The OpenADR Task Force of the Open Smart Grid Users Group acknowledges the work coordinated by the Demand Response Research Center and funded by the California Energy Commission (Energy Commission), Public Interest Energy Research (PIER) Program in development of the Open Automated Demand Response Communications Specification, also known as OpenADR or Open Auto-DR. For the purposes of this document the specification will be cited using the full title. The term OpenADR SRS or SRS refers to the OpenSG OpenADR System Requirements Specification.

Requirements Specifications for Wholesale Standard DR Signals - for NIST PAP09, Requirements Specifications for Retail Standard DR Signals - for NIST PAP09

Distributed Generation was originally described as Distributed Energy Resources (DER).

Distributed Generation was originally described as Distributed Energy Resources (DER).

Reliable messaging is the assurance that the correct messages have been delivered across a network exactly once, and in the correct order. The use of WS-ReliableMessaging  protocol is not required to meet this requirement.

Concepts to Enable Advancement of Distributed Energy Resources: White Paper on DER. EPRI, Palo Alto, CA : 2010. 1020432

# Comments

Covered as TOU Rate.

Rate is applicable to ev, with unique vehicle and premises identifier.

May require submetering.; separate requirement because it is a “may” instead of “must” and is M&V/Settlement requirement.

Need to support 3rd party enrollment(?) for vetting utility submetering requirements.

DR activity may require 3rd party engagement for sub-metering.

Program enrollment by customer was out of scope in Phase 1.

NFR.

Not DR. ADE

Was supposed to be a price attribute that was added/supported by EMIX base. Need to check and expand the service requirements.

Handle as opt in/out or availability?

Is an opt out if near term or event specific. Availibilty if scheduled.

Based on time of day.

Add ESCO to acronym list.

Applies to regiserting the ev as a resource in a dr program(?).

Need to be able bring back a vehicle identifier (tbd on the value).

Part of ancillary services requirements/ and DG. FR and active power.

Covered by existing  Event service. This service provides price either as a price relative to existing price, absolute price (real time price), or program objectives. When expressed as objectives, the DR Program determines the incentivized price.

Below is out of scope for DR, is transactive market. Sell back surplus to grid is out of scope for DR.

JN: 3) I wonder if there aren't two prices that need to be communicated - a sell price and a buy price. Or will those always be the same?  It may be worthwhile to ramp up to being a net exporter.  Also does it cover the low price signal where we want to trigger storage?

SRS 1.0 Has explicit opt out for events.

JN: 4) Agree, should be no difference between a DG opting out and a load opting out.

SRS  1.0 has Register Resource service that allows for registering the resource and providing Resource capabilities (e.g. can provide x kW for x duration) and constraints (e.g. can only participate on certain days, max. no. of calls, etc.)

JN: 5) Agree, these should be treated the same

[SRS 1.0 and SD support only kW. Need to expand to include Reactive Power for Voltage Regulation. Are there other types or units needed? There is some overlap with FastDR here that we need to work out.]

Handled by drop or increase load.

The above comment is out of scope.

JN: 6) These regulation signals need to be defined and have all of the same register, opt-in/-out properties above.

DER services in scope include: voltage, frequency, power factor (VARs), watts(storage).

Whether it is "Fast" or not is a separate issue.

I think it makes sense to keep functional requirements separate.

Non-functional requirement.

NFR

# Resources managed. NFR

May need digital signarure for non-repudiation. Others are NFR

Have setpoints. Look for earlier  attribute for what  type this is. Probably not there, but in defintioin of value. See if baseline definition needs to be expanded. Look at definition. Did we support reactive power.

Should be covered, verify if open ended is supported.

NFR

Need to normalize with what we wound up with? E.g. There is no Demand Forecast as a service, asset / resource status is feedback in EI. Add a column on current status in SD and EI.

need to discuss in security group session

could be baseline or current value? defined in program as to what baseline means.

replace with proper citation when it is posted

# Text boxes

DR
Controlling
Entity