## Mapping
SRS ID | Matched | SRS Name |  | . | ADE ID | Matched | ADE Name |  | . | DR | Matched | DR Name |  | . | AMI ID | Matched | AMI Name |  | . | HAN ID | Matched | OpenHAN Name |  | .
5 | 0 | AMI Event Service Manager | > |  | 12 | 1 | Automated Metering Infrastructure | > |  | 0 | 0 |  |  |  | 89 | 1 | Advanced Metering Infrastructure | > |  | 0 | 0
0 | 0 |  |  |  | 17 | 1 | Meter Specific Networks | > |  | 0 | 0 |  |  |  | 38 | 1 | AMI Communication Network | > |  | 0 | 0
0 | 0 |  |  |  | 9 | 0 | Automated Data Exchange | > |  | 0 | 0 |  |  |  | 116 | 0 | AMI Component Vendor | > |  | 0 | 0
3 | 0 | AMI Network Asset Maintenance | > |  | 28 | 0 | Administrator | > |  | 0 | 0 |  |  |  | 42 | 0 | AMI Forecasting System | > |  | 0 | 0
1 | 1 | AMI Head-End | > |  | 19 | 1 | Data Collection Systems | > |  | 0 | 0 |  |  |  | 44 | 1 | AMI Head End | > |  | 1 | 1 | AMI ? | >
6 | 0 | C&I Customer Demand Resource Management | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 24 | 0 | AMI Head End Operator | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 14 | 0 | Distributor | > |  | 43 | 0 | AMI Management System | > |  | 0 | 0
0 | 0 |  |  |  | 33 | 1 | Meter Data Systems | > |  | 0 | 0 |  |  |  | 9 | 1 | AMI Meter | > |  | 0 | 0
4 | 1 | AMI Network Management | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 56 | 1 | AMI Network Management System | > |  | 0 | 0
0 | 0 |  |  |  | 21 | 0 | Data Warehouse | > |  | 0 | 0 |  |  |  | 67 | 0 | Authorized Distribution Personnel | > |  | 0 | 0
11 | 0 | Customer Relationship Management | > |  | 11 | 0 | Demand Aggregator | > |  | 0 | 0 |  |  |  | 16 | 0 | Building Management System | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 74 | 0 | Capacitor Bank Controller | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 11 | 0 | Capacitor Control System | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 110 | 0 | Cathodic Test Station | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 8 | 0 | Settlement Agent | > |  | 4 | 0 | Communication System Operator | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 9 | 0 | Small-Scale Merchant Generator | > |  | 78 | 0 | Complex Billing | > |  | 0 | 0
0 | 0 |  |  |  | 24 | 0 | Mesh RF | > |  | 0 | 0 |  |  |  | 20 | 0 | Construction Maintenance Acct | > |  | 0 | 0
0 | 0 |  |  |  | 4 | 0 | Networks | > |  | 0 | 0 |  |  |  | 61 | 0 | Contract Meter Read Customer | > |  | 0 | 0
0 | 0 |  |  |  | 18 | 1 | Utility Systems | > |  | 0 | 0 |  |  |  | 82 | 1 | Corporate Data Center | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 18 | 0 | Corrosion Technician | > |  | 0 | 0
24 | 1 | Mobile Workforce Management | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 13 | 1 | Crew Dispatcher | > |  | 0 | 0
0 | 0 |  |  |  | 22 | 1 | Consumer | > |  | 2 | 1 | Customer | > |  | 75 | 1 | Customer | > |  | 4 | 1 | Consumer | >
0 | 0 |  |  |  | 0 | 0 |  |  |  | 1 | 1 | Billing Agent | > |  | 127 | 1 | Customer Account Manager | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 54 | 0 | Customer Equipment | > |  | 0 | 0
8 | 1 | Customer Information Management | > |  | 27 | 1 | Customer Information System | > |  | 0 | 0 |  |  |  | 107 | 1 | Customer Information System | > |  | 7 | 1 | Customer Service System (CSS) | >
0 | 0 |  |  |  | 34 | 1 | Customer Service Representative | > |  | 0 | 0 |  |  |  | 100 | 1 | Customer Representative | > |  | 0 | 0
28 | 0 | Revenue Protection | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 93 | 0 | Data Retriever | > |  | 0 | 0
0 | 0 |  |  |  | 25 | 0 | Retailer | > |  | 0 | 0 |  |  |  | 10 | 0 | Dispatch Center (Gas) | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 46 | 0 | Display Device | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 62 | 0 | Distributed Generation Evaluation Team | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 55 | 0 | Distribution Automation Node | > |  | 0 | 0
16 | 1 | Distribution SCADA | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 64 | 1 | Distribution Control and Monitoring System | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 103 | 0 | Distribution Design | > |  | 0 | 0
14 | 1 | Distribution Operational Analysis | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 71 | 1 | Distribution Maintenance Planning Organization | > |  | 0 | 0
13 | 1 | Distribution Management | > |  | 7 | 0 | User Roles | > |  | 0 | 0 |  |  |  | 88 | 1 | Distribution Operation Center | > |  | 0 | 0
12 | 1 | Distribution Engineering Analysis | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 32 | 1 | Distribution Planner | > |  | 0 | 0
15 | 1 | Demand Response Management | > |  | 29 | 1 | Demand Response | > |  | 13 | 1 | Demand Response Provider | > |  | 106 | 1 | DRAACS | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 118 | 0 | Edge Data Center | > |  | 0 | 0
2 | 1 | AMI Meter Asset Maintenance | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 51 | 1 | Electric Meter Inspection Tracking System | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 4 | 1 | Large C/I Customer and Co-Generator | > |  | 30 | 1 | Electric Supply | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 119 | 0 | Energy Auditor | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 59 | 0 | Energy Capital Management | > |  | 0 | 0
27 | 1 | Power Trading (MP) | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 34 | 1 | Energy Trader | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 26 | 0 | Engineering Group | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 40 | 0 | Enterprise Application Suite | > |  | 0 | 0
17 | 1 | Enterprise Asset Management | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 121 | 1 | Enterprise Asset Management | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 23 | 0 | Field Elements | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 60 | 0 | Field Leader (Gas) | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 28 | 0 | Field Person | > |  | 0 | 0
23 | 1 | Mobile Data Terminal | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 19 | 1 | Field Tool / Device | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 6 | 0 | Foreign MDMA | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 92 | 0 | Gas Control | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 48 | 0 | Gas Distribution Simulation Model | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 31 | 0 | Gas Distribution System Planning | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 90 | 0 | Gas Line Worker - Cathodic | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 129 | 0 | Gas Measurement System | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 120 | 0 | Gas Measurement Team | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 101 | 0 | Gas Meter Inspection Tracking System | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 73 | 0 | Gas Outage Management System | > |  | 0 | 0
20 | 1 | Geographic Information Management | > |  | 8 | 1 | Geographic Information System | > |  | 0 | 0 |  |  |  | 14 | 1 | Geographical Information System | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 8 | 0 | GIS Application (CorCon) | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 105 | 0 | Grid Control Center | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 10 | 0 | HAN Device | >
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 12 | 0 | In-Home Display | >
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 5 | 0 | Consumer HAN | >
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 2 | 0 | AMI and/or HAN Trust Center | >
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 11 | 0 | HAN Device Registration Application | >
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 12 | 0 | In-Home Display (IHD) | >
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 15 | 0 | Utility HAN | >
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 14 | 0 | Pool Pump Controller | >
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 3 | 0 | Automated Data Collection System | >
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0
34 | 1 | Energy Services Interface (ESI) | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 9 | 0 | Energy Services Interface (ESI) | >
21 | 1 | HAN Management | > |  | 26 | 1 | Home Area Networks | > |  | 0 | 0 |  |  |  | 50 | 1 | Home Area Network | > |  | 10 | 1 | HAN Device | >
26 | 1 | Power Market Management (ISO) | > |  | 0 | 0 |  |  |  | 16 | 1 | ISO | > |  | 5 | 1 | Independent System Operator | > |  | 0 | 0
26 | 1 | Power Market Management (ISO) | > |  | 0 | 0 |  |  |  | 3 | 1 | ISO or Grid Operator | > |  | 5 | 1 | Independent System Operator | > |  | 0 | 0
0 | 0 |  |  |  | 10 | 1 | Information Services | > |  | 0 | 0 |  |  |  | 109 | 1 | Information Technology Department | > |  | 0 | 0
0 | 0 |  |  |  | 15 | 1 | Storage and Computing Infrastructure | > |  | 0 | 0 |  |  |  | 109 | 1 | Information Technology Department | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 104 | 0 | Intelligent Grid Agents | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 69 | 0 | Interactive Voice Response | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 133 | 0 | Interval Data Management | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 10 | 1 | Customer Commercial | > |  | 58 | 1 | Large C&I Customer | > |  | 6 | 1 | Customer Representative | >
0 | 0 |  |  |  | 0 | 0 |  |  |  | 11 | 1 | Customer Industrial | > |  | 58 | 1 | Large C&I Customer | > |  | 6 | 1 | Customer Representative | >
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 123 | 0 | Load Control Device | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 91 | 0 | Load Model System | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 37 | 0 | Load Reduction Model System | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 96 | 0 | Maintenance Analyst | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 7 | 1 | Scheduling Agent | > |  | 113 | 1 | Market Operations (Day Ahead and Real Time) | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 79 | 0 | Message Bus | > |  | 0 | 0
22 | 1 | Meter Data Management | > |  | 14 | 1 | Meter Data Management | > |  | 0 | 0 |  |  |  | 124 | 1 | Meter Data Unification System | > |  | 13 | 1 | Metering System | >
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 130 | 0 | Meter Data Unification System Technician | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 35 | 0 | Meter Shop Technician | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 29 | 0 | Meter Test Data Collection | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 36 | 0 | Methane Alarm Application | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 49 | 0 | Methane Sensor | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 81 | 0 | Neigborhood Aggregator | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 95 | 0 | Neighborhood Area Network | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 2 | 0 | New Business Support Services (CAP/GEM Owners) | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 53 | 0 | Non Electric Meter | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 39 | 0 | Non Electric Utility | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 98 | 0 | Operation Data Collection and Store (Enterprise) | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 15 | 0 | Operation Data Collection and Store (Secured) | > |  | 0 | 0
32 | 1 | Work Management | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 70 | 1 | Order Management and Routing system | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 117 | 0 | Other Corporate Applications | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 114 | 0 | Other Technical Applications | > |  | 0 | 0
25 | 1 | Outage Management | > |  | 23 | 1 | Outage Management System | > |  | 0 | 0 |  |  |  | 85 | 1 | Outage Management System | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 115 | 0 | People and Organizations | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 47 | 0 | Personnel | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 76 | 0 | Power Procurement Finance Dept | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 128 | 0 | Power Quality Analyst | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 87 | 0 | Power Quality Event Controller | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 7 | 0 | Power Quality Historian | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 134 | 0 | Premise Gateway | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 108 | 0 | Principal Field Leader (Gas) | > |  | 0 | 0
29 | 1 | Supply Chain Management | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 12 | 1 | Procurement System | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 126 | 0 | Production Resource Planning | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 1 | 0 | Programmable Communicating Thermostat | > |  | 0 | 0
0 | 0 |  |  |  | 16 | 1 | Regulator | > |  | 6 | 1 | Regulator | > |  | 99 | 1 | Public Service Commission | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 45 | 0 | Qualifying Facility Resource | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 3 | 0 | Real Time Traders | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 94 | 0 | Recloser | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 131 | 0 | Remote Circuit Switch | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 97 | 0 | Remote Fault Indicator | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 33 | 0 | Remote Terminal Unit | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 41 | 0 | Repair Contractor | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 72 | 0 | Repeater | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 122 | 0 | SCADA (Gas Distribution) | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 83 | 0 | SCADA (Gas Transmission and Storage) | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 52 | 0 | SCADA / EMS | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 17 | 0 | Supply Chain Personnel | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 65 | 0 | System Management Console | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 63 | 0 | System Operator | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 125 | 0 | Telecom Control Center | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 66 | 0 | Test Station Control Application | > |  | 0 | 0
31 | 1 | Third Party Portal (AMI) | > |  | 20 | 1 | 3rd Party | > |  | 0 | 0 |  |  |  | 77 | 1 | Third Party | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 5 | 1 | Metering Agent | > |  | 57 | 1 | Third Party Meter / Submeter | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 80 | 0 | Third Party Organizations | > |  | 0 | 0
18 | 1 | Energy Management | > |  | 5 | 1 | Energy Management | > |  | 15 | 1 | Energy Service Provider | > |  | 132 | 1 | Third Party Vendor | > |  | 8 | 0 | Energy Management System (EMS) | >
30 | 1 | Transformer Load Management | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 84 | 1 | Transformer Load Monitoring | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 112 | 0 | Unknown/Unauthorized Person | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 102 | 0 | Usage Measurement Aggregation | > |  | 0 | 0
0 | 0 |  |  |  | 32 | 1 | Utility | > |  | 0 | 0 |  |  |  | 68 | 1 | Utility Organizations | > |  | 0 | 0
10 | 1 | Customer Presentment & Analysis (Residential) | > |  | 3 | 1 | Web Presentation | > |  | 0 | 0 |  |  |  | 27 | 1 | Utility Website | > |  | 0 | 0
9 | 1 | Customer Presentment & Analysis (C&I) | > |  | 3 | 1 | Web Presentation | > |  | 0 | 0 |  |  |  | 27 | 1 | Utility Website | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 22 | 0 | Warehouse (Meters) | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 25 | 0 | Warehouse Technician | > |  | 0 | 0
0 | 0 |  |  |  | 30 | 1 | Wide Area Networks | > |  | 0 | 0 |  |  |  | 86 | 1 | Wide Area Network | > |  | 0 | 0
33 | 1 | Work Scheduling | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 21 | 1 | Workforce Management System | > |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 12 | 0 | Customer Residential | > |  | 0 | 0 |  |  |  | 0 | 0
0 | 0 |  |  |  | 2 | 0 | BPL/PLC | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0
0 | 0 |  |  |  | 13 | 0 | PTSN | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0
0 | 0 |  |  |  | 6 | 0 | Private Wireless | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0
0 | 0 |  |  |  | 31 | 0 | Public Wireless | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0
7 | 0 | Customer Information Analysis | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0
0 | 0 |  |  |  | 1 | 0 | Process Orchestration | > |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0
0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0

## SRS
| # | Acronym | Logical Components | Description / Key Business Functions | Notes | Map to IEC 61968-9
< | 1 | AMI HE | AMI Head-End | A system that acts as a gateway to communicate between utility enterprise systems and field devices (mostly AMI meters) through AMI network. Allow two way communications between enterprise systems and AMI network and devices. | Each Head-End typically works with a vendor specific AMI network technology | Metering System
< | 2 | AMI MAM | AMI Meter Asset Maintenance | A system that helps the AMI meter testing, tracking and maintenance activity planning. | An EAM may not be specific enough to support all AMI meter related testing and tracking needs. | Metering Maintenance
< | 3 | AMI NAM | AMI Network Asset Maintenance | A system that manages the maintenance of the AMI network assets. | May be part of a utility enterprise asset management system or part of the utility telecommunication network assets maintenance system
< | 4 | AMI NM | AMI Network Management | A system that manages the operations of the AMI network and devices. | May or may not be part of the AMI Head-End
< | 5 | AMI SM | AMI Event Service Manager | This is a system that sits on top of the AMI HES and provides a way for someone who wants to poll a specific meter to be able to do so transparently. A system that acts as a gateway to communicate between utility enterprise systems and field devices (mostly AMI meters) through AMI network. | This assumes that there are multiple head ends – either from a single vendor (scale of implementation) or multiple AMI vendors on site. Most AMI HES are not designed to pass near real time information and are typically polled.
< |  |  |  | Ability for Customer Service Representatives and other business personnel to query specific devices to resolve issues in a short period of time.
< |  |  |  | Routing of alert and alarms in near real time
< | 6 | C&I DRM | C&I Customer Demand Resource Management | Manages the information that is provided by C&I customers including large building owners on the ability of their buildings to handle price signals and demand response requests. Ties the C&I customer needs including building management systems into the DR world | This system is the larger site brother to the HAN MS and manages the intelligent building system signals to large commercial and industrial sites
< | 7 | CIA | Customer Information Analysis | A date warehouse that includes customer data and new AMI meter interval readings and consumptions | May be part of a utility Enterprise Data Warehouse
< | 8 | CIM | Customer Information Management | A system that manages customer interaction, billing and issues resolution. |  | Customer Information and Billing (61968-8)
< | 9 | CPA (C&I) | Customer Presentment & Analysis (C&I) | A system (Portal) for C&I customers to access and analyze interval data for their energy management needs
< | 10 | CPA (Residential) | Customer Presentment & Analysis (Residential) | A system (Portal) for Residential customers to access and analyze interval data for their energy management needs
< | 11 | CRM | Customer Relationship Management | A system to manage customer relationship including marketing campaigns, programs, promotions, etc. | This may be used for Demand Response program management relative to AMI.
< |  |  |  | A system that can notify customers (especially C&I customers) via email/page/SMS about upcoming events (such as DR, price triggers, etc.). This system may provide grouping facilities, ability to set event priorities, customize messages, etc.
< | 12 | DEA | Distribution Engineering Analysis | A database that provides network, equipment/asset, load profile, and other engineering related data for engineering analysis and reporting needs. |  | Load Management System
< | 13 | DMS | Distribution Management | A system that manages the distribution network operations. | May include advance distribution automation features of a typical Smart Grid capabilities. | Network Operations (61968-3)
< | 14 | DOA | Distribution Operational Analysis | A database that provides distribution operational history and near real time data for operational analysis and reporting. |  | Network Operations (61968-3)
< | 15 | DRM | Demand Response Management | A system that manages the demand response programs from utility point of view. Includes load control, integration with DMS, and DR program management. Uses historical and externally input data to make predictions and what-if analysis for DR purposes |  | Load Management System
< | 16 | DSCADA | Distribution SCADA | A SCADA system for the purpose of distribution operation. |  | Network Operations (61968-3)
< | 17 | EAM | Enterprise Asset Management | A system that manages the utility enterprise assets including network equipments and others. | May be sufficient for substation equipment asset management and Reliability Centered Maintenance (RCM) | Meter Asset Management
< | 18 | EM | Energy Management | A system that manages the transmission network operations
< | 20 | GIM | Geographic Information Management | A system that provide spatial management capabilities for utility facilities and assets. | May include a GIS based graphical design tool.
< | 21 | HANM | HAN Management | A system that allows utilities to send messages (such as pricing, billing, usage or alarms) to customer display devices (IHDs). Manages the enrollment of devices in specific home area networks, management the enrollment of those devices in programs, manages the de-enrollment in programs and from the HAN | This is similar to an asset management system, but takes on the role of facilitating which HAN Devices are registered with the utility or a third party and can receive signals – I would expect that it would know the command protocol for each type of HAN Device and the relationship of the HAN device to a load at the customer site as well. I would also expect that HAN would apply to small businesses as well as residential customers
< | 22 | MDM | Meter Data Management | A system that manages all AMI meter reads and provides necessary validations, | Could also act as a gateway for AMI HE systems to communicate to other utility enterprise systems. | Meter Data Management
< | 23 | MDT | Mobile Data Terminal | A mobile data platform with applications to support field technician needs, which often include maps, facility data, service orders, customer information, meter information, etc. | Maybe separate application in one or more mobile platforms. | Work Management
< | 24 | MWFM | Mobile Workforce Management | A system that manages mobile workforce, which typically focuses on service (short duration) and emergency work orders. | Integrates with a mobile platform | Work Management
< | 25 | OM | Outage Management | A system that helps locates and restores outages. |  | Outage Management
< | 26 | PM (ISO) | Power Market Management (ISO) | A system that helps ISO manages power trading and clearing in forward and real time markets.
< | 27 | PT (MP) | Power Trading (MP) | A system that enables a Market Participant (MP) to trade power with others through ISO power market.
< |  |  |  | Enables a market participant to bid load (potentially aggregated) to the ISO for demand response
< | 28 | RP | Revenue Protection | A system to help identify potential energy theft activities, and generate energy theft related service orders. | Revenue protection analysis using AMI meter data and other related data (customer profile, weather, consumption pattern, etc.)
< | 29 | SPM | Supply Chain Management | A system to manage materials and equipment purchasing, inventory and vendors.
< | 30 | TLM | Transformer Load Management | A system that gathers load profile data at the transformer level. | Load data from AMI meters will be more granular and accurate. | Load Management System
< | 31 | TPP (AMI) | Third Party Portal (AMI) | A system that allows third parties (non customer entities) to request actions and have access to AMI related data for their meters, etc. | This would apply to utility AMI deployment for non-utility own meters or devices.
< | 32 | WM | Work Management | A system that helps manage utility capital projects and new business related work. |  | Work Management
< | 33 | WS | Work Scheduling | A system that helps manage and schedule long duration, short duration and emergency types of work for a utility enterprise. | May be managed by separate systems if an enterprise wide scheduling system is not available.
< | 34 | ESI | Energy Services Interface (ESI)
#N/A | 35
#N/A | 36
#N/A | 37
#N/A | 38
#N/A | 39
#N/A | 40
#N/A | 41
#N/A | 42
#N/A | 43
#N/A | 44
#N/A | 45
#N/A | 46
#N/A | 47
#N/A | 48
#N/A | 49

## ADE
| ID | Name | Notes | Alias | CSV_KEY | CSV_PARENT_KEY | Parent Name
< | 1 | Process Orchestration | Including process and information model management, integration adapters, event processing, operational administration, error monitoring and handling, service planning, and information governance. |  | CSV43E71380 | CSV7AA4F8F7 | Information Services
< | 2 | BPL/PLC |  |  | CSVBF473238 | CSV3E36541A | Meter Specific Networks
< | 3 | Web Presentation |  |  | CSV901D087C | CSV3062B031 | Utility Systems
< | 4 | Networks |  |  | CSV92B8A4AE | CSV7AA4F8F7 | Information Services
< | 5 | Energy Management |  |  | CSVFF4138DC | CSVC084DDB5 | 3rd Party
< | 6 | Private Wireless |  |  | CSV1FC2C5DC | CSV78D6B2E5 | Wide Area Networks
< | 7 | User Roles |  |  | CSV3CDC14B0
< | 8 | Geographic Information System |  |  | CSVF3F7A8D0 | CSV3062B031 | Utility Systems
< | 9 | Automated Data Exchange | The Automated Data Exchange system. |  | CSV1FF05784 | CSV81723649 | Meter Data Systems
< | 10 | Information Services |  |  | CSV7AA4F8F7
< | 11 | Demand Aggregator |  |  | CSV3715F059 | CSVC084DDB5 | 3rd Party
< | 12 | Automated Metering Infrastructure |  |  | CSV669FD947 | CSV68789914 | Data Collection Systems
< | 13 | PTSN |  |  | CSVAE8B9EB8 | CSV78D6B2E5 | Wide Area Networks
< | 14 | Meter Data Management |  |  | CSVBE875923 | CSV81723649 | Meter Data Systems
< | 15 | Storage and Computing Infrastructure | Including networking and processing hardware and software, message and file transport, queuing, identity and permissions, monitoring, inventory, metrics reporting and analysis. |  | CSVFFC803AD | CSV7AA4F8F7 | Information Services
< | 16 | Regulator |  | PUC | CSVFA21B954 | CSV3CDC14B0 | User Roles
< | 17 | Meter Specific Networks |  |  | CSV3E36541A | CSV92B8A4AE | Networks
< | 18 | Utility Systems |  |  | CSV3062B031 | CSVA10C5D3B | Utility
< | 19 | Data Collection Systems |  |  | CSV68789914 | CSVA10C5D3B | Utility
< | 20 | 3rd Party |  |  | CSVC084DDB5
< | 21 | Data Warehouse |  |  | CSV3371E871 | CSV81723649 | Meter Data Systems
< | 22 | Consumer | Individual utility customer who desires greater visibility into their consumption information. | Customer | CSV72B7D30A | CSV3CDC14B0 | User Roles
< | 23 | Outage Management System |  |  | CSV2C657816 | CSV3062B031 | Utility Systems
< | 24 | Mesh RF |  |  | CSV99C956AC | CSV3E36541A | Meter Specific Networks
< | 25 | Retailer |  |  | CSVC3EB0F5E | CSVC084DDB5 | 3rd Party
< | 26 | Home Area Networks |  |  | CSV4B7AB606 | CSV92B8A4AE | Networks
< | 27 | Customer Information System |  |  | CSVCCC31303 | CSV3062B031 | Utility Systems
< | 28 | Administrator | An administrator of a system, including all tasks necessary to keep it running. Can be split up among multiple groups with a helpdesk to route calls to the appropriate people required to keep the systems running. |  | CSV6F41F982 | CSV3CDC14B0 | User Roles
< | 29 | Demand Response |  |  | CSVF2DD0347 | CSV81723649 | Meter Data Systems
< | 30 | Wide Area Networks |  |  | CSV78D6B2E5 | CSV92B8A4AE | Networks
< | 31 | Public Wireless |  |  | CSVD9DD16FD | CSV78D6B2E5 | Wide Area Networks
< | 32 | Utility | Business entity that provides electricity / gas / water to Consumer. |  | CSVA10C5D3B
< | 33 | Meter Data Systems |  |  | CSV81723649 | CSVA10C5D3B | Utility
< | 34 | Customer Service Representative |  |  | CSVEE93921D | CSV3CDC14B0 | User Roles

## DR
| ID | Name | Alias | Notes | Type | Stereotype | CSV_KEY | CSV_PARENT_KEY
< | 1 | Billing Agent |  | The billing agent determines the cost including applicable credits for customers. Typically costs vary among different classes of customers. | Actor | business actor | CSV8EEE5106
< | 2 | Customer |  | A customer of a utility including customers who provide more power than they consume. | Actor | business actor | CSV01BD0199
< | 3 | ISO or Grid Operator |  | An organization which manages the grid. | Actor | business actor | CSV5446F69B
< | 4 | Large C/I Customer and Co-Generator |  | A customer which usages typically exceeds a threshold and which is capable of proviing electricity to the grid. | Actor | business actor | CSV6ABC7325
< | 5 | Metering Agent |  | Records the DR meter information during the time of the DR event onto persistent media. Provides DR event meter data to the MDMS. Typically a smart meter. | Actor | business actor | CSVFFDE0DB4
< | 6 | Regulator |  | An entity responsible for delivering demand reductions which is compensated in accordance with policy. | Actor |  | CSVAB38B22C
< | 7 | Scheduling Agent |  | Sometimes is an IOU and sometimes is independent operator who provides an estimate of system demand. | Actor |  | CSVF40865EC
< | 8 | Settlement Agent |  | A system which provides the accounting services necessary to determine payments and bills for customers and energy providers including 3rd party aggregators. | Actor | business actor | CSV9C0A76A3
< | 9 | Small-Scale Merchant Generator |  | A customer which usages typically exceeds a threshold and which is capable of proving electricity to the grid. | Actor | business actor | CSV32903E1F
< | 10 | Customer Commercial |  |  | Actor | business actor | CSVA77D80BE
< | 11 | Customer Industrial |  |  | Actor | business actor | CSV65784FA0
< | 12 | Customer Residential |  |  | Actor | business actor | CSV82A7DEC5
< | 13 | Demand Response Provider |  | An entity responsible for delivering demand reductions which is compensated in accordance with policy. | Actor | business actor | CSV85A572C9
< | 14 | Distributor |  | A system which transfers energy from generation systems to consumers. | Actor | business actor | CSV185725E9
< | 15 | Energy Service Provider |  |  | Actor |  | CSVB5E161BE
< | 16 | ISO |  | An Independent System Operator (ISO). | Actor | business actor | CSV9DFAE187

## AMI
| ID | Type | Name | Alias | Notes | Stereotype | CSV_KEY | CSV_PARENT_KEY | Parent Name
< | 1 | Actor | Programmable Communicating Thermostat |  | A type of load control device that allows the utility to communicate with the thermostat to issue load control (set point changes) commands through the AMI. |  | CSV17AFBA81 | CSVA998F5F4 | Load Control Device
< | 2 | Actor | New Business Support Services (CAP/GEM Owners) |  | Need actor definition |  | CSV42D2DDB0 | CSVAC234AA1 | Utility Organizations
< | 3 | Actor | Real Time Traders |  | The Real Time Trader(s) purchases and sells electricity in the hour ahead market. |  | CSVB03BF040 | CSVB01F0833 | Energy Trader
< | 4 | Actor | Communication System Operator |  | Is notified of equipment failures either through a lack of data communication or other messages. |  | CSVA115E02D | CSVD1CF8CC0 | Personnel
< | 5 | Actor | Independent System Operator | MISO | The Independent System Operator, or is the regional transmission system operator. The regional transmission system, regional grid, is operated independently of the suppliers and load aggregators by the ISO. The ISO is sort of like the traffic cop charged with balancing the electricity and the flow on the grid. |  | CSVD28DAA60 | CSV11F408E4 | Third Party Organizations
< | 6 | Actor | Foreign MDMA |  | An external organization that has qualified to read meters, validate meter data, and estimate missing data to make available to others for use in various applications. |  | CSV1C19DFCF | CSV11F408E4 | Third Party Organizations
< | 7 | Actor | Power Quality Historian |  | System including a database that is responsible for storing all Power Quality Data gathered by the utility |  | CSV951B4B8E | CSVF4AEE88B | Power Quality Event Controller
< | 8 | Actor | GIS Application (CorCon) | Corrosion Control | System used to capture the corrosion control information for regulatory reporting and maintenance planning |  | CSV9BFE2AC6 | CSV68EED63B | Other Corporate Applications
< | 9 | Actor | AMI Meter |  | Advanced revenue meter that enables two-way data communications capability with the utility. The meter will receive, record, display and transmit energy and other related data (e.g. interval and register energy data for billing, hourly pricing, tamper event, etc.) to and from authorized systems such as an AMI Head-End or MDUS. AMI meters may also provide other advanced remote functions (where applicable) such as remote connect/disconnect, prepayment, net metering, load limiting, etc. AMI meters will consist of the following two AMI meter categories, based on the size of the customer service connection: AMI (simple) meters will typically be used for residential and small C&I service installations. Whereas, AMI (complex) meters will typically be used for large C&I service installations that require more channels of data and complex data transmittal functions, e.g., power quality events, voltage and harmonics, etc. |  | CSV3D3D8ABA | CSVA161272B | Advanced Metering Infrastructure
< | 10 | Actor | Dispatch Center (Gas) |  | Dispatches Gas crews and coordinates Gas leak response |  | CSV82907807 | CSVAC234AA1 | Utility Organizations
< | 11 | Actor | Capacitor Control System |  | A current system that is used to control basic Capacitor Bank Controllers using a one-way paging network with no ability to directly verify the operation of Capacitor Banks. When the pager communications are replaced with AMI, the Capacitor Control System will have the ability to control and monitor the operation of Capacitor Bank Controllers. |  | CSV8D453F6B | CSVA45222B9 | Distribution Operation Center
< | 12 | Actor | Procurement System |  | System responsible for ordering and tracking AMI meters and AMI system components needed by utility. Needs to take maximum advantage of vendor warrantee programs and minimize costs for utility and ensure inventory of meters is adequate to handle demand. Works with Meter Management System to establish min/maxs in Districts |  | CSVE5B78AF8 | CSV7BB234D6 | Enterprise Asset Management
< | 13 | Actor | Crew Dispatcher |  | Utility employed staff that in case of an outage (power failure) uses the Outage Management System (OMS) to determine the problem and deploy repair crews. |  | CSVE0449221 | CSVD1CF8CC0 | Personnel
< | 14 | Actor | Geographical Information System | GIS | GIS is an integrated collection of applications and data used to track and analyze geographic location of distribution assets, and geospatial relationships between distribution facilities and assets, and all related information. |  | CSV26FA9328 | CSV68EED63B | Other Corporate Applications
< | 15 | Actor | Operation Data Collection and Store (Secured) |  | ODCS is an operational data manager used to collect distribution system data, from such field systems as, SCADA, automated distribution devices, and then provides access to that data to distribution engineers and operators and systems such as outage management systems and circuit analysis tools. |  | CSVF12EC1D1 | CSVE0013B1C | Other Technical Applications
< | 16 | Actor | Building Management System |  | Customer-owned premise system which interfaces with the AMI (through the customer premise gateway) to provide services for load management and distributed generation. Additionally, may provide the customer ability to control customer-owned equipment independent of the AMI |  | CSV520356E7 | CSV72B5F1D3 | Home Area Network
< | 17 | Actor | Supply Chain Personnel | Purchasing | Need to revise to align with our CEA/ SAP Supply Chain view (DHJ will contact our Supply Chain team for an improved definition)…Is responsible to distribute meters to the Field Person as required and to salvage failed meters if necessary. Also responsible to track the movement of the meter by scanning the meter into the AMI Management System. AMI Management System determines inventories in district along with Procurement Analyst. |  | CSVD4142567 | CSVD1CF8CC0 | Personnel
< | 18 | Actor | Corrosion Technician |  | Responsible for the data in the CorCon system |  | CSV6F113B9F | CSVD1CF8CC0 | Personnel
< | 19 | Actor | Field Tool / Device |  | A hypothetical enhanced ruggedized laptop computer device that will be used by a Field Person. It has a wireless connection to the utility which communicates installed service points and other information the Field Person may need to perform their job function. The device also has the ability to resolve work orders and communicate information directly to the AMI meter (Installed service point, old meter ID and old meter final reading.) This device will likely communicate directly with AMI Management System and/or the Material Management System (Supply Chain). This device will need to have the ability to communicate with the multiple technologies that the utility may choose to implement (i.e. RF, PLC, pager, GPRS or other to meters and customer side devices such as PCT’s and other load control devices) so a common field tool is used by all. Tool should also be capable of programming meter when required, capturing meter information by scanning meter (RFID or bar code), and providing GPS LAT/LONG for confirmation with the system. |  | CSV50C1AB1D | CSVA161272B | Advanced Metering Infrastructure
< | 20 | Actor | Construction Maintenance Acct |  | Utility employed staff responsible to distribute AMI meters to the field person as required and to salvage failed AMI meters if necessary. Also responsible to track the movement of the AMI meter by scanning the AMI meter into the meter management system. |  | CSVB3F7703F | CSVD1CF8CC0 | Personnel
< | 21 | Actor | Workforce Management System |  | WMS is a mobile communications application used to dispatch and manage field resources, and track and update service order status. WMS applications will interface with the Enterprise Application Suite to update service order status and asset-related data. |  | CSV075196AE | CSV68EED63B | Other Corporate Applications
< | 22 | Actor | Warehouse (Meters) | MTC | Meter storage location. There are multiple warehouses and warehousing levels within the utility. For this use case the distinctions are warehouse for company wide warehouse and district for local warehouse. |  | CSV637EB405 | CSVAC234AA1 | Utility Organizations
< | 23 | Actor | Field Elements |  | This actor is a high-level architecture container which includes the neighborhood aggregators, distribution automation nodes and repeater. Working together the field elements provide the wide-area and neighborhood-area networks necessary to reach the customer premise with two-way communications. |  | CSV0916424C
< | 24 | Actor | AMI Head End Operator |  | AMI Head End Operator is responsible for using the AMI Head End systems to maintain and monitor the data collection activities. |  | CSV225193DC | CSVD1CF8CC0 | Personnel
< | 25 | Actor | Warehouse Technician | MTC Employee | First utility personnel to contact an AMI meter. Responsibilities are to accept the meters upon delivery from manufacturer and forward to meter shop for testing, receive tested meters back from the meter shop, ship successfully tested meters to districts, and return failed meters to manufacturer for repair. |  | CSVC60BDE21 | CSVD1CF8CC0 | Personnel
< | 26 | Actor | Engineering Group |  | Organization responsible for the total engineering process within projects including typical design, detailed design, testing and commissioning |  | CSV6D927856 | CSVAC234AA1 | Utility Organizations
< | 27 | Actor | Utility Website | Customer Portal (UCES) | The Utility website is a platform allowing for customers to view their usage and cost data when the customer is not on site and/or to perform usage and cost analysis. The Customer Portal also provides electronic services for utility customers. Customers with Internet access can easily self-register at their utility companies and use specific electronic services to change account information, display and pay bills, perform move-in and move-out processes, and enter meter-reading data. |  | CSV2CC2CEBD | CSV9AF8B3D4 | Enterprise Application Suite
< | 28 | Actor | Field Person | Meter Services, Qualified Meter Personel | Utility employed staff that works on AMI meters in the field. Installs, troubleshoots and repairs or replaces meters, components in meters, or associated devices. Needs to clear service orders as quickly as possible. Expected to have different skill levels compared to the existing utility field workers today. Performs installation and maintenance activities on meters, associated devices and AMI system components. Requires a detailed work order which will include a clear description of the problem reported. |  | CSV0DE19AF4 | CSVD1CF8CC0 | Personnel
< | 29 | Actor | Meter Test Data Collection | Former MED/MIRA | A system used to track test results for all meters, these could be from the vendor, meter shop or taken in the field. If taken at the meter shop this sysem would interface with the test equipment |  | CSV104EFC2C | CSV7BB234D6 | Enterprise Asset Management
< | 30 | Actor | Electric Supply |  | Container actor for Market Operations and Power Procurement |  | CSVAA0EC9A9 | CSVAC234AA1 | Utility Organizations
< | 31 | Actor | Gas Distribution System Planning |  | Responsible for ensuring proper capacity on the Gas distribution network |  | CSVD98C7EFF | CSVAC234AA1 | Utility Organizations
< | 32 | Actor | Distribution Planner |  | Utility organization that uses kW and kWh production data to evaluate the effect of load, (distributed) generation, pricing and contracts on the T&D Systems. On behalf of infrastructure forecasts non operational data with real time access is normally not necessary, but a few evaluation scenarios will require the ability to poll meters installed on distributed generation and evaluate results in a fast time (30 minutes or less) |  | CSVFABC20BA | CSVD1CF8CC0 | Personnel
< | 33 | Actor | Remote Terminal Unit | RTU | Device to interface between substation and plant equipment and the SCADA system |  | CSV7F7C3AD3 | CSV64B920E3 | Distribution Automation Node
< | 34 | Actor | Energy Trader | Merchant Controller | The Energy Trader(s) purchases and sells electricity in the day-ahead market and forward. The day-ahead market typically closes sufficiently before the scheduling deadline, allowing the ISO the time to review matched schedules (trades between market participants). Ultimately, actual meter data is matched with the energy schedule to determine settlement charges. |  | CSVB01F0833 | CSVD1CF8CC0 | Personnel
< | 35 | Actor | Meter Shop Technician |  | Organization that tests and repairs AMI meters and AMI components. Needs a clear definition of the problem reported with any equipment in order to fix the problem as quickly as possible. |  | CSV3B3A654D | CSVD1CF8CC0 | Personnel
< | 36 | Actor | Methane Alarm Application |  |  |  | CSVC01E6565 | CSV68EED63B | Other Corporate Applications
< | 37 | Actor | Load Reduction Model System |  | A system that supports the development, maintenance and analysis of models to predict load reduction available based on the past load data and customer behavior. |  | CSVF42818C7 | CSV3AF88F63 | DRAACS
< | 38 | Actor | AMI Communication Network |  | An aggregate of the WAN and NAN that could also be used to transport information from other field nodes (network elements that communicate on the AMI network but aren't necessarily part of the function of the AMI system) outside the normal AMI system |  | CSVC2468F7C | CSV0916424C | Field Elements
< | 39 | Actor | Non Electric Utility |  | Gas and/or water utility that operates within the utility's territory. |  | CSV35D5AF3C | CSV11F408E4 | Third Party Organizations
< | 40 | Actor | Enterprise Application Suite | SAP | A set of integrated applications used across the enterprise such as Accounting, Work Management, HR, Asset Management |  | CSV9AF8B3D4 | CSVF523C279 | Corporate Data Center
< | 41 | Actor | Repair Contractor |  | Electrical contractors available to repair customer AMI meter panels when utility determines it is appropriate to reduce AMI roll-out delays, go-backs and customer dissatisfaction. |  | CSV2C518895 | CSV11F408E4 | Third Party Organizations
< | 42 | Actor | AMI Forecasting System |  | System to interface with, replace and/or extend other utility systems to identify future AMI meter inventories and deployment schedules. Also orders and tracks AMI meters or any other AMI equipment needed by the utility. Could be included or separate from the Meter Management System. |  | CSVF09DC324 | CSV7BB234D6 | Enterprise Asset Management
< | 43 | Actor | AMI Management System |  | System that acts as a global data repository for information about each AMI meter, as opposed to the AMI System, which gathers metering data from each meter. This system orders the installation of AMI meters and sends the order to the installer. Meter management system will track status of meters such as never set, installed, removed, salvaged, and returned to manufacturer for repair. Could also include the capabilities described in Meter Forecasting System. and make data available to authorized systems. |  | CSVD22F158B | CSV7BB234D6 | Enterprise Asset Management
< | 44 | Actor | AMI Head End |  | The collection of components below which in summary is an automated metering data collection system will manage the energy and event data collection from the AMI meters/devices, and forward that data to the MDUS on a scheduled or event-driven basis. The advanced metering system is also responsible for monitoring and reporting on the status of the communication network used to communicate with the AMI meters/devices |  | CSVF102BA23 | CSV578A8B20 | Edge Data Center
< | 45 | Actor | Qualifying Facility Resource |  | Utility’s QFR department uses KW and KWH production data to comply with regulatory agencies' reporting requirements (non operational data) - No real time requirements |  | CSV37D620AC | CSV11F408E4 | Third Party Organizations
< | 46 | Actor | Display Device |  | This device will enable customers to view their usage and cost data within their home or business. Data will be passed to this device via the AMI. Only utility approved devices will be able to connect to the AMI network and receive data and communication through the AMI. |  | CSVF9C07EBE | CSV72B5F1D3 | Home Area Network
< | 47 | Actor | Personnel |  | Container actor people |  | CSVD1CF8CC0 | CSV052312B4 | People and Organizations
< | 48 | Actor | Gas Distribution Simulation Model | SynerGEE | System that models that Gas Distribution network used by Gas Distribution System Planning |  | CSV2F5C059F | CSV68EED63B | Other Corporate Applications
< | 49 | Actor | Methane Sensor |  | Required on inside gas meter locations to report potential leaks due to corrosion in place of the sniff test performed by the meter reader |  | CSV4929F1BF | CSV72B5F1D3 | Home Area Network
< | 50 | Actor | Home Area Network |  | The HAN includes the utility-owned premise gateway as well as Customer owned and operated devices and systems which brokers third party messaging between the customer's HAN-attached devices and the utility's premise gateway |  | CSV72B5F1D3 | CSVA161272B | Advanced Metering Infrastructure
< | 51 | Actor | Electric Meter Inspection Tracking System | EMITS | System to track all the components and the inspection records of a complex electric meter installation. The system is designed to record all pertinent information about the installation through its entire life cycle |  | CSVA5CC037E | CSV7BB234D6 | Enterprise Asset Management
< | 52 | Actor | SCADA / EMS |  | System used by operators of electric utility grids to monitor, control, and optimize the performance of the generation and/or transmission system. |  | CSV49EFEF9C | CSVE0013B1C | Other Technical Applications
< | 53 | Actor | Non Electric Meter |  | Meter owned and operated by a gas and/or water utility operating within the utility's electric service territory. The AMI communication module enables two-way data communications capability with the utility. The meter will receive, record, display and transmit energy and other related data (e.g. interval and register energy data for billing, hourly pricing, tamper event, etc.) to and from the electric meter or in some cases an AMI Head-End or MDUS Overlap with Third Party Meter actor |  | CSV6BFF17CD | CSV72B5F1D3 | Home Area Network
< | 54 | Actor | Customer Equipment |  | Equipment directly connected to load devices capable of receiving curtailment signals and carrying out the requests or otherwise responding to them. Would also include an Energy Management system described above. |  | CSVCAE321F7 | CSVA998F5F4 | Load Control Device
< | 55 | Actor | Distribution Automation Node |  | This actor is a communications device connected to a switch or controller on the distribution system. The AMI Communication Network is used to send signals from the DCMS system to the distribution automation node in order to control the automated distribution asset. |  | CSV64B920E3 | CSVE256E000 | Intelligent Grid Agents
< | 56 | Actor | AMI Network Management System |  | AMI Management System checks with Outage Management System and Work Order Management System for previously reported problems affecting this meter and if necessary requests a work order from the Work Order System for the meter. |  | CSVA833D83B | CSVF102BA23 | AMI Head End
< | 57 | Actor | Third Party Meter / Submeter |  | A meter owned by the utiltiy or third party used to measure consumption of a commodoty below the meter used for primary billing by the utility Overlap with Non-electric meter actor |  | CSVD8E121FE | CSV72B5F1D3 | Home Area Network
< | 58 | Actor | Large C&I Customer |  | Large Commercial or Industrial energy user that has a contract with the utility to receive electrical or gas service from the utility and have an AMI meter installed. The customer may or may not participate in programs provided by the utility including pricing events, load control or distributed generation. |  | CSV5D2B274D | CSV11F408E4 | Third Party Organizations
< | 59 | Actor | Energy Capital Management |  | Supports the processes that involve the collection and management of energy-relevant data, as well as, the integration of that energy data with all related scenarios, such as energy forecasting, portfolio management, and energy trading. |  | CSV2802BF04 | CSV9AF8B3D4 | Enterprise Application Suite
< | 60 | Actor | Field Leader (Gas) | FL |  |  | CSVA84908C1 | CSV0DE19AF4 | Field Person
< | 61 | Actor | Contract Meter Read Customer |  | Organization that uses the AMI system to gather data from its own AMI meter. The organization needs to know when data will not be available from its AMI meter due to failure or maintenance on the AMI meter or AMI system. |  | CSV9E1F36E4 | CSV11F408E4 | Third Party Organizations
< | 62 | Actor | Distributed Generation Evaluation Team |  | Validates and inspects a Customer's installation of a distributed generator. |  | CSVFEF5DD6C | CSVAC234AA1 | Utility Organizations
< | 63 | Actor | System Operator | System Controller | In case of an outage, the system operator controls switches and instructs service crews to restore power |  | CSVF05F2850 | CSVD1CF8CC0 | Personnel
< | 64 | Actor | Distribution Control and Monitoring System |  | System that is used to operate switches on distribution lines |  | CSV099B9542 | CSVA45222B9 | Distribution Operation Center
< | 65 | Actor | System Management Console |  | AMI System component responsible for monitoring the health of the AMI system, managing and implementing firmware updates and configuration. Monitoring of the AMI remote provisioning functions, control and diagnostics |  | CSV0F4D3C84 | CSVF102BA23 | AMI Head End
< | 66 | Actor | Test Station Control Application |  |  |  | CSV127A2D33 | CSV9BFE2AC6 | GIS Application (CorCon)
< | 67 | Actor | Authorized Distribution Personnel |  | Utility employed staff authorized to retrieve, review and manage AMI Meter data and initiate actions by the utility or the utility systems based on these activities. Is this the same as a power quality analyst? See D2, scenario 1 and 2 |  | CSV3B94B7BD | CSVD1CF8CC0 | Personnel
< | 68 | Actor | Utility Organizations |  | Container actor |  | CSVAC234AA1 | CSV052312B4 | People and Organizations
< | 69 | Actor | Interactive Voice Response | IVR | Automated system to respond to customer calls that will either route them to the correct person or address the request automatically |  | CSVE62DDB18 | CSV68EED63B | Other Corporate Applications
< | 70 | Actor | Order Management and Routing system |  |  |  | CSVD4BD35BB | CSV9AF8B3D4 | Enterprise Application Suite
< | 71 | Actor | Distribution Maintenance Planning Organization |  | Plans when to do utility Distribution system maintenance. Needs to communicate to meters and customers planned outages. Needs to communicate unplanned outages as well to ensure AMI doesn't send out service orders due to outages. |  | CSVF2ECEF75 | CSVAC234AA1 | Utility Organizations
< | 72 | Actor | Repeater |  | A Repeater is an AMI network device that links the Neighborhood Aggregator to the Premise Gateway or AMI meter by simply forwarding messages to and from the customer’s premise. |  | CSV6F6EFA71 | CSV5E2D2C6C | Neighborhood Area Network
< | 73 | Actor | Gas Outage Management System | GOMS | System used to analyze customers impacted by an interuption to normal gas flow to predict the relight requirements |  | CSV204B60A5 | CSV68EED63B | Other Corporate Applications
< | 74 | Actor | Capacitor Bank Controller |  | Device to control a capacitor bank. This actor is a smart distribution automation device located on the feeder or in a substation and uses two way communications on the AMI Network to receive commands from and send status reports to the Capacitor Control System located at the Distribution Operations Center. The Capacitor Bank Controller can also query AMI Meters on its feeder for voltage and power quality data. |  | CSV0D3E7E32 | CSV64B920E3 | Distribution Automation Node
< | 75 | Actor | Customer |  | Residential and small Commercial or Industrial energy user that has a contract with the utility to receive electrical or gas service from the utility and have an AMI meter installed. The customer may or may not participate in programs provided by the utility including pricing events, load control or distributed generation. |  | CSVA34BB8A5 | CSV11F408E4 | Third Party Organizations
< | 76 | Actor | Power Procurement Finance Dept | Settlements | May require daily KWH & KVARH readings and calculated KW & KVAR from DG locations selling to the utility or scheduling with ISO. Serves data to other clients |  | CSVE71DE89A | CSVAA0EC9A9 | Electric Supply
< | 77 | Actor | Third Party |  | Any application or person, external to CMS, may also include external utilities or retail service providers. |  | CSV0B369BB2 | CSV11F408E4 | Third Party Organizations
< | 78 | Actor | Complex Billing | EDM | Supports utility-specific meter and device management processes including load profiling, complex billing and energy settlement processes. The solution provides functionality for metering and measuring load shapes, settling energy quantities, managing schedules and billing interval customers. A central database supports the import, monitoring, validation and storing of all time-series data |  | CSV19F240E8 | CSV2802BF04 | Energy Capital Management
< | 79 | Actor | Message Bus | Exchange Infrastructure XI | Enables the integration of systems from different vendors and in different versions and implemented in different programming languages to each other. Message Bus is based on an open architecture, and uses open standards in particular those from the XML and Java environments. |  | CSVAF4F3465 | CSV9AF8B3D4 | Enterprise Application Suite
< | 80 | Actor | Third Party Organizations |  | Container actor |  | CSV11F408E4 | CSV052312B4 | People and Organizations
< | 81 | Actor | Neigborhood Aggregator |  | A device which collects data, messages, etc. from repeaters, meters and/or premise gateways and forwards them to data center aggregators through the WAN. The neighborhood aggregator has a persistent data store, security functions and configurable program elements. |  | CSVBE268824 | CSV5E2D2C6C | Neighborhood Area Network
< | 82 | Actor | Corporate Data Center |  | The data center for the commercial and business applications that serve the enterprise |  | CSVF523C279
< | 83 | Actor | SCADA (Gas Transmission and Storage) |  | System used by operators of gas utility network to monitor, control, and optimize the performance of the storage and transmission system. |  | CSVFB475AC7 | CSVE0013B1C | Other Technical Applications
< | 84 | Actor | Transformer Load Monitoring | TLM | TLM is an analysis performed using one or more third-party applications, and combines both customer load data and network connectivity information to estimate/predict the loading of individual line transformers. TLM serves to identify over- and under-loaded transformers for optimum use of capital budget to replace aging assets and improved feeder network planning. |  | CSVA2397907 | CSV68EED63B | Other Corporate Applications
< | 85 | Actor | Outage Management System | OMS | System that uses customer information, SCADA information and AMI system information to help identify locations of outages. Determination of outage locations is based on the system's knowledge of the power system topology. An Outage Management System enables the utility’s operations personnel to identify and resolve electrical outages. It also performs historical reliability performance analysis. OMS applications may interface with the utility’s customer contact center (or interactive voice response system) to communicate outage situation and restoration status to the customers, as well as, field service applications to send and receive outage related data to the utility field personnel |  | CSVD0105E06 | CSV68EED63B | Other Corporate Applications
< | 86 | Actor | Wide Area Network | WAN | A higher speed network that connects the NAN to the utility. It is possible that the WAN may communicate directly with the Premise Gateway with certain technologies. |  | CSV6CA642C8 | CSVC2468F7C | AMI Communication Network
< | 87 | Actor | Power Quality Event Controller |  | System responsible for collecting Power Quality Events from the AMI. |  | CSVF4AEE88B | CSV68EED63B | Other Corporate Applications
< | 88 | Actor | Distribution Operation Center | Distribution SCADA | System responsible for the operation of the distribution system, |  | CSVA45222B9 | CSVE0013B1C | Other Technical Applications
< | 89 | Actor | Advanced Metering Infrastructure |  | The Advanced Metering Infrastructure (AMI) or AMI system includes all components under the cover of the meter, all communication field elements and back office systems necessary to manage the communications network and enable two-way communications between the utility and the AMI meters. |  | CSVA161272B | CSV0916424C | Field Elements
< | 90 | Actor | Gas Line Worker - Cathodic |  | Operates and maintains the corrosion protection system in the field |  | CSVBFF9F5CA | CSVD1CF8CC0 | Personnel
< | 91 | Actor | Load Model System | IDR Load Forecasting | A model that forecasts peak loads based on the historical load data. Typically, the shorter the interval and the more data points available to train the model, the more accurate the forecast will be. |  | CSV267AF9AC | CSV68EED63B | Other Corporate Applications
< | 92 | Actor | Gas Control |  | Controls Gas T&S operations through the Gas T&S SCADA in the utility’s service area. |  | CSV575C91E0 | CSVAC234AA1 | Utility Organizations
< | 93 | Actor | Data Retriever |  | There are many groups of users within the utility that require access to meter data. Some of these users access the data through programs and some through queries. These users require relatively unlimited, read only access to the data retrieved from the meter. |  | CSVD7A52A5B | CSVD1CF8CC0 | Personnel
< | 94 | Actor | Recloser |  | A device that is used to control the logic of reclosing a circuit breaker after a fault |  | CSVEEF2EA85 | CSV64B920E3 | Distribution Automation Node
< | 95 | Actor | Neighborhood Area Network | NAN | A collection of neighborhood area aggregators that serve as a network which links the repeaters, meters and/or premise gateways back to the utility. |  | CSV5E2D2C6C | CSVC2468F7C | AMI Communication Network
< | 96 | Actor | Maintenance Analyst |  | Person that examines failed AMI meters and AMI system components. Is also responsible for finding the most efficient way of maintaining AMI meter inventories. |  | CSVCCE5A515 | CSVD1CF8CC0 | Personnel
< | 97 | Actor | Remote Fault Indicator |  | A fault indicator that sends notice of a fault to a central system |  | CSV79B3704F | CSV64B920E3 | Distribution Automation Node
< | 98 | Actor | Operation Data Collection and Store (Enterprise) |  | ODCS is an operational data manager used to collect distribution power system data, from such field systems as, SCADA, automated distribution devices, and then provides access to that data to distribution engineers and operators and systems such as outage management systems and circuit analysis tools. |  | CSV67CC6163 | CSVF523C279 | Corporate Data Center
< | 99 | Actor | Public Service Commission | MPSC | State organization that regulates the Electric & Gas utilities |  | CSV9C3E0B2E | CSV11F408E4 | Third Party Organizations
< | 100 | Actor | Customer Representative | CSR | Utility employed staff that responds to customer requests to activate, modify and/or terminate delivery of service. Customer Representatives also enroll customers in utility sponsored programs and answer questions related to the customer's energy consumption and cost data. Many off cycle bill requests are initiated by Customer Representative's action to correct billing errors (due to inaccurate physical reads or estimates). |  | CSV842833C1 | CSVD1CF8CC0 | Personnel
< | 101 | Actor | Gas Meter Inspection Tracking System | GMITS | System to track all the components and the inspection records of a complex gas meter installation. The system is designed to record all pertinent information about the installation through its entire life cycle |  | CSVD0F00702 | CSV7BB234D6 | Enterprise Asset Management
< | 102 | Actor | Usage Measurement Aggregation |  | System responsible for aggregation of the Bundled Customer Usage meter data. |  | CSV04C5F593 | CSV0729EB7C | Meter Data Unification System
< | 103 | Actor | Distribution Design | CES | Plans and designs for new business service and capacity |  | CSV365EC7A8 | CSVD1CF8CC0 | Personnel
< | 104 | Actor | Intelligent Grid Agents |  | Intelligent grid agents are decentralized grid systems that gather data (from the distribution monitoring nodes or devices), make decisions about local switching and control functions of these distribution devices based on predictive modeling, and communicate with centralized grid control centers. |  | CSVE256E000 | CSV0916424C | Field Elements
< | 105 | Actor | Grid Control Center | System Control Center | The GCC controls grid operations through the EMS, SCADA and DCMS in the utility’s control area. |  | CSV1BFED77A | CSVAC234AA1 | Utility Organizations
< | 106 | Actor | DRAACS |  | Distributed Resource Availability and Control System. System responsible for maintaining an estimate with a known precision of how much resource is available for dispatch. DRAACS is also responsible for accepting requests for blocks of energy and handling the details of implementing that request through the issuance of load control signals. DRAACS is expected to track the as implemented response to load control signals to refine its internal model |  | CSV3AF88F63 | CSV578A8B20 | Edge Data Center
< | 107 | Actor | Customer Information System | CRM/B or Customer Care | A system responsible for producing customer invoices from accurate bill ready AMI meter readings. Invoices can be produced periodically (on cycle) or as a result of a specific event (off cycle). Accurate bills require accurate and timely information from the AMI meters. The system is responsible for storing customer specific information like site data, AMI meter numbers and rates and program participation. The system also tracks and manages customer invoices and payments. This system also supports the processes around marketing, sales and billing of energy and non-energy products as well as the management of the related customer service processes. This includes the operation of a call center with support for utility industry-specific sales and service processes, campaign management, opportunity management, account and contact management, and interaction center-based sales support for residential and non-residential customers. The modular billing engine supports rate management, billing simulation functions, billing on behalf of a third party, plausibility check functions for billing documents and the bill printing with all related processes. |  | CSVDB77A732 | CSV9AF8B3D4 | Enterprise Application Suite
< | 108 | Actor | Principal Field Leader (Gas) | PFL |  |  | CSV5526D762 | CSV0DE19AF4 | Field Person
< | 109 | Actor | Information Technology Department | IS&T | Provides the IT skills to support the Business and Comercial applicaions |  | CSVBE049D7B | CSVAC234AA1 | Utility Organizations
< | 110 | Actor | Cathodic Test Station |  | A node used to read the corrosion control status at test locations. Test Stations may be several feet to miles away from Meters. |  | CSVDFBD8EF1 | CSV64B920E3 | Distribution Automation Node
#N/A | 111 | Actor | Hand Held Computer |  | Currently a DAP Hand Held Computer which is currently used by the Electric Meter Operations Department to read interval data from large C & I electricity meters. Limited use for field configuration. The current HHC’s are in need of replacement, however they will be replaced in the future by either the AMI system, the Field Device or possibly our current Neptune Meter Reading HHC Field Device |  | CSV810614C3 | CSV50C1AB1D | Field Tool / Device
< | 112 | Actor | Unknown/Unauthorized Person |  | This individual may be the premise customer or an agent (i.e. contractor) of the premise customer or some other individual who intends to manipulate the meter and is not authorized by the utility to carry out these actions. |  | CSVAF88329D | CSV11F408E4 | Third Party Organizations
< | 113 | Actor | Market Operations (Day Ahead and Real Time) | ES&T | This is a generic term for those actors within the normal process flow of data within Electric Supply. The actors include the load forecast group, the planning group, the day-ahead traders, the schedulers, and real time operations. |  | CSVB9B60F52 | CSVAA0EC9A9 | Electric Supply
< | 114 | Actor | Other Technical Applications |  | Applications that require monitoring and control of field elements that for security reasons must reside on an isolated secure network |  | CSVE0013B1C | CSV578A8B20 | Edge Data Center
< | 115 | Actor | People and Organizations |  |  |  | CSV052312B4
< | 116 | Actor | AMI Component Vendor |  | Supplier of AMI meters or AMI communication system components |  | CSV2972088D | CSV0482A6BB | Third Party Vendor
< | 117 | Actor | Other Corporate Applications |  | Enterprise applications that are not part of the EAS but are usually integrated with it. |  | CSV68EED63B | CSV9AF8B3D4 | Enterprise Application Suite
< | 118 | Actor | Edge Data Center |  | The AMI Edge Data Center encompasses systems that provide meter data, meter status and a meter communications interface to other enterprise systems including Meter Data Unification System and Customer Service System (CSS). The edge data center serves as the boundary domain between the AMI network and the utility network. It is an architecture container which holds the system management console and data center aggregators. Additional security systems such as intrusion detection and perimeter defense systems would also be included in the edge data center. |  | CSV578A8B20
< | 119 | Actor | Energy Auditor |  | Retrieves and analyzes customer load profile for the purpose of rate selection, equipment sizing and other purposes |  | CSV6CF7DFE7 | CSVD1CF8CC0 | Personnel
< | 120 | Actor | Gas Measurement Team |  | Gas Measurement Team analyzes lost and unaccounted for gas (LAUF) exception report |  | CSV4D443E0F | CSVAC234AA1 | Utility Organizations
< | 121 | Actor | Enterprise Asset Management | EAM | (EAM) supports the business processes for the planning, construction, operation, maintenance, and decommissioning of power plants and waterworks as well as the business processes for planning,enhancement, operation, maintenance, and support of utility grids. The functionality includes Work Clearance Management and particular Mobile Asset Management scenarios for Utilities. |  | CSV7BB234D6 | CSV9AF8B3D4 | Enterprise Application Suite
< | 122 | Actor | SCADA (Gas Distribution) |  | System used to monitor and control the gas standard pressure system |  | CSV6DE6A516 | CSVE256E000 | Intelligent Grid Agents
< | 123 | Actor | Load Control Device |  | Device that switches loads on or off or reduces load in response to events communicated by the AMI or AMI Meter. The device needs to follow a set of preprogrammed rules. E.g. smart thermostat. There are customer owned and utility owned load control devices. |  | CSVA998F5F4 | CSV72B5F1D3 | Home Area Network
< | 124 | Actor | Meter Data Unification System |  | System that stores meter data (e.g. usage, generation, meter logs) and make data available to authorized systems. This system is a component of the AMI. |  | CSV0729EB7C | CSV578A8B20 | Edge Data Center
< | 125 | Actor | Telecom Control Center | SAC | Collection of people & systems that dispatch calls to fix communication problems. |  | CSV50D48B9F | CSVAC234AA1 | Utility Organizations
< | 126 | Actor | Production Resource Planning | Transaction Strategies | The Production/Resource Planning group works with the GCC to ensure the utility control area will have enough transmission and distribution capacity to meet the demand for electricity. Grid Control Center (GCC) (may need real time data for larger installations or if system is allowed to rely on DG production to maintain stability/operating margins, most scenarios measuring |  | CSV7397AE5F | CSVAA0EC9A9 | Electric Supply
< | 127 | Actor | Customer Account Manager | CAM | Representative assigned to interface with specific Commercial and Industrial accounts |  | CSV1497BE69 | CSVD1CF8CC0 | Personnel
< | 128 | Actor | Power Quality Analyst |  | Utility employed staff that is responsible for the review, analysis and reporting of Power Quality Data gathered by the utility. How does this person differ from Authorized Distribution Personnel? D2, Scenarios 1 and 2 might imply they are the same person. |  | CSVF18E1EB5 | CSVD1CF8CC0 | Personnel
< | 129 | Actor | Gas Measurement System |  | Gas Measurement Software – performs LAUF calculations based on input from multiple data sources. Current system (new in 2007) |  | CSVEF4B9A90 | CSV68EED63B | Other Corporate Applications
< | 130 | Actor | Meter Data Unification System Technician |  | Meter Data Unification System Technician is an individual trained in dealing with the complexities of interval data retrieval and storage. |  | CSVEBBC4019 | CSVD1CF8CC0 | Personnel
< | 131 | Actor | Remote Circuit Switch |  | A distribution switch that is operable from a remote location |  | CSVC42430D2 | CSV64B920E3 | Distribution Automation Node
< | 132 | Actor | Third Party Vendor |  | A vendor outside the utility, that may or may not be hired by the customer, which needs to monitor customer equipment status and power consumption. |  | CSV0482A6BB | CSV11F408E4 | Third Party Organizations
< | 133 | Actor | Interval Data Management |  | May participate in acceptance testing of upgrade. Need to review and improve this actor description. |  | CSVF36AB73E | CSVAC234AA1 | Utility Organizations
< | 134 | Actor | Premise Gateway |  | The Premise gateway is the controller for the Home-area network (HAN). It may be located in the AMI meter or on a pole or tower. The premise gateway provides the utility connectivity to in-home load control devices. Communications hub responsible for brokering third party messaging in between the AMI System and a customer's HAN. This may be a part of the AMI meter |  | CSV9A000D68 | CSV72B5F1D3 | Home Area Network

## HAN
| ID | Name | Alias | Notes | Type | Stereotype
< | 1 | AMI ?
< | 2 | AMI and/or HAN Trust Center
< | 3 | Automated Data Collection System
< | 4 | Consumer
< | 5 | Consumer HAN
< | 6 | Customer Representative
< | 7 | Customer Service System (CSS)
< | 8 | Energy Management System (EMS)
< | 9 | Energy Services Interface (ESI)
< | 10 | HAN Device
< | 11 | HAN Device Registration Application
< | 12 | In-Home Display (IHD)
< | 13 | Metering System
< | 14 | Pool Pump Controller
< | 15 | Utility HAN
#N/A | 16

## Lookups
current_filename | [Merge Actors v0.2.xls]