Voluntary Use Case

Description:

Customer reduces their usage in response to pricing or voluntary load reduction events

A major benefit of the Advanced Metering Infrastructure (AMI) is that it supports customer awareness of their instantaneous kWh electricity pricing, consumption, projected costs, rate tiers and voluntary load reduction program events and it can support the utilities in the achievement of load reduction needs. As we see increased electricity demand on the grid, it may result in energy shortages, therefore triggering the need for utilities to reduce energy consumption in support of grid stability. The AMI will help facilitate load reduction at the customer’s site by communicating instantaneous kWh pricing and voluntary load reduction program events to the customer and to various enabling devices connected to the AMI, via a Home Area Network (HAN), each of which contains the requisite AMI-specific functionality at the customer’s site.   Voluntary load reduction events may be scheduled with a large amount of advanced notice (24 hrs) or near real-time.  For the utility to receive the desired customer response, we must provide them timely pricing, event and usage information.

Related to this scenario is the measurement of the response to financial incentives, energy price adjustments and other voluntary demand response programs. The customer responses will be used to determine how and/or if they have responded to a pricing event, if the utility needs to launch other demand response events to achieve the needed demand reduction and help the utility determine how to structure future voluntary load reduction programs, to ensure the utility receives the best customer response.

This scenario includes the actual mechanism to distribute price signals and voluntary load reduction events to customers (direct electronic delivery to the customer meter, display device within the home/business, automated telephone calls, e-mail, pager, commercial broadcast radio, newspapers, etc.). It includes the mechanism by which the AMI will display current pricing and voluntary load reduction event information within the customer’s home/business.  The AMI will initiate automatic load reduction at the customer’s site by communicating event and pricing information to customer HAN equipment and the customer HAN equipment will take action based on the customer’s predefined setting. The customer will be able to program their load control specifications and refuse utility load reduction requests with a device within their home/business. The customer will also be able to manually curtail load based upon informational messages communicated to them through the AMI.

This scenario also includes the actual Home Area Network functionality for customer HAN equipment, describing the scenario for the separate HAN equipment, classes of devices, and AMI-related behavior of the HAN equipment.

Troubleshooting for installation, registration and event failure should refer to the HAN Use Case – Maintenance.

Use case business rules and assumptions:

See also “HAN Use Case - General Definitions, Assumption, Actors.doc”

If the HAN device offers a display, it is capable of displaying actual price of power for a unit of time and/or providing an indication of relative price (e.g. low, medium, high, critical).

The HAN device is capable of differentiating between emergency/reliability and/or price-response event signals.

If the HAN device offers a display, it is able to display messages comprised of alphanumeric characters, as delivered or triggered remotely from the AMI system.

Certain HAN devices can distinguish or support various event types and take appropriate action based on the event.

HAN Devices do not need to register with the Utility AMI system to obtain Utility messaging (e.g. pricing events).  However, the customer must enroll in a demand response program or tariff and must register the HAN device with the Utility for the HAN device to confirm its successful actuation of the event.

Definitions:

See “HAN Use Case - General Definitions, Assumption, Actors.doc”

Actors:

See “HAN Use Case - General Definitions, Assumption, Actors.doc”

Scenarios (sequenced):

Utility initiates a voluntary demand response event (e.g. Critical Peak Pricing Event)

| Triggering Event | Primary Actor | Pre-Condition | Post-Condition |
| --- | --- | --- | --- |
| The utility determines the need for a demand response event. | HAN Device | The Installation Use Cases are successfully completed. The Registration Use Cases are successfully completed. The Customer Interface has either been pre-programmed to respond appropriately to price, consumption, load or event messages and/or the customer has manually programmed, or used the Customer Interface to program the HAN Device. | The customer will have been notified of an event, the event will have been autonomously launched by the AMI system, the HAN Devices will have actuated and the event will have ended and the customer equipment returned to its original state. |

Steps for this scenario

These steps apply for both event actuation and restoration to initial HAN device state.

| Step # | Actor | Description of the Step |
| --- | --- | --- |
| 1 | AMI system | AMI system sends a message to the customer's display device and/or control equipment, via Utility AMI HAN Interface for customer viewing, that an event start time has arrived. |
| 2 | Customer Interface/HAN Devices | TThe customer's display device and/or control equipment receives the message, update the event status (e.g. to active) and the control equipment will take customer preprogrammed action (e.g. raise thermostat by 4 degrees, lower thermostat to original state) reacting to pricing and/or event type. |
| 3 | Customer | Customer may choose not to participate in economic or pricing event. Customer overrides the automatic HAN device actuation sequence. |
| 4 | Customer Interface/HAN Devices | The customer's display device and/or control equipment may/may not send a receipt that it received the event message to AMI (dependent on type of customer equipment), via the Utility AMI HAN interface. If a message is sent to AMI by the display/control equipment, the message includes the device ID, message received date/time (in local time) by the display/control equipment and action taken (e.g. receive event info, raised thermostat by 4 degrees, A/C off) and date/time action taken. The Customer Interface may/may also log events for future customer analysis and audit or send events to a different Customer Interface to log events. If the Customer overrode the event, the message will signify message received but overridden by Customer. |

Mandatory Use Case

Description:

The mandatory load and energy management scenario refers to demand response resources dispatched for reliability purposes. These events are mandatory due to the potential of the demand for power exceeding supply as a result of unexpected power plants going offline or congestion in transmission and/or distribution lines. The customer may be (1) enrolled in or (2) as condition of service be defaulted on a mandatory demand response program used for grid management. For voluntary enrollment in a utility’s program, the customer is generally compensated with a credit on their monthly bill.

Control of a customer’s HVAC can be accomplished via a 2009 California Title 24 building code compliant Programmable Communicating Thermostat (PCT) as the HAN device. Other HAN devices may also include (but not limited to) an energy management system, a pool pump switch, A/C switch, or even a passive device (one that does not actually shed load) such as an in-home display that warns of potential power shortages in the near future or a load shed event in progress. The PCT may act as both a load shedding and passive/informational device. The Utility AMI Gateway will forward curtailment messages to the HAN device(s) capable of receiving this.  Upon receipt and successful execution of the load shed, the HAN device may return an acknowledgement back to the Utility AMI, including logging and device status.

Mandatory load and energy management events do not allow customers the option to override the load shed request. The utility relies on firm load shed to avert rotating outages. Giving customers the option to override a mandatory load shed request increases the possibility a complete power outage. For emergency purposes, the utility must be able to immediately remove a customer off the program due to a medical emergency and restore operation to the HVAC as soon as possible.

The utility will be informed by at least two levels of advanced warning:

- Long term (24 hours) and short term (few hours notice) predicted energy shortages

- Emergency shortage (few minutes notice)

The following is a list of use case scenarios:

- Predicted mandatory load curtailment for grid management – Warnings are issued for possible electrical system overload or potential lack of generation resources.

- Customer requests an immediate opt-off due to a medical emergency.

Use Case Business Rules and Assumptions:

See “HAN Use Case - General Definitions, Assumption, Actors.doc”

Medical Opt-out devices are pre-registered or may register upon Customer contacting the Utility to exclude their HAN device from mandatory events.

Use Case Actors:

See “HAN Use Case - General Definitions, Assumption, Actors.doc”

Use Case Scenarios:

Utility initiates a mandatory demand response event due to a possible electrical system overload or potential lack of generation resources. Warnings issued to customers are optional

| Triggering Event | Primary Actor | Pre-Condition | Post-Condition |
| --- | --- | --- | --- |
| The utility determines the need for a demand response event. | HAN Device | The Installation Use Cases are successfully completed. The Registration Use Cases are successfully completed. The HAN Device has been programmed by the utility to shed load on command. | The customer may have been notified of an event, the event will have been autonomously launched by the AMI system, the HAN Devices will have actuated and the event will have ended and the customer equipment returned to its original state. |

Steps for this scenario

These steps apply for both event actuation and restoration to initial HAN device state.

| Step # | Actor | Description of the Step |
| --- | --- | --- |
| 1a | Utility | Utility anticipates the need to dispatch a mandatory curtailment program. |
| 1b | Utility | Utility anticipates the need to dispatch a mandatory curtailment program and sends a warning message to the customer. |
| 2 | HAN Devices | HAN Devices receive the warning message that a mandatory event occurred and displays the appropriate message (e.g. lights the appropriate LED) (** optional step **) |
| 3 | Utility | Utility sends a mandatory load shed message. |
| 4 | HAN Devices | HAN Devices receive the mandatory load shed notification of the scheduled curtailment. |
| 5 | HAN Devices | Han Devices enter appropriate “off” and/or “energy minimum” state(s). |
| 6 | HAN Devices | HAN Devices respond back to the Utility, confirming the receipt of the mandatory load shed notification. |
| 7 | Utility | Curtailment period ends and Utility AMI system sends the command to restore HAN Devices to previous state. |
| 8 | HAN Devices | HAN Devices restore load on a random restoration schedule so as to create minimal impact to the distribution system. |
| 9 | HAN Devices | HAN Devices respond back to the Utility, confirming the receipt of event end notification. |

Use Case Scenarios:

Utility initiates a mandatory demand response event due to a possible electrical system overload or potential lack of generation resources. Customer calls the utility to opt-off the program due to a medical emergency.

| Triggering Event | Primary Actor | Pre-Condition | Post-Condition |
| --- | --- | --- | --- |
| The utility determines the need for a demand response event. | HAN Device | The Installation Use Cases are successfully completed. The Registration Use Cases are successfully completed. The HAN Device has been programmed by the utility to shed load on command. | The customer is opted-off the program and device being controlled by the HAN device is restored to the initial state. |

Steps for this scenario

These steps apply for both event actuation and opting the customer off the program.

| Step # | Actor | Description of the Step |
| --- | --- | --- |
| 1 | HAN Devices | HAN Devices receive the notification to start the curtailment. |
| 2 | HAN Devices | Han Devices enter appropriate “off” and/or “energy minimum” state(s). |
| 3 | HAN Devices | HAN Devices respond back to the Utility, confirming the receipt of the mandatory load shed notification. |
| 4 | Customer | Customer contacts the Utility to restore load. |
| 5 | Utility | Utility sends the message to un-register and restore load to the appropriate HAN Devices. |
| 6 | HAN Devices | HAN Devices un-register from mandatory load and energy management program and immediately restore load. |
| 7 | HAN Devices | HAN Devices respond back to the Utility, confirming the device has received the command to un-register and load is restored. |