## All
| Source | Permission to use | Reference | Summary | Use Case Title
1 | OpenADE |  | OpenADE Business and User Requirements v1.0 | allow a consumer to grant a third party access to their electric data and in accordance with that authorization, the utility delivers the consumer data to the third party using a standard interoperable machine-to-machine (M2M) interface. | Consumer Grants Permission
2 | OpenADE |  | OpenADE v1.0 |  | Consumer Extends Permission
3 | OpenADE |  |  |  | Consumer Terminates Permission
4 | OpenADE |  |  |  | Utility Provides Consumer Data to 3rd Party
5 | AHAM; Safety |  | July UCA Pitch | Any SG initiated requests, if accepted, shall be executed without compromising the internal safety functions of the Appliance or loss of the Appliance's ability to complete the task previously initiated
6 | AHAM; Pricing Information |  | July UCA Pitch | Pricing information shall be communicated to the HAN devices in such a way that the HAN device can group the information according to price thresholds setting information provided by the consumer for both Public Broadcast Interface and Utility-Secured Interactive Interface
7 | AHAM; Appliace retains control |  |  | Appliances have the ability to reduce different percentages of its peak load (watts) based on pricing information provided by the utility and or perform other functions to defer or reduce peak load as communicated to the Smart Appliance. The platform will always retain control of the product for safety and consumer control.
8 | NAESB Smart Grid Task Force | Yes NAESB response: The NAESB use cases as posted now are in draft form and are publicly available without copyright restrictions to anyone wishing to access them. Once the use cases are vetted through the NAESB process, ratified by the membership and published they will have copyright protection. If needed at that point, we can discuss providing a copyright waiver for OpenHAN use. | Retail DR Use Cases – Release 0.1 http://www.naesb.org/smart_grid_standards_strategies_development.asp Wholesale DR Use Cases – Release 0.1: http://www.naesb.org/pdf4/smart_grid_ssd111709reqcom_pap9_a3.doc | Retail and Wholesale use cases for NIST PAP09 deliverables
9 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; Section 3.1.2.1 Adminstrate DR Program |  | 1.1 Create DR Program
10 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; Section 3.1.2.1 Adminstrate DR Program |  | 1.2 Update DR Program
11 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; Section 3.1.2.1 Adminstrate DR Program |  | 1.3 Remove DR Program
12 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; Section 3.1.2.2 Administrate Customer for DR |  | 2.1 Register / Enroll Customer for DR Program
13 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; Section 3.1.2.2 Administrate Customer for DR |  | 2.2 Update Customer Identity
14 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; Section 3.1.2.2 Administrate Customer for DR |  | 2.3 Remove Customer from DR Program
15 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource |  | 3.1 Administrate Bulk Power DR Resource
16 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource |  | 3.2 Administrate Distribution DR Resource
17 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource |  | 3.2.1 Declare DR Resource
18 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource |  | 3.2.2 Register DR Resource
19 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource |  | 3.2.3 Remove DR Resource
20 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource |  | 3.2.4 Administrate DR Asset (Direct)
21 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource |  | 3.2.4.1 Register DR Asset
22 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource |  | 3.2.4.2 Update DR Asset
23 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource |  | 3.4.2.3 Remove DR Asset
24 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource |  | 3.2.5 Administrate DER for DR Purpose
25 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource |  | 3.3 DR Bidding
26 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource |  | 3.3.1 DR Bid to Supply (Offers)
27 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource |  | 3.3.2 DR Bid to Buy
28 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.0 Execute DR Event
29 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.1 Notify DR Event (Bulk Power)
30 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.1.1 Advanced Notification for DR (Bulk Power)
31 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.1.2 Update a DR Event (Bulk Power)
32 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.1.3 Cancel a DR Event (Bulk Power)
33 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.1.4 DR Resource Confirmation (Bulk Power)
34 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.2 Notify DR Event (Distribution)
35 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.2.1 Advanced Notification for DR (Distribution)
36 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.2.2 Update a DR Event (Distribution)
37 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.2.3 Cancel a DR Event (Distribution)
38 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.2.4 DR Resource Confirmation (Distribution)
39 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.3 Broadcast Pricing (Wholesale) for DR Purpose
40 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.4 Broadcast Pricing (Retail) for DR Purpose
41 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.5 Dispatch DR Instructions (Bulk Power)
42 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.5.1 Monitor DR Event (Bulk)
43 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.6 Dispatch DR Instructions (Distribution)
44 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.7 DR Direct Load Control (Distribution)
45 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.7.1 Monitor DR Event (DR Resource)
46 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.7.2 Monitor DR Event (DR Asset)
47 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.8 DR Event Execution
48 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.8.1 DR Execution - Dynamic Price-Based
49 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.8.2 DR Execution - Notification Based
50 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.8.2 DR Exedcution - Direct Load Control
51 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | 4.9 Operational Coordination between Transmission, Distribution and DR Resources
52 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | Adjust Schedule
53 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | Apply Retail Uplift Charges
54 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | Assess Congestion Uplift Charges
55 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | Impacted Curcuit Analysis
56 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | Load Forecast by Circuit
57 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.4 Execute DR Event |  | Specify Load Profile
58 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.5 Post DR Event Management |  | 5.1 Post DR Event M&V / Settlement (Open Wholesale, No Open Retail)
59 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.5 Post DR Event Management |  | 5.2 Post DR Event M&V / Settlement (No Open Wholesale, No Open Retail)
60 | NAESB Smart Grid Task Force |  | Retail DR Use Cases; 3.1.2.5 Post DR Event Management |  | 5.3 Post DR Event M&V / Settlement (Open or Not Open Wholesale, Open Retail)
61 | NAESB Smart Grid Task Force |  | NASBE PAP 03 (Price) Use Cases | Demand management | As price increases, consumer reduces use
62 | NAESB Smart Grid Task Force |  | NASBE PAP 03 (Price) Use Cases | Demand management | Fixed time-of-day tariffs indicate higher price during day, lower price after 11:00 PM. Optional and time-insensitive building systems schedule their run-time after 11:00 PM.
63 | NAESB Smart Grid Task Force |  | NASBE PAP 03 (Price) Use Cases | Demand management | Price is higher between 2:30 and 5:30 PM. Homeowner starts appliance at 5:10. UI on appliance notifies that, by waiting 20 minutes to run, the consumer will get lower cost electricity.
64 | NAESB Smart Grid Task Force |  | NASBE PAP 03 (Price) Use Cases | Real-time load balancing
| NAESB Smart Grid Task Force |  | NASBE PAP 03 (Price) Use Cases | Optimized energy management | Costs are scheduled (or anticipated) to increase between 2:30 and 5:30 in the afternoon, an Energy Management System requests BAS to pre-cool (over-cool) space until 2:30 PM
| NAESB Smart Grid Task Force |  | NASBE PAP 03 (Price) Use Cases
| NAESB Smart Grid Task Force |  | NASBE PAP 03 (Price) Use Cases | Decentralized supply | Price increases and generation source comes on line
| NAESB Smart Grid Task Force |  | NASBE PAP 03 (Price) Use Cases | Consumer choices based on environmental attributes | Customer is price in-sensitive, but desires to use Wind Power whenever available. Un-branded (un-attributed?) power is priced as above, but Wind Power usually picks up at 5:00 PM each day and blows until midnight during this season. Consumer goes to start appliance at 4:00. Similar to the notice above, the appliance offers to delay run time until 5:00 PM when Wind Power becomes available, or until 5:30 PM when Wind Power / reduced price is available.

## CEC Regulatory
Number | Source | Reference | Use Case Title | New OpenHAN 2.0 Requirement | Modification of existing OpenHAN requirment | Section Number of existing OpenHAN requirement
Disclosure in section 2.2.3 that Public Broadcast Interface (PBI) is toally separate from the Home Area Network (HAN). Devices will receive pricing infromaiton for either the HAN or the PBI, but not both.
1 | CEC Requirements Engineering AMI-HAN interfaces Sec 4.0 | 1.1.1 a&b | Program RDS-enabled device to recognize correct RDS signals |  | Comm.Commission.3 HAN Device shall accept commissioning configuration from the Installer and Public Broadcast Interface utility-location code App.HMI.14 HAN Device shall accept application-specific configurations (e.g., preconfigured periods (e.g., hour, day, week), configurable periods (e.g., interval length, TOU period), variable periods (e.g., Critical Peak Price period), Public Broadcast Interface consumer preferances. App.Control.12 HAN Device shall respond to request to limit operational mode based on thresholds, set-points, or triggers (e.g., price points).
2 | CEC Requirements Engineering AMI-HAN interfaces Sec 4.0 | 1.1.2 | Register RDS-enabled device to recognize correct RDS signals |  | Comm.Commission.3 HAN Device shall accept commissioning configuration from the Installer and Public Broadcast Interface utility-location code App.HMI.14 HAN Device shall accept application-specific configurations (e.g., preconfigured periods (e.g., hour, day, week), configurable periods (e.g., interval length, TOU period), variable periods (e.g., Critical Peak Price period), Public Broadcast Interface consumer preferances. App.Control.12 HAN Device shall respond to request to limit operational mode based on thresholds, set-points, or triggers (e.g., price points, and rate code eligiblity.). | Section 2.2.3 already has a "Rate Descrptor" requirement
3 | CEC Requirements Engineering AMI-HAN interfaces Sec 4.0 | 1.2.1 | Receive real-time price signals through one-way RDS system |  | Comm.Commission.3 HAN Device shall accept commissioning configuration from the Installer and Public Broadcast Interface utility-location code App.HMI.14 HAN Device shall accept application-specific configurations (e.g., preconfigured periods (e.g., hour, day, week), configurable periods (e.g., interval length, TOU period), variable periods (e.g., Critical Peak Price period), Public Broadcast Interface consumer preferances. App.Control.12 HAN Device shall respond to request to limit operational mode based on thresholds, set-points, or triggers (e.g., price points, and PBI rate code eligiblity.). Add AppProcess: determain the optimal usage profile based on consumer preferance (AppHMI 14), and real-time pricing.
4 | CEC Requirements Engineering AMI-HAN interfaces Sec 4.0 | 1.2.2 | Receive emergency signals through one-way RDS system
5 | CEC Requirements Engineering AMI-HAN interfaces Sec 4.0 | 2.1.1 | Enroll in utility DR program without any programmable communicating devices
6 | CEC Requirements Engineering AMI-HAN interfaces Sec 4.0 | 2.1.2 | Enroll in utility DR program with existing HAN that does not use the utility’s AMI communication protoco
7 | CEC Requirements Engineering AMI-HAN interfaces Sec 4.0 | 2.1.3 | Change connection to AMI by signing up with a 3rd party load aggregator who will provide price & reliability signaling
8 | CEC Requirements Engineering AMI-HAN interfaces Sec 4.0 | 2.2.1 | Receive real-time price signals through the AMI system
9 | CEC Requirements Engineering AMI-HAN interfaces Sec 4.0 | 2.2.2 | Receive emergency signals through the AMI system

## OpenADE
OPENADE
Ishak
Number | Source | Reference | Use Case Title | New OpenHAN 2.0 Requirement | Modification of existing OpenHAN requirment | Section Number of existing OpenHAN requirement
1 | OpenADE | OpenADE Business and User Requirements v1.0 p 12 | Consumer Grants Permission | ….
2 | OpenADE | OpenADE Business and User Requirements v1.0 p 15 | Consumer Extends Permission
3 | OpenADE | OpenADE Business and User Requirements v1.0 p 17 | Consumer Terminates Permission
4 | OpenADE | OpenADE Business and User Requirements v1.0 p 19 | Utility Provides Consumer Data to 3rd Party | None; not applicable

## AHAM
AHAM
Charlie
Number | Source | Reference | Use Case Title | New OpenHAN 2.0 Requirement | Modification of existing OpenHAN requirment | Section Number of existing OpenHAN requirement
1 | AHAM; Safety | July UCA Pitch | Any SG initiated requests, if accepted, shall be executed without compromising the internal safety functions of the Appliance or loss of the Appliance's ability to complete the task previously initiated |  | 3.3.1 Control Control applications respond to control commands from the Utility or authorized third parties. Commands typically tell a device to turn ON or OFF at configurable time intervals or thresholds or enter into an energy saving mode. Control Signal execution should not in anyway compromise Safety systems built into HAN Devices. Nor shall the control signal in anyway compromise the ability of the HAN device to complete the task previously initiated.
3.2 Requirements Assumptions This section documents the assumptions on which the requirements are based. It will be helpful to refer back to these throughout the rest of the specification. 15(?). Control Signal execution should not in anyway compromise Safety systems built into HAN Devices. Nor shall the control signal in anyway compromise the ability of the HAN device to complete the task previously initiated. 1. Consumer owns his Premise and Utilities are granted access rights by the
2.1.2 Supports Load Control Integration Description Load control is the concept of load being deferrable. A load control device has the capability to limit the duty cycle of equipment under control. Certain devices within the consumer’s premise (e.g., PCTs, electric pumps) can be used to shed load through direct and indirect control. Control Signal execution should not in anyway compromise Safety systems built into HAN Devices. Nor shall the control signal in anyway compromise the ability of the HAN device to complete the task previously initiated. Smart Appliances have the ability to reduce different percentages of its peak load (watts) based on pricing information provided by the utility and or perform other functions to defer or reduce peak load as communicated to the Smart Appliance.
2 | AHAM; Pricing Information | July UCA Pitch | Pricing information shall be communicated to the HAN devices in such a way that the HAN device can group the information according to price thresholds setting information provided by the consumer for both Public Broadcast Interface and Utility-Secured Interactive Interface |  | 3.2 Requirements Assumptions This section documents the assumptions on which the requirements are based. It will be helpful to refer back to these throughout the rest of the specification. 16(?). Pricing information shall be communicated to the HAN devices in such a way that the HAN device can group the information according to price thresholds setting information provided by the consumer for both Public Broadcast Interface and Utility-Secured Interactive Interface and third party provided interfaces. Appliances have the ability to reduce different percentages of its peak load (watts) based on pricing information provided by the utility and or perform other functions to defer or reduce peak load as communicated to the Smart Appliance. 1. Consumer owns his Premise and Utilities are granted access rights by the
App.Control.12 HAN Device shall respond to request to limit operational mode based on thresholds, set-points, or triggers (e.g., price points). Pricing information shall be communicated to the HAN devices in such a way that the HAN device can group the information according to price thresholds setting information provided by the consumer for both Public Broadcast Interface, Utility-Secured Interactive Interface and third party provided interfaces. Appliances have the ability to reduce different percentages of its peak load (watts) based on pricing information provided by the utility and or perform other functions to defer or reduce peak load as communicated to the Smart Appliance.
3 | AHAM; Appliace retains control |  | Appliances have the ability to reduce different percentages of its peak load (watts) based on pricing information provided by the utility and or perform other functions to defer or reduce peak load as communicated to the Smart Appliance. The platform will always retain control of the product for safety and consumer control. |  | App.Control.12 HAN Device shall respond to request to limit operational mode based on thresholds, set-points, or triggers (e.g., price points). Pricing information shall be communicated to the HAN devices in such a way that the HAN device can group the information according to price thresholds setting information provided by the consumer for both Public Broadcast Interface, Utility-Secured Interactive Interface and third party provided interfaces. Appliances have the ability to reduce different percentages of its peak load (watts) based on pricing information provided by the utility and or perform other functions to defer or reduce peak load as communicated to the Smart Appliance.

## EMS
ESI Discussion
Kirk
Number | Source | Reference | Use Case Title | New OpenHAN 2.0 Requirement | Modification of existing OpenHAN requirment | Section Number of existing OpenHAN requirement
1 | Kirk Oatman I'm in Control | ESI Use Cases |  | The EMS be be able to be registered on the HAN
2 | Kirk Oatman I'm in Control | ESI Use Cases |  | EMS may act as a proxy for all devices on it's network to the ESI
3 | Kirk Oatman I'm in Control | ESI Use Cases |  | EMS should be allowed to read real time usage data from the meter
4 | Kirk Oatman I'm in Control | ESI Use Cases |  | The HAN shall be able to accept control signals from multiply sources
5 | Kirk Oatman I'm in Control | ESI Use Cases |  | The HAN shall be able to accept input from both revenue and non-revenue meters.

## EPRI Appliance Interface
EPRI Appliance Interface |  |  |  | http://osgug.ucaiug.org/sgsystems/openhan/HAN%20Use%20Cases/Forms/AllItems.aspx?RootFolder=%2fsgsystems%2fopenhan%2fHAN%20Use%20Cases%2fOpenHAN%202%2e0%20use%20cases&FolderCTID=&View=%7bCD6DE13B%2d7771%2d4EE5%2dB943%2d73EA2A9A0148%7d
Conrad
Number | Source | Reference | Use Case Title | New OpenHAN 2.0 Requirement | Modification of existing OpenHAN requirment | Section Number of existing OpenHAN requirement
1 | PGE |  | Customer Purchases and Installs SAL Customer purchases SAL at retail store and installs onto appliance independently. Installation is simple enough for anyone to do. SAL cannot be plugged-in wrong.
2 | TVA |  | Utility Provides SAL and Customer Installs Customer buys an appliance that includes the AIS and wishes to enroll in a utility program. Customer contacts the utility. Utility provides customer with SAL. Customer self-installs SAL.
3 | PGE |  | Customer removes SAL Customer is dissatisfied with appliance behavior in utility program and removes SAL from the appliance. Scenario 1: Utility program involves TOU/dynamic pricing, so utility does not need to know that the SAL was removed. Scenario 2: Utility program involves fixed incentives for participation, so utility needs to know that the SAL has been removed.
4 | PGE |  | Simple Install Customer installs SAL on either indoor or outdoor equipment by plugging it into the AIS. SAL is fully functional with no other connections being required. No tools are required for SAL installation.
5 | TVA |  | Retrofitting Existing Equipment Customer has pre-existing equipment without an AIS and wants to enroll in the utility program. Utility installs an in-line relay that includes an AIS (on the relay, not on the appliance), as part of the enrollment process. Scenario 1: At a later time, utility converts the communication system on this load to a new type by sending the customer a different SAL. Customer installs the new SAL so that no utility visit to the site is required. | Not allowed for safety reasons. See AHAM Use Cases item 1.
6 | OpenHAN |  | End Device Installation and Commissioning The majority of this use case (see OpenHAN documentation for details) is specific to a HAN architecture and describes the steps by which a new device may be added to an in-premise network. One part of the process indicates that the installer (the homeowner in our case) receives notification (an indication) that installation is successful. This may or may not bear on the appliance / module interface.
7 | OpenHAN |  | End Device to Utility Registration This use case describes how a communication device would register itself with the utility (limited to 2-way systems). Potential bearing on an appliance interface: Such a registration could include: 1. Verification that the communication module is successfully connected to the end device 2. Identification of the type of end device
8 | OpenHAN |  | End Device Remote Diagnostics This use case describes verification from the utility that connectivity to the end device exists (limited to 2-way systems). Potential bearing on an appliance interface: Such a verification could look beyond connectivity with a communication module and verify that the module is successfully connected to the appliance.
9 | OpenHAN |  | Communication Device Troubleshooting This use case describes steps whereby a local installer (home-owner in our case) troubleshoots connectivity to or from a communication module. Potential bearing on an appliance interface: Troubleshooting process implies that there is a local indication of when connectivity exists. This could be on a communication module, or through to an appliance.
10 | AEP |  | Local Indication of Operational The SAL indicates that it is successfully installed and operational. (e.g. LED activity and Pwr LED on Ethernet Switch).
11
12 | Elecrical
13
14 | EPRI |  | Radio based SAL Utility system communicates with the SAL using radio frequency transmission. (Pager, FM, 900 MHZ, 2.GHz). SAL is capable of reliably communicating, transmitting and receiving as applicable.
15 | EPRI |  | PLC Based SAL Utility system communicates with the SAL using powerline carrier transmission. SAL is capable of reliably communicating, transmitting and receiving as applicable.
16 | AEP |  | SAL indicates it is powered properly Local Indicator that energy to power the SAL is sufficient. By LED for example.
Functional
17 | AEP |  | Dynamic Pricing Application Utility rate structure includes unpredicted / unscheduled price changes. Utility sends these prices to the SAL to affect load changes. Scenario1: Appliances/customers may, at their discretion, reduce consumption in response to higher prices. Scenario 2: Reduction is mandatory (no over-ride)
18 | AEP |  | Scheduled Pricing Application Utility rate structure includes price schedules that are available ahead-of-time (hours to days). Utility sends these schedules to the SAL to affect load changes. Scenario 1: Appliances / customers may, at their discretion, reduce consumption in response to higher prices. Scenario 2: Reduction is mandatory (no over-ride)
19 | ? |  | Direct Load Control Application with M&V Utility sends signals informing devices to shed load. Shed commands may include a high/medium/low priority event. Appliances/customers are obligated to respond by terms of the utility program. Appliance responses are monitored and reported back to the utility by the SAL.
20 | AEP |  | Cancel Demand Response Event (Load Control Command) SAL receives a cancel Load Control Event message for a Load Control Command that is either in progress or has yet to start. Note: Since Load Control Commands can be sent to the SAL in a back to back fashion, the SAL will need some way of tracking which load control command to cancel. A Command ID is one way to accomplish this feature. Cancel all Load Control Commands is another option.
21 | AEP |  | Grid Emergency Shed Utility sends a signal to command load shedding due to a grid emergency. This signal cannot be overridden or opted-out. The idea is that execution of this function would be rare. (i.e. it would be reasonable for a homeowner to expect something on the news after an emergency event was called.)
22 | ? |  | Grid stabilization application Utility informs appliances of critical grid event. Message includes an event duration. The event duration may not exceed 1 minute. Appliance responds by reducing load. Appliance response is reported back to utility via SAL.
23 | AEP |  | Localized Event Emergency Conditions Precondition: Local circuit was either manually or automatically configured (Dist. Automation) due to a local fault, feeder overload condition, or a transformer outage. 1. Utility sends a load reduction command to customers in the affected area (e.g., circuit or feeder, or section of feeder). 2. Appliances (including Premise Energy Management Systems) reduce load in accordance with the request. Assumption: Emergency conditions have no customer override capability; Appliances not performing operation will disable or delay additional operations from starting or the appliance may go into a sleep mode. 3. Use Case could be aligned with Customer or Utility owned DER (including storage)
24 | ? |  | Customer Preferences Selected on Appliance Appliance provides customer interface that allows customer to select how to respond to utility price or event signals.
25 | AEP |  | Customer Preferences Selected at EMS – separate from appliance Appliances are able to receive customer preferred settings (preferences) from a local energy management system or the utility that allows a customer to select how to respond to utility price or event signals.
26 | ? |  | Customer Preferences Remotely Selected Utility provides service, web or other, whereby customer can set preferences for how their appliances are to respond to utility price or event signals. Preferences are sent via communication system to the customer’s SAL. When utility price or event signals are broadcast, SAL interprets according to the customer preferences and signals the appliance accordingly.
27 | OpenHAN (adopted to remove wide-area communication architecture assumptions) |  | Voluntary Load & Energy Management 1. Message is sent to the end-use appliance that an event start time has arrived. 2. End-use device receives message, sets event status to active, and takes consumer pre-programmed action in response to the price or event type in the message. 3. Consumer may locally override the event. 4. End device may send a confirmation that it received the message and what action, if any was taken. If overridden, the end-device may report. 5. Curtailment period ends and message is sent to the end-device to restore to the previous condition. 6. End devices may return to normal operation on a random schedule to avoid sudden change in load on the distribution system. 7. End devices acknowledge receipt of the event-end message.
28 | AEP |  | Scheduled Voluntary Load Management Same as above, but the original message sent from the utility may provide parameters that signal the future time when the command should be acted upon and for what duration. In the scenario where the original event message includes a duration parameter, a termination message should not be required. This “scheduled” scheme and the option to not use a termination command also applies to 4.13 and 4.14 below.
29 | OpenHAN (adopted to remove wide-area communication architecture assumptions) |  | Mandatory Load and Energy Management 1. Utility anticipates the need for mandatory curtailment and may send a warning message. 2. The end device receives the message and may optionally provide local indication of the warning. 3. Utility sends a mandatory load shed message. 4. End device receives the notification of the mandatory scheduled curtailment. 5. End device enters mandatory “off” or “energy minimum” state. 6. End devices acknowledge receipt of the mandatory message and confirms its compliance. 7. At the end of the curtailment period, the utility sends command to restore to previous state. 8. End devices restore load on a random restoration schedule. 9. End devices acknowledge receipt of the event-end message.
30 | OpenHAN (adopted to remove wide-area communication architecture assumptions) |  | Mandatory Load and Energy Management – with Emergency Customer Opt-Out 1. The end device receives message to begin mandatory curtailment. 2. End device enters mandatory “off” or “energy minimum” state. 3. End devices acknowledge receipt of the mandatory message and its compliance. 4. Consumer contacts utility to opt-out and have load restored. 5. Utility sends message to de-register and restore load. 6. End devices immediately restore load 7. End devices acknowledge receipt of the de-register and immediate restore message. 8. End device un-enrolls from the mandatory load program.
31 | OpenHAN |  | Energy Management System Recognizes Types of End Devices Although not evident in the OpenHAN steps, the introduction to this use-case indicates that an in-premise EMS may be able to identify the “type” of device. This is listed here because such functionality would bear on an appliance interface to a “common” communication device. AEP Note: Each appliance is enumerated with a value that identifies the type of smart appliance (e.g., dishwasher, electric water heater, HVAC compressor, EMS, electric dryer, etc).
32 | OpenHAN (adopted to remove wide-area communication architecture assumptions)(adopted to remove wide-area communication architecture assumptions) |  | Fixed Devices With Internal Metering Capability This use-case notionally allows for individual devices to be metered or billed at different rates. 1. End device indicates that communication connectivity exists. 2. End device provides consumer with rate of consumption information. 3. End device accumulates usage and reports back to the utility. 4. End device also reports back other state information. (optional) AEP Note: from OpenHAN this could be a gas meter, water meter, or some type of distributed energy resource device (e.g., energy storage, distributed generation, smart PV inverter, PHEV (PEV) Charging Station, etc.)
33 | OpenHAN (adopted to remove wide-area communication architecture assumptions) |  | User Information 1. End device indicates the status of communication with the utility 2. End device displays utility-generated messages 3. End device requests user-specific data 4. Data is provided to the end device as requested (adopted to remove wide-area communication architecture assumptions) Potential bearing on an appliance interface: Information display could be on the communication module or on the appliance.
34 | AEP |  | Load Control with text prompt, enumeration, time synchronization, and random start/stop 1. Utility sends a Direct Load Control Command to a type (enumeration) of smart appliance for execution some time period into the future. 2. Utility sends some type of user prompt (text message) that coincides with the Direct Load Control Command (e.g., Start Date & Time, Priority, ID, Duration, etc.). 3. SAL receives both messages and if the enumeration matches what is discovered in the AIS, forwards the messages onto the Smart Appliance (includes an EMS) 4. AIS acknowledges receipt of all messages and gets its time from the SAL (time sync). Note: Smart Appliance could notify the customer that an action is pending (e.g., annunciation - light an LED); Customer could opt out prior to the load control event starting (exception Use Case). 5. In the case of two-way communications, SAL will relay AIS delivery acknowledgements back to the utility. 6. At the allotted time (uses time synchronization), AIS notifies the SAL that it started the execution of the command or requested action. A random stop parameter can be generated by the SAL or within the appliance to prevent all loads from immediately dropping off line at the same time (e.g., grid stability). Note the appliance may have its own clock or use the one in the SAL, however the SAL is the source of time for the appliance. 7. In the case of two-way communications, SAL will relay AIS start of execution status back to the utility. 8. Once the duration has expired or the customer has selected an override, the AIS will send an end of execution event or an "opt out" message to its SAL. 9. In the case of two way communications, SAL will send end of event or "opt out" messages back to the utility. 10. Smart Appliances may return to normal operation on a random schedule (e.g., seconds to minutes) to avoid sudden change in load on the distribution system (Random Start)
35 | AEP |  | Current and Available Load Reduction with Message-based Time Synchronization & Enumerated Smart Appliances 1. Utility sends a Direct Load Control Command or price (e.g., RTP, CPP, or TOU/TOD Price, etc.) to one or more types (enumerations) of smart appliances for execution immediately or some time period into the future. Note: An EMS can receive such signals from a utility and using customer preferences translate the request onto its provisioned smart appliances. 2. Utility sends some type of user prompt (text message) that coincides with the Direct Load Control Command or Price (e.g., Start Date & Time, Value, Label, Priority, ID, Duration, etc.). 3. SAL receives utility message(s) and if any of the enumerations match what is discovered in the AIS, then the SAL forwards the messages onto the Smart Appliance's AIS, which for the purpose of this discussion includes a premise or residential Energy Management System as a Smart Appliance. 4. AIS acknowledges receipt of all messages and provides the SAL its current load consumption, and if available, projected energy usage for the time slot (e.g., start time and duration of command or price) indicated in the message. Power or demand is also possible parameter to be communicated by the smart appliance. The SAL provides an updated time to the AIS. Assumption (?): Is it plausible that certain low-cost smart appliances may not have a clock.?. Note: Time Synchronization should happen at some periodic interval (e.g., Once per Hour). 5. In the case of two-way communications, SAL will relay AIS delivery acknowledgements along with current and projected energy values back to the utility or residential EMS. 6. At the allotted time, AIS notifies the SAL that it started the execution of the command or changed its behavior based upon the price level of the message. The Smart Appliance provides its current energy usage and updated projection for the remaining duration or time slot of the message. Note the appliance may have its own clock or use the one in the SAL, however the SAL is the source of time for the appliance. 7. In the case of two-way communications, SAL will relay AIS start of execution status and energy values back to the utility or residential EMS. 8. Once the duration has expired or the customer has selected an override, the AIS will send an end of execution event or an "opt out" message to its SAL accompanied with the new energy values - current and remaining time-slotted projection (planned duration end time minus the opt out time) or some default projected value (e.g., Avg. energy projection on a per hour basis).. 9. In the case of two way communications, SAL will send the energy values, end of event or "opt out" messages back to the utility or residential EMS.
36 | PGE |  | Frequency Based Response Through the AIS, the SAL can observe local line frequency. Based on these observations, the SAL directs the appliance to reduce or sheds load in response to locally observed drops in line frequency. This may be related to grid-emergency type signaling, with appliance responses kept brief in duration and not discernable by the end user.
EMS
37 | AEP |  | Residential EMS Receives a Request to Shed Load 1. Utility sends a request to the EMS to shed load. 2. EMS receives the request and acknowledges it along with the following parameters: A. Current controllable Load B. Projected energy its attached devices may consume over that period C. Available customer load (%) that is able to be shed that is based upon customer settings. 3. Utility confirms how much of the available load it wishes the EMS to shed 4. Residential EMS acknowledges the request and communicates a command to the effected smart appliance. 5. Each SAL receives the request and communicates the request to each Smart Appliance's AIS. 6. Each Smart Appliance acknowledges the SAL's request along with providing it with the current load being consumed, and if available, projected energy usage for the time slot (e.g., duration of the request). 7. In the case of two-way communications, SAL will relay AIS delivery acknowledgements along with current and projected energy values back to the Residential EMS. 8. At the start of execution of the Direct Load Control Command, the Smart Appliance will communicate through its AIS the current load and projected load for the remaining time of the event. 9. In the case of two-way communications, SAL will relay AIS delivery acknowledgements and values to the Residential EMS. 10. At any time the current or projected load changes above or below a pre-defined threshold (delta), the Smart Appliance will send an asynchronous message through its AIS onto the SAL. 11. In the case of two-way communications, the SAL will receive this event and forward it to the Residential EMS. 12. The Residential EMS will receive this input and will either take no action, adjust other customer allowable load to make up the difference, and or notify the utility of the change by sending an asynchronous event.
38 | AEP |  | Residential EMS Receives an Updated Price or Price Schedule 1. Utility sends an updated price or price schedule to the Residential EMS. 2. Residential EMS receives the request and acknowledges it. 3. Residential EMS sends the updated price with duration to each of its connected Smart Appliances. 4. SAL receives the price(s) and duration and sends it to the AIS of the Smart Appliance. 5. The AIS receives the price(s) and corresponding duration(s) and acknowledges receipt back to the SAL thuough its AIS interface. 6. In the case of two-way communications, SAL will relay AIS delivery acknowledgements along with current and projected energy values back to the Residential EMS for the current price period in effect. 7. At the start of execution of the next price period, the Smart Appliance will communicate through its AIS the current load and projected load for the remaining time period for that price. 9. In the case of two-way communications, SAL will relay the updated current and projected load information upto the Residential EMS. 10. At any time the current or projected load changes above or below a pre-defined threshold (delta), the Smart Appliance will send an asynchronous message through its AIS onto the SAL. 11. In the case of two-way communications, the SAL will receive this event and forward it to the Residential EMS. 12. The Residential EMS will receive this input and will use it during logical decisions taking into account customer preferences and desired usage profile, as well as, presentation of usage information to the customer (e.g., Usage histograms, savings obtainable by changing ones behavior here or there, and current and projected cost for using each smart appliance.

## EPRI DER
EPRI DER
Number | Source | Reference | Use Case Title | New OpenHAN 2.0 Requirement | Modification of existing OpenHAN requirment | Section Number of existing OpenHAN requirement
Tom
Pre-Deployment Planning and Commissioning
1 | SCE (Adopted from SCE Use Case D3, Scenario 3.1) |  | Customer delays generation until enrolled Customer enrolls, meter is set for net-metering, DG is energized. Meter begins collecting (if not already): Watt-hours from utility, Watt-hours from customer, VAR-hours generated, VAR-hours consumed If DG information is also collected at customer DG site, these additional values will also be collected: Watts-hours generated, VAR-hours produced while generating watts, VAR-hours consumed while generating watts Meter begins collecting (if not already): Watt-hours from utility, Watt-hours from customer, VAR-hours generated, VAR-hours consumed
2 | SCE (Adopted from SCE Use Case D3, Scenario 3.2) |  | Customer begins generation before DG program enrollment Customer enrolls, DG is energized prematurely. Meter detects net generation from site and reports to MDMS. Customer is informed of infraction. Meter is set for net-metering, continue as with scenario 3.1.
3 | (Adopted from SCE Use Case D3, Scenario 3.3) |  | Customer unexpectedly connects DG Customer turns on DG, meter detects generation and reports to utility. Customer representative informs customer that program enrollment is required. If customer fails to respond, a disconnect is scheduled. If customer responds, continue as with scenario 3.1.
4 | First Energy |  | Distributed Resources Owner Plans (technically) for DR Devices DG owner plans to determine whether a proposed DR installation will likely provide the required electrical power economically at the appropriate time without detriment to the grid and to estimate the value of the proposed installation to the grid.
5 | First Energy |  | DisCo Studies the Impact of High Levels of DR on Distribution System DisCo study to determine general limits for DR connections to the distributions systems and to establish standards for system design to better accommodate DR in the future.
6 | First Energy |  | DisCo Acquires DR Base Information (to provide ratings and device models) …to perform studies, to determine how to dispatch the DR
7 | First Energy |  | DisCo Analyzes DR Interconnection to the Power System …to determine what changes, if any, must be made to the operation of the distribution system to accommodate the DR and to determine the protective equipment necessary and the settings for such equipment
8 | First Energy |  | Energy Services Provider Installs and Tests DR and DR Interconnection …to implement the DR installation and verify that it is functioning according to specifications
9 | First Energy |  | RTO/ISO/DisCo Certifies DR Units …to provide oversight of DR installations to maintain a high level of reliability and to ensure the compliance of DR owners with interconnection agreements
10 | First Energy |  | RTO/ISO/DisCo Coordinate Long Term Transmission and Generation Maintenance …to maintain adequate generation capacity during equipment outages
11 | First Energy |  | RTO/ISO/DisCo Register and Perform Credit Rating of DR Owners …to ensure that the DR owner has the access to cash to meet fiduciary responsibilities. directly involving Market participants
12 | First Energy |  | RTO/ISO/DisCo Register DR Meters …to have metering used by DR certified and registered with the DisCo, RTO and ISO
PV System Dispatch / Control
13 | Intelligrid / IECSA |  | Distributed Generation Aggregator The purpose of the distributed generation aggregator activity is to enable a mechanism whereby a system operator can call on customers during peak periods of energy usage and who have backup generators to disconnect from the power grid and power themselves with their generators.
14 | Intelligrid / IECSA |  | Volt/Var Dispatch System is monitored by Volt VAr application to determine if it is operating efficiently. When the system goes out of bounds set by the operator, the application automatically operates field equipment to bring the system back into an optimized state. This application applies to the substation and feeders as a whole, since the two are dependant on each other.
15 | Intelligrid / IECSA |  | Volt/Var Optimization Provide Volt-Var optimization through capacitor bank control when there is a Kvar limit excursion on an analog measurement.
16 | Intelligrid / IECSA |  | DER Device Management Customer Building Automation System controls DER device in response to real time pricing signal from the Energy Service Provider.
17 | (Adopted from SCE Use Case D3, Scenario 3.4) |  | Dispatch generation (watt control, peak shaving, VAR mgmt, PQ, line safety) Customer enrolls to provide grid support. Utility detects unfavorable grid conditions and identifies DG that can be dispatched. Utility sends request: +/- demand, +/-generation, +/-VARs Premise gateway receives request and forwards to DG equipment. Equipment acknowledges and responds. Customer service system determines response through metering for billing.
18 | P1547.3 Annex F |  | DR Unit Dispatch The DR Operator dispatches a single DR unit for parallel operation with the Area EPS and coordinates with the Area EPS Operator for economic energy (no ancillary services) for shaving peak.
19 | P1547.3 Annex F |  | DR Unit Dispatch for Energy Export The DR Operator of a single unit 1.5 MW wind turbine intends to operate as an independent power producer. The DR operator will dispatch his DR unit with the intention of selling energy back to the owner of the Area EPS.
20 | P1547.3 Annex F |  | DR Unit Scheduling A DR Operator creates, edits, and deletes schedules to dispatch commands to a DR Unit. The DR Operator’s system communicates the scheduled operation to the DR Controller who invokes commands to the DR Unit at appropriate times and notifies DR Operator of status.
21 | P1547.3 Annex F |  | DR Aggregation DR Operator dispatches multiple DR units during peak periods of energy usage per information (real time pricing, dispatch request, interruptible rate, etc.) provided by the DR Aggregator and coordinated with the Area EPS Operator. The DR Aggregator monitors net metering information from the site.
22 | P1547.3 Annex F |  | DR Ancillary Services The DR may be utilized to provide any or all of the following ancillary services: 1. Load Regulation 2. Energy Losses 3. Spinning and non Spinning Reserve 4. Voltage Regulation 5. Reactive Supply
23 | P1547.3 Annex F |  | DR Voltage Scheduling Voltage schedules are normally established by Area EPS Operators to maintain voltage levels throughout the day. These hourly voltage levels may change depending on the day of the week, weekend day, or a holiday. In addition, these voltage levels may change by season, or be modified based on the voltage level criteria established for other voltage regulation equipment such as step voltage regulators, capacitors, DR’s, and LTC’s; and the load level and load power factor of the Area EPS circuit.
24 | P1547.3 Annex F |  | DR Providing Reactive Supply The DR Unit may provide reactive supply either by absorbing VArs or producing VArs by changing the field current to match a pre-established schedule. Alternatively, a stated power factor on the high side of the interconnection transformer or PCC, can be established.
25 | P1547.3 Annex F |  | Line-Excited and Self-Excited Induction Generators Induction generators do not create voltage as does the synchronous generator, which has a DC field winding on the rotor. These generators may use a capacitor installed at its terminals called a self-excited generator, or a capacitor installed on a circuit, which has a protective device upstream from the circuit capacitor. This latter arrangement is called a line excited induction generator. If the protective device opens, thus isolating the portion of the circuit containing the induction generator, this generator may serve a portion of the circuit load if it is large enough to regulate the frequency and voltage. The Area EPS Operator needs information as to when the circuit protective device opens and if the voltage supplied by the induction generator is sufficient to support the load. Large load changes will result in poor voltage regulation unless the capacitors are switched (generally two values).
26 | P1547.3 Annex F |  | Intentional (planned) Islanding There are six planned island configurations described in Figure 1. These are (1) substation, (2) substation bus, (3) distribution circuit, (4) circuit lateral, (5) facility, and (6) adjacent circuit islands. The benefits of these islands are as follows…
27 | First Energy |  | DR Operates in Local Power System Only, with Load Following …to follow normal daily load changes, Analyze load requirements, Forecast load requirements, Provide means for supplying replacement power following loss of generation, Optimize system operation,
28 | First Energy |  | DR Operator’s SCADA Monitors and Controls Aggregated DR Devices Supervise DR generation Control DR generation Perform data transfers Monitor power flows
29 | First Energy |  | Local Power System with DR Interconnects with Utility Power System To: • Provide/receive reactive power support • Provide reactive power coordination • Provide synchronizing control • Implement voltage regulation • Implement anti islanding protection • Monitor power flow • Coordinate protective functions
30 | First Energy |  | DR Protection Devices React to System Conditions to provide fault detection and protection coordination, Provide system reliability, Prevent islanding condition
31 | First Energy |  | DisCo Manages Microgrid with DR to Optimize asset utilization, Monitor DR/grid interaction, Manage DR power import/export, Provide voltage regulation, Manage DR dispatch, Allow for seamless DR/grid resynchronization, Implement black start, Monitor power quality, Power and ancillary services, Manage restoration protocol, Provide supervisory control on power interchange, Schedule transmission, Monitor reserves, Forecast and schedule resources, Schedule generation dispatch, Reconfigure system
32 | OpenSG Users Group: |  | Consumer uses a storage or generation unit to provide energy to their home or the grid The Energy Supplying Unit (ESU) connects with the premise Home Area Network (HAN), the Utility AMI system and the electric system (home, vendor or utility’s). The ESU identifies itself and the account it is associated with, and provides energy to the home or grid.
33 | OpenHAN
34 | OpenSG Users Group: |  | Energy Management System Energy Management System integrates with the respective Home Area Network (HAN), and the Utility AMI system, and responds to commands to drop load for grid reliability, price responsive programs.
35 | OpenHAN
36 | EPRI |  | Ramp rate control The utility sets a ramp-rate limit (delta-kW/hr) for a PV system with storage. Local PV system manages stored energy and generation-to-grid so that ramp rate (rising or falling) never exceeds the set rate.
37 | PNM Resources |  | Utility Implements Integrated Management of DG, Storage, and DR Scenario 1- Utilities monitors and manages feeder voltage profile and may use a smart algorithm. Scenario 2 (Modified) - Utility uses installed DER equipment and other distribution control equipment such as LTC and capacitor controls to address peaking resource requirements. Scenario 3 - Utility uses installed DER equipment and other distribution control equipment such as LTC and capacitor controls to address a transmission constraint contingency
38 | PNM Resources |  | Customer provides PV based generation source Scenario 1 - Customer provides PV based generation source utilizing AMI to 15% of the feeder capacity Scenario 2 - Customers provide PV based generation sources utilizing AMI infrastructure, HANs and two way communicating inverters that are controllable by PNM to accommodate more than 15% of the feeder capacity (baseline)
39 | PNM Resources |  | Aggregator provides PV generation (Future)
40 | SCE (Adopted from SCE Use Case D9, Scenario 3.2) |  | Utility organizations control DG via MDMS Organizations including Generation Business Unit & T&D Business Unit execute control function for DG via MDMS for the following: Command and control Volt/VAR control Ancillary service On-site energy storage control Note: Note: This capability requires dropping U.L. rating for inverter to allow for external control by utility. DG sends confirmation message to MDMS that the control function has been executed.
Metering / Monitoring
41 | First Energy |  | DisCo’s SCADA System Monitors DR Devices … to Monitor DR device status, Alarm processing, Data logging, Power flow forecasting, Monitor DR/grid interactions, Supervise generation, Perform data validation, Perform data acquisition, and Handle communication failures
42 | First Energy |  | All Systems Log Significant Events and Store Statistically Important Data To: • Provide GPS time-stamped records of events • Provide record of system variables • Provide record of system settings • Provide record of system topology • Allow for data access to different organizations • Message processing and management • Data maintenance
43 | First Energy |  | Meter Data Management Agents (MDMAs) Retrieve DR Meter Data to Manage meter readings and usage profile, Provide the means for sharing meter data, Maintain equipment
44 |  | First Energy | Statistical Data on Operational Conditions are Collected and Calculated to Infer statistically significant information such as end-user's load demand profile
45 |  | First Energy | Systems Create Reports to Compile and generate reports, directly involving: ESP and DR owner/operator ESP and DisCo ESP and Energy Service Provider ESP and end user, performing Data search and retrieval Data compilation
46 |  | First Energy | RTO/ISO/DisCo SCADA System Monitors DR to Supervise DR generation, Control DR generation, Perform data transfers, Monitor power flow
47 |  | First Energy | Non Grid Connected DR Owners Collect DR Operational Information is to follow normal daily load changes Analyze load requirements Forecast load requirements Provide means for supplying replacement power following loss of generation Optimize system operation
48 |  | OpenSG Users Group: | Fixed HAN Devices with Metering Capability The FHDMC connects with the premise Home Area Network (HAN), identifies itself and the account it is properly associated with the utility, where premise owner’s charges are reconciled.
49 |  | OpenHAN
50 |  | SCE (Adopted from SEC Use Case D9, Scenario 3.1) | DG’s ISO meter provides real-time data to ISO Meter provides real-time data to ISO, PPS, GCC, and Distribution Operations Center by way of Data Processing Gateway over the Energy Control Network Energy information in real-time: kW in, kW out, kVAR in, kVAR out, wind speed, wind direction, ambient temperature, global horizontal radiance, direct radiance, panel temperature, breaker status (no breaker – providing inverter status instead – 4 points)
51 |  | SCE (Adopted from SEC Use Case D9, Scenario 3.1) | DG’s ISO meter returns billing formation to ISO Distributed generation’s ISO meter is polled for billing information once a day. The ISO meter returns billing information to ISO, PPS and GCC: • KWh in, KWh out, KVARh in, KVARh out
52 |  | SCE (Adopted from SEC Use Case D9, Scenario 3.1) | DG’s Utility meter provides real-time data to MDMS Utility meter provides real-time data to MDMS via Smart Connect system Energy information in real-time: kW in, kW out, kVAR in, kVAR out, wind speed, wind direction, ambient temperature, global horizontal radiance, direct radiance, panel temperature, breaker status (no breaker – providing inverter status instead – 4 points)
53 |  | SCE (Adopted from SEC Use Case D9, Scenario 3.2) | DG provides the MDMS with real-time control and data acquisition system information DG provides the following information: Status, performance, and PQ monitoring inverter status and performance solar panel strings monitoring switchgear status Metrology data Command and control status On-site energy storage status System and component failure alarm notification
54 |  | SCE (Adopted from SCE Use Case D9, Scenario 3.2) | DG locally provides historical information DG locally provides the following information: On-site historical data
55 |  | SCE (Adopted from SCE Use Case D9, Scenario 3.2) | DG provides the MDMS with real-time control and data acquisition system information DG provides the following information: Status, performance, and PQ monitoring inverter status and performance solar panel strings monitoring switchgear status Metrology data Command and control status On-site energy storage status System and component failure alarm notification On-site historical data.
ENERGY Storage
55 | First Energy |  | DR Owners Store Energy from the Power System to store energy when it is at its lowest cost and when it has least possibility to be detrimental to the power system
56 | First Energy |  | DR Owners Discharge Stored Energy into the System to sell energy at a favorable price when capacity is needed and to provide T&D grid support
57 | First Energy |  | RTO/ISO/DisCo Dispatches Storage to Meet Power Demand to reclaim stored energy to meet local or regional power demand with competitively-priced energy and to support the distribution or transmission system
58 | First Energy |  | RTO/ISO/DisCo Dispatches Storage to Support Intentional Islanding is to utilize stored energy in combination with other DR to supply power to a group of end users separated from bulk power supply (either intentionally as in the case of micro-grids or unintentionally due to equipment outage)
59 | First Energy |  | DR Owners Provide Fast Voltage Sag Correction to utilize the stored energy to support the system voltage during short to medium duration disturbances to enable critical customers to continue operations
60 | PNM Resources |  | Utility and/or Customer provides electrical energy storage in conjunction with PV Scenario 1 - Customer uses AMI data including dynamic economic signals (or tariffs) to adjust their load profile using electrical energy storage to optimize their energy costs / profits (new version). Scenario 2 - Utility utilizes energy storage to mitigate adverse affects on voltage levels due to sudden output reductions impacting LTC and cap bank controls
Appliactions
61 | First Energy |  | ADA System Updates Power System Model and Analyzes Distribution Operations to maintain the complete power system model to assure that the automation system uses the appropriate system parameters during operation
62 | First Energy |  | ADA System Performs Fault Location, Fault Isolation, and Power Restoration to identify distribution system fault conditions and automatically restore power (i.e. distributed resource is managed during the process)
63 | First Energy |  | Operators Restore Power Manually to identify distribution system fault conditions and manually restore power
64 | First Energy |  | ADA System Restores Power Using Automation to Identify distribution system fault conditions and automatically restore power
65 | First Energy |  | ADA System Reconfigures Feeders to Meet Differing Requirements to identify system conditions and reconfigure distribution system optimally for the given the system conditions
66 | First Energy |  | ADA System Controls Volt/Var to Meet Criteria Optimally to identify system conditions and reconfigure distribution system optimally for the given the system conditions
67 | First Energy |  | ADA System Analyzes Planned Outage Requests to identify the planned outages on the distribution system and connected DR devices that are critical in serving loads
68 | First Energy |  | ADA System Creates and Performs Switching Orders to analyze system conditions and identify optimal switching sequences
69 | First Energy |  | ADA System Creates Islands Intentionally to analyze system conditions and identify optimal switching sequences to island the DR device
70 | First Energy |  | Environmental System Collect Environmental and Pollution Statistics to Collect data that might have an adverse impact on the environment
71 | First Energy |  | DR Owner Initiated DSM To: 1. Optimize asset utilization by pricing Industrial loads higher than normal during peak hours in order to compensate for more expensive generation utilized at those times. 2. Regulating consumer and industrial loads in greater constrained regions to be able to transfer power more efficiently
72 | First Energy |  | Utility Initiated DSM To: 1. Optimize asset utilization by pricing Industrial loads higher than normal during peak hours in order to compensate for more expensive generation utilized at those times. 2. Regulating consumer and industrial loads in greater constrained regions to be able to transfer power more efficiently
73 | First Energy |  | Residential Generation Devices to provide electrical power to residence while remaining in parallel with ESP
Energy Market Participation
74 |  | First Energy | DR Owners Analyze Operational Conditions to evaluate energy capture (wind systems) and availability, maximize productivity and anticipate revenue potential from the resource
75 | DR Owners Enter into Bilateral Energy Contracts with Other Market Participants | First Energy | DR Owners Enter into Bilateral Energy Contracts with Other Market Participants to establish bilateral contracts ("long-term" or hourly) between generation and loads to negotiate the price of energy, to agree on congestion rents between points-of-delivery and points-of-receipt and to schedule transmission services
76 |  | First Energy | DR Owners Submit Day-Ahead Energy Schedules to RTO/ISO/DisCo is to provide settlement data [min. run time, min. down time, daily availability, start-up notification time, start-up cost curves, min. generation value ($/hr), incremental operating costs ($), operating limits, unit status (fixed, on-dispatch, on-control)] for determining LBMP for transmission pricing for the next day (24 hrs) so that market participants may lock in their day-ahead buy-sell prices and avoid real-time volatility
77 |  | First Energy | DR Owners Submit Day-Ahead Bids for Ancillary Services: Reserve, Regulation, Frequency Response, etc. to provide voltage support, system regulation (balance), reliable operation and to lock in day-ahead buy-sell prices and avoid real-time volatility
78 |  | First Energy | DR Owners Submit Adjustments to Real-time Energy Schedules is to account for "current-day" changes and enable real-time security constrained dispatch based on bid energy costs and improved tracking of system security
79 |  | First Energy | DR Owners Submit Real-time Bids for Ancillary Services to provide voltage support, system regulation (balance), reliable operation
Maintenance
80 |  | P1547.3 Annex F | DR Maintenance A DR Owner contracts with a DR Maintainer to periodically service a DR Unit and perform emergency repairs. The DR Maintainer monitors key performance indicators and coordinates with the DR Operator when service is required.
81 |  | First Energy | DR maintenance staff collect statistics on DR operations and all operating conditions To: 1) Plan the performance and down times of the DR's, and 2) Identify times during a period to get optimal value of operating cost.
82 |  | First Energy | DR Maintenance Staff Maintain DR Equipment To reduce the number of un-scheduled outages
83 |  | First Energy | DR Maintenance Staff Test DR Equipment To: 1. Validate ratings, capacity 2. Interconnecting infrastructure to allow the DR's to participate in the market operations

## SAE Use Cases
| Steve Nacker |  | SAE Use Cases | http://osgug.ucaiug.org/sgsystems/openhan/HAN%20Use%20Cases/Forms/AllItems.aspx?RootFolder=%2fsgsystems%2fopenhan%2fHAN%20Use%20Cases%2fOpenHAN%202%2e0%20use%20cases&FolderCTID=&View=%7bCD6DE13B%2d7771%2d4EE5%2dB943%2d73EA2A9A0148%7d
Number | Source | Reference | Use Case Title | New OpenHAN 2.0 Requirement | Modification of existing OpenHAN requirment | Section Number of existing OpenHAN requirement
| SAE | E | E – Utility Use Case Customer enrolls in PHEV program and completes initial setup for PEV – Utilities communications
| SAE | L1 | L1 – Vehicle Use Case Customer connects PEV at Home (premise)
| SAE | L2 | L2 – Vehicle Use Case Customer connects PEV at Another Home (premise) and within the customer’s home territory.
| SAE | L3 | L3 – Vehicle Use Case Customer connects PEV at Another Home (premise) and outside the customer’s home territory.
|  | L4 | L4 – Vehicle Use Case Customer connects PEV at Public Location (Curbside, workplace, business, multi family dwelling, etc).
|  | PR1 | PR1 – Vehicle Use Case Customer charges the PEV
|  | S1 | S1 – Vehicle Use Case Customer connects vehicle to premise using Cordset EVSE
|  | S2 | S2 – Vehicle Use Case Customer connects vehicle to premise EVSE
|  | S3 | S3 – Vehicle Use Case Customer connects vehicle to premise EVSE that includes the charger. This allows DC energy transfer to the vehicle. This EVSE also retains the AC energy transfer capabilities described in S2.
|  | U1 | U1 – Vehicle Use Case Customer enrolls in a TOU program
|  | U2 | U2 – Vehicle Use Case Customer enrolls in a Discrete Event Utility program
|  | U3 | U3 – Vehicle Use Case Customer enrolls in a Real Time Pricing (RTP) program
|  | U4 | U4 – Vehicle Use Case Customer enrolls in a Critical Peak Pricing (CPP) program
|  | U5 | U5 – Vehicle Use Case Customer enrolls in an Optimized Energy Transfer program
Plug-In Vehicle to Utility Use Cases Instructions & status (scorecard)

## NAESB PAP3
|  | NASBE PAP 03 Pricing |  | Link to Use cases http://www.naesb.org/pdf4/smart_grid_ssd111709reqcom_pap3_a1.doc
Charlie
Number | Source | Reference | Use Case Title |  | New OpenHAN 2.0 Requirement | Modification of existing OpenHAN requirment | Section Number of existing OpenHAN requirement
1 | NAESB Smart Grid Task Force |  | NASBE PAP 03 (Price) Use Cases | Demand management | Add AppHMI to display time until the next lower cost power will be avalible Add AppProcess item for EMS to have advanced notification of priceing. Min advance notice is TBD |  | AppHMI provides I/O for function AppControl 12 provides control based on current pricing | This works for TOU, or even 24 hr day ahead, but limitations for more dynamic pricing systems
1.1 | NAESB Smart Grid Task Force |  | NASBE PAP 03 (Price) Use Cases | Demand management
1.2 | NAESB Smart Grid Task Force |  | NASBE PAP 03 (Price) Use Cases | Real-time load balancing
1.3 | NAESB Smart Grid Task Force |  | NASBE PAP 03 (Price) Use Cases | Optimized energy management |  | App.Process.17 The application shall calculate and suggest methods to optimize energy consumption and cost based on user-defined parameters and other avalible data. (e.g., PCT thresholds, lighting settings, pool pump cycling).
1.4 | NAESB Smart Grid Task Force |  | NASBE PAP 03 (Price) Use Cases | Decentralized supply | App Process: Price determains when DER are borught online
1.5 | NAESB Smart Grid Task Force |  | NASBE PAP 03 (Price) Use Cases | Consumer choices based on environmental attributes | App.Process.19 The application shall calculate available load for demand reduction based on user-defined parameters (e.g., percentage of load available for various response scenarios including customer preferances on green power usage). | App.Control.12 HAN Device shall respond to request to limit operational mode based on thresholds, set-points, or triggers (e.g., price points, % of green power avalible). | AppHMI provides I/O for function (I.E. Threshold of avalible green power for device operation)
1.6 | NAESB Smart Grid Task Force |  | NASBE PAP 03 (Price) Use Cases | Consumer choices based on reliability | N/A for HAN ?
1.7 | NAESB Smart Grid Task Force |  | NASBE PAP 03 (Price) Use Cases | Climate Impact Adjusted Pricing | ?
1.8 | ADD IN |  | Add In | Day ahead Real-time pricing | Add AppProcess: estimate the optimal usage profile based on price infromation that has been delivered and consumer preferance (AppHMI 14), historical usage information (App.Process 13), and day ahead real-time pricing. App must know the foward prices so that must be communicated App must know consumer is signed up for 24 hour real time rate structure
1.9 | ADD IN |  | Add In | Hour ahead real-time pricing | Add AppProcess: estimate the optimal usage profile based on price infromation that has been delivered and consumer preferance (AppHMI 14), historical usage information (App.Process 13), and day ahead real-time pricing. App must know the foward prices so that must be communicated App must know consumer is signed up for 24 hour real time rate structure

## NAESB PAP9
QUESTIONS
Confusion over difference between DR Asset and DR Resource with respect to HAN. Assumption: Asset is the device while a resource is the collection of assets in a given premise which are under contract with the utiliyt for DR activity. Ideally a EMS would exist in the premise to manage the assets.
A requirement should be that in order to particiapate in a DR program a EMS with the basic fuction in OpenHAN section 4.2.2 mapping talkbels must exist in the premise.
In OpenHAN section 3.3 Processing, seems to cover many of the DR fuctions. This processing is occuring at a higher level that HAN devices like Appliances. Seems these function would be that of an EMS or an enhanced ESI.
NAESB PAP09 |  |  |  | http://www.naesb.org/pdf4/smart_grid_ssd111709reqcom_pap9_a2.doc
|  | Mary and Charlie |  | Retail DR Use Cases – Release 0.1 http://www.naesb.org/smart_grid_standards_strategies_development.asp |  | http://www.naesb.org/pdf4/smart_grid_ssd111709reqcom_pap9_a3.doc
Number | Source | Reference | Use Case Title | New OpenHAN 2.0 Requirement | Modification of existing OpenHAN requirment | Section Number of existing OpenHAN requirement
1 | NAESB Smart Grid Task Force | Retail DR Use Cases; Section 3.1.2.1 Adminstrate DR Program | 1.1 Create DR Program | N/A |  |  | This seems to be a Back office function used to develop the program for approval by Regulatory Authority
2 | NAESB Smart Grid Task Force | Retail DR Use Cases; Section 3.1.2.1 Adminstrate DR Program | 1.2 Update DR Program | Ability to remotely update a DR application; |  | 3.6 Performance Requirements Perf.11 HAN Device shall supply a remote software upgrade function (i.e., firmware upgrade). Reword to: Perf 11. HAN Device shall supply a remote software upgrade function (e.g., firmware upgrade, application upgrade) | This seems to be a Back office function used to develop the program for approval by Regulatory Authority
3 | NAESB Smart Grid Task Force | Retail DR Use Cases; Section 3.1.2.1 Adminstrate DR Program | 1.3 Remove DR Program | IF a DR program is removed is there a need to remove the device? |  |  | This seems to be a Back office function used to develop the program for approval by Regulatory Authority
4 | NAESB Smart Grid Task Force | Retail DR Use Cases; Section 3.1.2.2 Administrate Customer for DR | 2.1 Register / Enroll Customer for DR Program | Ability to register a specific HAN Device in a DR program; Ability to assign a DR Asset ID to a HAN Device |  | See Comm Commission 5 & 6, pg 43 . Does this cover the requirement? | Primarily a Backoffice/headend activity. Need capability at HAN
5 | NAESB Smart Grid Task Force | Retail DR Use Cases; Section 3.1.2.2 Administrate Customer for DR | 2.2 Update Customer Identity |  |  | Backoffice function and Audit Function in 3.5.3 Accountablity (e.g. Security Account 9)
6 | NAESB Smart Grid Task Force | Retail DR Use Cases; Section 3.1.2.2 Administrate Customer for DR | 2.3 Remove Customer from DR Program |  |  | Check the use of the term registration. Pg 47 Sec Req 8
7 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource | 3.1 Administrate Bulk Power DR Resource | N/A
8 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource | 3.2 Administrate Distribution DR Resource
9 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource | 3.2.1 Declare DR Resource
|  |  | 3.2.1 DR Resouce Operational Constraints |  | Modify App Process 19 The application shall calculate available load for demand reduction based on user-defined parameters (e.g. percentage of load available for various response scenarios, minimum load, MIN & MAX load etc | Pg 40 App Process 14/17/19/20
|  |  | 3.2.1 DR Resource Bid | Backoffice function. Not applicable to HAN ?
|  |  | 3.2.1 DR Resouce Schedule Constraints |  | Add App Process Application shall provide method for communicating constraints when the HAN device (DR asset) is available for load shed. (e.g. Time of day schedule constraints, black out dates, Max consecutive days of participation, Max duration of DR Event participation, Min duration of DR event participation, Max number of time per day DR Resource may be called, Minimum advanced notificaiton necesary.
|  |  | 3.2.1 DR Resouce ID | Backoffice function
|  |  | 3.2.1 Effective Start Date | Backoffice function / per contract
|  |  | 3.2.1 Hourly Capacity Avaliblity | Backoffice function / per contract / not appliacble to HAN ? / App Process 19 ? |  |  | Backoffice activity
|  |  | 3.2.1 Message Exchange Pattern | See if SEP 2.0 MRD additions to OpenHAN cover this
|  |  | 3.2.1 Monthy-capacity-avaliblity | Backoffice function requiring a phone call or enhanced ESI function or additional EMS function in App Process section. App Process 19 and 13 may combine to provide estimates but not hard commitments.
|  |  | 3.2.1 Source Authentication |  |  | Source Authentication; Security Integrity 9, pg 45
|  |  | 3.2.1 Temp Opt Out |  | App.Control.7 HAN Device shall signal any consumer-initiated overrides. (e.g. All events in a program, Specific DR Event, All events in a specific time period) | Temp Opt Out; App control 7;pg 37 ( eg opt out all evernt, specitfi events ,etc)
10 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource | 3.2.2 Register DR Resource |  | See 3.2.1 | Pg 40 App Process 10/11/12/13
|  |  | 3.2.2 DR Resouce Operational Constraints |  | see 3.2.1 DR Resouce Operational Constraints
|  |  | 3.2.2 DR Resouce Schedule Constraints |  | see 3.2.1 DR Resouce Schedule Constraints
|  |  | 3.2.2 Effective start date time |  |  | Pg 40 AppProcess 19
|  |  | 3.2.2 Location | Backoffice function, possibly requring enhanced ESI function or Internet exchange
|  |  | 3.2.2 Location Type | Backoffice function, possibly requring enhanced ESI function or Internet exchange
|  |  | 3.2.2 Maximum -Duration |  |  | Pg 40 AppProcess 19
|  |  | 3.2.2 Message Exchange Pattern | See if SEP 2.0 MRD additions to OpenHAN cover this
|  |  | 3.2.2 Minimum -Duration |  |  | Pg 40 AppProcess 19
|  |  | 3.2.2 Parent-Resouce ID | Backoffice function, possibly requring enhanced ESI function or Internet exchange
|  |  | 3.2.2 Report - Type | Backoffice function, possibly requring enhanced ESI function or Internet exchange
|  |  | 3.2.2 Response Time Requimrnet |  | Add App Process ; provide response time for meeting request to shed load. Maybe bas.ed on historical performance, see APP Process 13
|  |  | 3.2.2 Source Authentication | see 3.2.1 |  | Source Authentication; Security Integrity 9, pg 45
11 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource | 3.2.3 Remove DR Resource |  | Backoffice activity (?)
12 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource | 3.2.4 Administrate DR Asset (Direct) |  | Backoffice activity (?)
13 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource | 3.2.4.1 Register DR Asset |  | Backoffice activity (?)
|  |  | 3.2.4.1 DR Asset Availablity and Status | see 3.2.2 min max duration ADD App Process: The Application process shall calculate the load overriden by consumer during the DR event
|  |  | 3.2.4.1 DR Asset Physical Capablities | see 3.2.2 min max duration of load reductions. Intermediate levels driven by price are avalible
|  |  | 3.2.4.1 DR Asset Product and Type | Backoffice function, possibly requring enhanced ESI function or Internet exchange
14 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource | 3.2.4.2 Update DR Asset |  | See 3.2.4.1
15 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource | 3.4.2.3 Remove DR Asset |  | See 3.2.4.1
16 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource | 3.2.5 Administrate DER for DR Purpose |  | See 3.2.4.1
17 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource | 3.3 DR Bidding |  |  | APP Control add; HAN device shall adjust operational load based on thresholds, set point or triggers of price points App Process: The application shall provide communication of price points for HAN device to determain opeational load or to defer altogather.
18 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource | 3.3.1 DR Bid to Supply (Offers) |  | See 3.3, Not aplicable at HAN level
19 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.3 Administrate DR Resource | 3.3.2 DR Bid to Buy |  | See 3.3, Not aplicable at HAN level
20 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.0 Execute DR Event |  | Details in the following sub use cases
21 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.1 Notify DR Event (Bulk Power)
22 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.1.1 Advanced Notification for DR (Bulk Power) | Add OpenHAN 2.0 requirements: App.Process: The Application shall commuicate effective starting date and time when the HAN device is expection to comply with the DR obligation. (App.Process 17,19 modify?) App.Process: The Application shall accept a decimal representation of the expected duration of the demand response event with integers representing hours and decimal positions representing fraction of hours (e.g. 1.5 indicates a duration of 1 hour and 30 minutes from the effective-start-date-time) App.HMI 10 : (?) The HAN device shall display a description of the demand response event that is occuring App.Process: The Application shall accept a unique identifier for the demand response event. Should be expressed as a URI in accordance with http://www.w3.org/TR/uri-clarification/#uri-schemes (e.g. manage the most recent informaiton) App.Process: The Appliaction shall record the date and time a message was received and return that date and time in the acknowledgment message
23 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.1.2 Update a DR Event (Bulk Power) |  | none
24 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.1.3 Cancel a DR Event (Bulk Power) | Add OpenHAN 2.0 requirements: App.Process: The Appliaction shall cancel an active demand response event when notificed of a cancellation beginning with the date and time the cancellation is effective. Add OpenHAN 2.0 requirements:
25 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.1.4 DR Resource Confirmation (Bulk Power) |  | none
26 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.2 Notify DR Event (Distribution)
27 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.2.1 Advanced Notification for DR (Distribution)
DR Resourcde Operation Mode Seems SEP 2.0 MRD provides H,M,L pricing info? Can Operations use the priceing info to communicate DR Response needed?
HAN devices (DR Assets) respond to (PRICE_ABSOLUTE-Price number) absolute price informaiton.. App. Control 12
HAN EMS devices can perform reductions based on App Process 17 , 19, 20 in response to LOAD_LEVEL ?
Need to add App Process for EVENT SCHEDULE information. Perform any antipatory calculation and commands of which the HAN device is capable
28 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.2.2 Update a DR Event (Distribution) | Need to add App Process for DR EVENT UPDATE. Manage changes and ensure execution of the most resent information
29 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.2.3 Cancel a DR Event (Distribution) | 4.1.3
30 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.2.4 DR Resource Confirmation (Distribution) | 3.2.1
31 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.3 Broadcast Pricing (Wholesale) for DR Purpose | add OpenHAN 2.0 requirement: App.Process: The Appliaction shall respond to a price for the duration the price is valid commencing at the effective date-time specified A value of zero means the price is valid until the next price broadcast override. App.Process: The Appliaction shall accept prices published on a frequency interval. Specified in decimal notation where integers represent minutes and decimals represent fractions of minutes (e.g. 5 indicates that prices will be published every 5 minutes, 0.5 indicates that prices will be published every 30 seconds) App.Process: The Appliaction shall accept a price expressed in decimal notation with a precision up to 6 decimal places. Prices may be either positive or negative. App.Process: The Appliaction shall accept the unit of measure for which the price pertains. Must be compliant with the International System of Units as defined by NIST SP 330, ref: http://physics.nist.gov/Pubs/SP330/sp330.pdf (e.g. kWh, MWh)
32 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.4 Broadcast Pricing (Retail) for DR Purpose
33 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.5 Dispatch DR Instructions (Bulk Power) |  | covered in App.Control.2 and covered in App.Control.12
34 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.5.1 Monitor DR Event (Bulk) |  | none
35 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.6 Dispatch DR Instructions (Distribution)
36 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.7 DR Direct Load Control (Distribution)
37 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.7.1 Monitor DR Event (DR Resource)
38 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.7.2 Monitor DR Event (DR Asset)
39 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.8 DR Event Execution
40 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.8.1 DR Execution - Dynamic Price-Based
41 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.8.2 DR Execution - Notification Based
42 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.8.2 DR Exedcution - Direct Load Control
43 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | 4.9 Operational Coordination between Transmission, Distribution and DR Resources |  | none
44 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | Adjust Schedule |  | none
45 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | Apply Retail Uplift Charges |  | none
46 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | Assess Congestion Uplift Charges |  | none
47 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | Impacted Curcuit Analysis |  | none
48 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | Load Forecast by Circuit |  | none
49 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.4 Execute DR Event | Specify Load Profile |  | none
50 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.5 Post DR Event Management | 5.1 Post DR Event M&V / Settlement (Open Wholesale, No Open Retail) | App Process: The Application process shall calculate the load initiated by consumer but deferred by the application during the DR event | let's discuss
51 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.5 Post DR Event Management | 5.2 Post DR Event M&V / Settlement (No Open Wholesale, No Open Retail) | App Process: The Application process shall calculate the load initiated by consumer but deferred by the application during the DR event | let's discuss
52 | NAESB Smart Grid Task Force | Retail DR Use Cases; 3.1.2.5 Post DR Event Management | 5.3 Post DR Event M&V / Settlement (Open or Not Open Wholesale, Open Retail) | App Process: The Application process shall calculate the load initiated by consumer but deferred by the application during the DR event | let's discuss
Note on H11: Charlie Smith: