2008 Home Area Network System Requirements Specification

{Subtitle}

Author:

Document History

Revision History

Date of this revision: 01-04-06

| Revision Number | Revision Date | Revision By | Summary of Changes | Changes marked |
| --- | --- | --- | --- | --- |
| 0.2 | 071126 | IO | Copied over Section 3.0 – Requirements | N |

Approvals

This document requires following approvals.

| Name | Title |
| --- | --- |
| (name) | (title) |

Contents

1.	Introduction	4

1.1	Purpose	4

1.2	Scope	4

1.3	Definitions, Acronyms, and Abbreviations	4

1.4	References	5

1.5	Overview	5

2.	Overall Description	6

2.1	System Perspective	6

2.2	System Functions	6

2.3	User Characteristics	7

2.4	Constraints	7

2.5	Assumptions and Dependencies	7

3.	Specific Requirements	9

3.1	Application Requirements	9

3.1.1	Control	9

3.1.2	Measurement and Monitoring	10

3.1.3	Energy Management System	11

3.1.4	Human-Machine Interface	13

3.2	Communication Requirements	14

3.2.1	Commissioning	14

3.2.2	Control	16

3.3	Security Requirements	16

3.3.1	Access Controls and Confidentiality	17

3.3.2	Integrity	18

3.3.3	Accountability	19

3.3.4	Registration	20

3.4	Performance Requirements	21

3.5	Operations, Maintenance, and Logistics Requirements	22

3.5.1	Manufacturing and Distribution	22

3.5.2	Installation	23

3.5.3	Manage, Maintain	24

4.	Appendixes	26

# Introduction

The utility members of the UtilityAMI OpenHAN Task Force jointly drafted this system requirements specification.  It represents the collaboration of more than nine investor-owned North American utilities serving more than 28 million electric and gas customers in 17 states and provinces.

Although this document is a system requirements specification, it follows the IEEE 830-1998 Recommended Practice for Software Requirements Specification given the focus on Home Area Network (HAN) applications for utilities and consumers.

## Purpose

This subsection should

a) Delineate the purpose of the SRS;

b) Specify the intended audience for the SRS.

Policy – federal and state

Environment

Energy Conservation/Peak-Load reduction

Smart Grid Evolution

Customer Service and Expectations

Global utility/industry partnership and communication

## Scope

This subsection should

a) Identify the software product(s) to be produced by name (e.g., Host DBMS, Report Generator, etc.);
b) Explain what the software product(s) will, and, if necessary, will not do;
c) Describe the application of the software being speciﬁed, including relevant beneﬁts, objectives, and goals;

d) Be consistent with similar statements in higher-level speciﬁcations (e.g., the system requirements speciﬁcation), if they exist.

- State Guiding Principles

- Define Use Cases for utility HAN applications

- Develop platform-independent system requirements

- Protect integrity of system and confidentiality of consumer data

## Definitions, Acronyms, and Abbreviations

This subsection should provide the deﬁnitions of all terms, acronyms, and abbreviations required to properly interpret the SRS. This information may be provided by reference to one or more appendixes in the SRS or by reference to other documents.

- IOU

- HAN Device

- Utility AMI Gateway / HAN Interface

- AMI System

- Utility Enterprise System

- NAN

- PCT

- IHD

- EMS

- Look at Use Case Definitions, Etc…

## References

This subsection should

a) Provide a complete list of all documents referenced elsewhere in the SRS;

b) Identify each document by title, report number (if applicable), date, and publishing organization;

c) Specify the sources from which the references can be obtained.

This information may be provided by reference to an appendix or to another document.

- IEEE 830-1998

- OpenHAN Use Cases

- T24 PCT spec?

## Overview

This subsection should

a) Describe what the rest of the SRS contains;

b) Explain how the SRS is organized.

- Describe Policy and Guidelines

- System Decomposition from high to low following GridWise Architecture Council’s framework

- Criteria

- Platform-independent requirements

- Requirements mapped by device

# Overall Description

This section of the SRS should describe the general factors that affect the product and its requirements. This section does not state speciﬁc requirements. Instead, it provides a background for those requirements, which are deﬁned in detail in Section 3 of the SRS, and makes them easier to understand.

- UtilityAMI work

- OpenHAN TF formation and need for utilities to speak with one voice to drive market

- Roles of multiple stakeholders: consumers, policy makers, utilities, industry

## System Perspective

This subsection of the SRS should put the product into perspective with other related products. If the product is independent and totally self-contained, it should be so stated here. If the SRS deﬁnes a product that is a component of a larger system, as frequently occurs, then this subsection should relate the requirements of that larger system to functionality of the software and should identify interfaces between that system and the software.

A block diagram showing the major components of the larger system, interconnections, and external interfaces can be helpful.

This subsection should also describe how the software operates inside various constraints. For example, these constraints could include

a) System interfaces;
b) User interfaces;
c) Hardware interfaces;
d) Software interfaces;
e) Communications interfaces;
f) Memory;
g) Operations;
h) Site adaptation requirements.

- Explain AMI Architecture and HAN’s position in it

- [INSERT] Jeremy drawing here

## System Functions

This subsection of the SRS should provide a summary of the major functions that the software will perform. For example, an SRS for an accounting program may use this part to address customer account maintenance, customer statement, and invoice preparation without mentioning the vast amount of detail that each of those functions requires.

Sometimes the function summary that is necessary for this part can be taken directly from the section of the higher-level speciﬁcation (if one exists) that allocates particular functions to the software product. Note that for the sake of clarity

a)	The functions should be organized in a way that makes the list of functions understandable to the customer or to anyone else reading the document for the ﬁrst time.

b)	Textual or graphical methods can be used to show the different functions and their relationships. Such a diagram is not intended to show a design of a product, but simply shows the logical relationships among variables.

- OpenHAN TF Requirements allow utilities to:

  - Procure open-standard products

  - Secure communications

  - Ensure reliably available HAN communication

  - Enable public pricing, customer-specific usage information, and command and control applications

  - 3rd party services?

  - …

## User Characteristics

This subsection of the SRS should describe those general characteristics of the intended users of the product including educational level, experience, and technical expertise. It should not be used to state speciﬁc requirements, but rather should provide the reasons why certain speciﬁc requirements are later speciﬁed in Section 3 of the SRS.

OpenHAN System Users are:

- Customers adding HAN devices

- Installers of customer HAN devices

- Industry making HAN products and electric meter systems

- Regulators setting policy and looking out for customer interests

- Utilities:

  - AMI architects, contract writers, and engineers

  - Program operators (Demand Response, etc.)

## Constraints

This subsection of the SRS should provide a general description of any other items that will limit the developer’s options. These include

| a) | Regulatory policies; |
| --- | --- |
| b) | Hardware limitations (e.g., signal timing requirements); |
| c) | Interfaces to other applications; |
| d) | Parallel operation; |
| e) | Audit functions; |
| f) | Control functions; |
| g) | Higher-order language requirements; |
| h) | Signal handshake protocols (e.g., XON-XOFF, ACK-NACK); |
| i) | Reliability requirements; |
| j) | Criticality of the application; |
| k) | Safety and security considerations. |

How in depth do we want to go on this?

## Assumptions and Dependencies

This subsection of the SRS should list each of the factors that affect the requirements stated in the SRS. These factors are not design constraints on the software but are, rather, any changes to them that can affect the requirements in/ the SRS. For example, an assumption may be that a speciﬁc operating system will be available on the hardware designated for the software product. If, in fact, the operating system is not available, the SRS would then have to change accordingly.

- California Title 24 building standard takes effect April 2009

- California PUC/CEC Energy Action Plan II

- PUC of Texas policy

- EPAct of 2005

- Technology (PLC, low-power mesh wireless, low-power Wi-Fi) is able to meet timeframe

- …

# Specific Requirements

This section of the SRS should contain all of the softwre requirements to a level of detail sufﬁcient to enable designers to design a system to satisfy those requirements, and testers to test that the system satisﬁes those requirements. Throughout this section, every stated requirement should be externally perceivable by users, operators, or other external systems. These requirements should include at a minimum a description of every input (stimulus) into the system, every output (response) from the system, and all functions performed by the system in response to an input or in support of an output. As this is often the largest and most important part of the SRS, the following principles apply:

a) Speciﬁc requirements should be stated in conformance with all the characteristics described in 4.3.

b) Speciﬁc requirements should be cross-referenced to earlier documents that relate.

c) All requirements should be uniquely identiﬁable.

d) Careful attention should be given to organizing the requirements to maximize readability.

Before examining speciﬁc ways of organizing the requirements it is helpful to understand the various items that comprise requirements as described in 5.3.1 through 5.3.7.

## Application Requirements

Notes:

- Customer owns his Premise and Utilities are granted access rights by the consumer or by regulatory authority

- UtilityAMI compliance is based on device-specific mapping supplied in Appendix X

  - Requirement Labels:

    - Basic: Represents required capabilities.

    - Enhanced: Represents advanced capabilities.

    - Optional: Requirements provided as design guidelines.  Some utilities may require.

### Control

Context: Applications that respond to control commands from the utility or authorized third parties.  Commands typically tell a device to turn ON/OFF at configurable time intervals or thresholds.

Assumptions:

- Devices do not prioritize commands (e.g., last command overrides previous)

- Assume orderly shutdown of operations (e.g., could be delayed until current process completes)

- Does not presume source of message (i.e., utility or certified premise EMS)

- Does not cover the consequences or incentives associated with participation or compliance (e.g., Overriding mandatory control signals)

- Certified premise EMS can proxy as the utility

Definitions:

- Operational State: Device is within normal operating parameters of the device

Requirements:

App.Control.1 HAN Device shall accept control signals from the utility.

App.Control.2 HAN Device shall respond to requests to cease operational state (e.g., open contact).

App.Control.3 HAN Device shall respond to requests to resume operational state (e.g., close contact).

App.Control.4 HAN Device shall acknowledge receipt of control signal.

App.Control.5 HAN Device shall acknowledge execution of control request.

App.Control.6 HAN Device shall acknowledge execution failure of request (i.e., exceptions). (E)

App.Control.7 HAN Device shall signal any consumer-initiated overrides. (E)

App.Control.8 HAN Device shall respond to request to cease operation state at a specific time. (E)

App.Control.9 HAN Device shall respond to request to resume operation state based at a specific time. (E)

App.Control.10 HAN Device shall delay restoration of operational state based on a pre-configured time (e.g., random number). (E)

App.Control.11 HAN Device shall respond to request to cycle operational state (i.e., duty cycle). (E)

App.Control.12 HAN Device shall respond to request to limit operational state based on thresholds, set-points or triggers (e.g., price points). (E)

App.Control.13 HAN Device shall respond to requests for variable output (e.g., load limiting, energy savings mode)

### Measurement and Monitoring

Context: Applications that provide internal data and status.  These are functional requirements on the device.  They does not speak to organization of the system (e.g., net versus sub).  The applications covered are distributed generation (e.g., solar, fuel cell, wind), metering of devices within the premise (e.g., consumer PHEV), monitoring of local conditions (e.g., temperature, humidity, time, airflow, ambient light level, motion), and monitoring of a device’s state.  These applications provide input to the HAN system and enable processing and action based upon that input.

Assumptions:

- Revenue-grade operations meet applicable regulations

Definitons:

- Measure

- Monitor

- Mode – a condition of the operational state (e.g., charging, discharging)

- State – a condition of the device (i.e., on/off)

Requirements:

App.Measure.1 HAN Device shall measure instantaneous demand (e.g., W).

App.Measure.2 HAN Device shall measure accumulated consumption (e.g., Wh).

App.Measure.3 HAN Device shall measure accumulated production (e.g., Wh).

App.Measure.4 HAN Device shall measure consumption per interval (e.g., Wh, BTU, HCF).  (E)

App.Measure.5 HAN Device shall measure production per interval (e.g., Wh).  (E)

App.Measure.6 HAN Device shall store intervals measurements (e.g., 30 days of interval reads).  (E)

App.Measure.7 HAN Device shall allow interval configuration (e.g., 15 Minutes).  (E)

App.Measure.8 HAN Device shall monitor energy state (e.g., state of charge, Watt-hour).  (E)

App.Measure.9 HAN Device shall measure available capacity (e.g., Watts, Volt-Amps).  (E)

App.Measure.10 HAN Device shall monitor the device state (e.g., operational, stand-by, maintenance).  (E)

App.Measure.10 HAN Device Shall monitor the operational mode (e.g., charging, discharging).  (E)

App.Measure.11 HAN Device shall measure power quality (e.g., frequency, neutral voltage, harmonic content).

App.Measure.12 HAN Device shall monitor environmental state (e.g., temperature, motion, wind).

App.Measure.13 HAN Device shall monitor the operational mode of other devices (e.g., duty cycle).

App.Measure.14 HAN Device shall monitor environmental impact (e.g., CO2).

### Energy Management System

Context:  Applications that consume, process, and act on external and internal data.  These applications accept data from external systems and HAN measurement & monitoring applications.  In general, these applications that have a higher level of complexity and cost.

Assumptions:

- Our expectation is that HAN devices will be able to calculate individual consumption.

- EMS devices are viewed as aggregating functions within the system…

- Rate information can pass from the AMI System to the Energy Cost application.

- The EMS can aggregate data from multiple sources.

- The application is not intended to reconcile costs displayed on HAN devices with bills generated by a Utility billing system.  There are other elements associated with billing and revenue-grade metering that are outside the scope of these requirements (e.g., revenue-grade certification, rate recovery).

- The Energy Cost application is likely a component of an Energy Management System.

- Alarm features would likely be part of separate Energy Optimization applications (e.g., signal an alarm when the accumulated cost for the month is greater than $100).

Definitions:

- Time of Use (TOU) Rates – Energy charges which vary based upon a predetermined schedule of hours of the day and days of the week.

- Time-of-Day Demand Rates – Demand charges which vary based upon a predetermined schedule of hours of the day and days of the week.

- Hourly Energy Rate (aka Real Time Pricing) – Energy charges which vary on an hourly basis.

- Critical Peak Pricing – A monthly or seasonal schedule of energy charges which vary based upon a predetermined schedule of hours of the day and days of the week.  In addition, the customer receives real-time notification of critical hours subject to special higher prices for 1 to 2% of the hours in the year.  This program has significant synergies with Direct Load Control programs.

- Rate tiers/blocks

- Capacity Billing Rates

- Orphaned charge:  A HAN Device that incurs a cost at a premise other than its registered, “home” premise and generates a billing charge to be reconciled through the Utility System.  This term refers to proper premise association.  For example, a plug-in hybrid that charges at a grocery store or a friend’s house.

- Energy Cost Application – Calculates HAN Device energy consumption cost.  The application may use information from multiple sources including:

  - The AMI Meter(s), and

  - The AMI System, and

  - Customer HAN Gateway, and

  - Other application(s), and

  - Other HAN device(s), and/or

  - Human Machine Interface(s) (HMI).

Requirements:

App.Process.1 The application shall calculate a HAN Device’s energy cost of accumulated energy consumption as monetary value (e.g., $/kWh * accumulated kWhrs = $).

App.Process.2 The application shall calculate a HAN Device’s energy cost of instantaneous power consumption as a monetary value per time interval, (e.g., $/Wh * instantaneous W= $/hr).

App.Process.3 The application shall calculate a HAN Device’s cost for Hourly Energy rates.  (E)

App.Process.4 The application shall calculate a HAN Device’s energy cost for rate tiers/energy blocks. (E)

App.Process.5 The application shall calculate a HAN Device’s energy cost for Time-of-Use (TOU) energy rates.  (E)

App.Process.6 The application shall calculate a HAN Device’s cost for Critical Peak Pricing (CPP).  (E)

App.Process.7 The application shall calculate a HAN Device’s cost for capacity billing rates.  (E)

App.Process.8 The application shall calculate costs for other billing determinants (e.g, monthly customer charges, taxes & franchise fee, surcharges, discounts, ratcheted demand, bond charges).  (E)

App.Process.9 The application shall accept aggregated consumption and rate information from user-configurable sources (e.g., AMI Gateway, AMI System, and/or HMI).  (E)

App.Process.10 The application shall calculate and forecast a HAN Device’s consumption based on user-defined parameters (e.g., estimated kWh/mon).

App.Process.11 The application shall calculate and forecast a HAN Device’s production based on user-defined parameters (e.g., estimated kWh/mon).

App.Process.12 The application shall forecast a HAN Device’s estimated cost calculation based on user-defined parameters (e.g., monthly consumption at current rate/usage).

App.Process.13 The application shall calculate a HAN Device’s consumption based on user-defined parameters (e.g., historical reporting).  (E)

App.Process.14 The application shall calculate a HAN Device’s production based on user-defined parameters (e.g., historical reporting).  (E)

App.Process.15 The application shall calculate and/or predict a HAN Device’s environmental impact based on user-defined parameters (e.g., historical carbon footprint, forecasted carbon credits earned).  (E)

App.Process.16 The application shall supply a method for local billing resolution (e.g., orphaned billing charge, consumption debits/credits).

App.Process.17 The application shall calculate and suggest methods to optimize energy consumption and cost based on user-defined parameters (e.g., PCT thresholds, lighting settings, pool pump cycling). (E)

App.Process.18 The application shall calculate a HAN Device’s relative efficiency (e.g., comparison can be based on historical data, baseline at install, manufacturer’s parameters, industry/governmental standards, other devices, other premises).  (E)

App.Process.19 The application shall calculate available load for demand reduction based on user-defined parameters (e.g., percentage of load available for various response scenarios).  (E)

App.Process.20 The application shall calculate user-defined thresholds for consumption, production, and cost (e.g., if aggregated consumption reaches a certain level, an alert is generated).

### Human-Machine Interface

Context:  Applications that provide local user input and/or output.  These applications are constrained and based on the data type.  They provide a method for users to interact with the HAN, input preferences, configure the HAN and its devices, and obtain useful information from the HAN.

Assumptions:

- The Utilities expect vendor differentiation and innovation in the marketplace.

Definitions:

Requirements:

App.HMI.1 HAN Device shall provide visual indicators which indicate operational state (e.g., commissioned, registered, event status, device state). (E)

App.HMI.2 HAN Device shall provide a power cycle input, which reboots the device.

App.HMI.3 HAN Device shall provide a user reset input, which returns the device to its pre-installation state (e.g., button).  (E)

App.HMI.4 HAN Device shall provide an alphanumeric display which indicates operational state (e.g., LCD screen).  (E)

App.HMI.5 HAN Device shall provide non-visual sensory feedback (e.g., motion, vibration, audible).

App.HMI.6 HAN Device shall provide a sight and hearing impaired interface.

App.HMI.7 HAN Device shall provide a user-configurable display.  (E)

App.HMI.8 HAN Device shall accept user configurations.  (E)

App.HMI.9 HAN Device shall accept user preferences (e.g., Celsius/Fahrenheit, color).  (E)

App.HMI.10 HAN Device shall provide alarm notifications (e.g., price threshold, event messages).

App.HMI.11 HAN Device shall accept Utility data source configurations (e.g., AMI Gateway, other HAN Devices).  (E) (  Likely an EMS requirement

App.HMI.12 HAN Device shall display Utility data source configurations (e.g., AMI Gateway, other HAN Devices).  (E)  (  Likely an EMS requirement

App.HMI.13 HAN Device shall display application-specific information (e.g., cost, consumption, environmental impact, payment credit, remaining account credit).  (E)

App.HMI.14 HAN Device shall accept application-specific configurations (e.g., preconfigured periods (e.g., hour, day, week), configurable periods (e.g., interval length, TOU period), variable periods (e.g., Critical Peak Price period). (E)

App.HMI.15 For battery-powered devices, HAN Device shall provide a battery life indicator.

App.HMI.16 HAN Device shall accept payment data from the consumer.

## Communication Requirements

### Commissioning

Context: The network process of identifying and adding or removing a node on the HAN with the expectation that the system is self-organizing (i.e., initial communication path configuration).  This process is decoupled from utility registration.

Assumptions:

Definitions:

- Commissioning – The local admission of a HAN Device to the Utility HAN.

- Control – The runtime configuration of the Utility HAN.

Dependencies: See HMI.5 and HMI.6

Requirements:

Comm.Commission.1 HAN Device shall accept network configuration data which allows for private utility networking (e.g., private address/ID)

Comm.Commission.2 HAN Device shall accept commissioning configuration data by the manufacturer (e.g., link key).

Comm.Commission.3 HAN Device shall accept commissioning configuration from the Installer. (E)

Comm.Commission.4 When a HAN Device is triggered (e.g., Allow Join Command), HAN Device location-/contact-specific data shall be provided to other HAN Devices in the premise. ( AMI Gateway requirement

Comm.Commission.5 When a HAN Device is triggered (e.g. Power-on, button), HAN Device shall provide the AMI Gateway with device-specific information including device ID and device type.

Comm.Commission.6 When a HAN Device is triggered (e.g. power on, button), HAN Device shall provide the AMI Gateway with device specific utility information, including network ID, gateway ID, and utility ID, if pre-configured with utility information. (E)

Comm.Commission.7 HAN Device shall have the ability to accept or reject a request based on device type. (  AMI Gateway

Comm.Commission.8 HAN Device shall have the ability to accept or reject device requests based on utility specific information, including network ID, gateway ID, and utility ID. (E)  ( AMI Gateway

Comm.Commission.9 HAN Device shall acknowledge successful commissioning requests (i.e., provide acknowledgement to the requesting HAN Device). ( AMI Gateway

Comm.Commission.10 When a HAN Device is communicating with the AMI Gateway, HAN Device shall indicate link connectivity. (E)

Comm.Commission.11 HAN Device shall provide notification to the Installer of the commissioning status. Status conveyed shall be either: successful/unsuccessful. (E)

Comm.Commission.12 HAN Device shall maintain an updated list of commissioned (i.e., connected) HAN Devices.  ( AMI Gateway

Comm.Commission.13 HAN Device shall have the ability to remove HAN Devices from the Utility HAN. ( AMI Gateway

### Control

Context: Autonomous functions enabled by the platform-specific technology.  These requirements speak to the efficient functioning of HAN communications and are intended to provide robust and reliable communication paths in the HAN.

Assumptions:

Requirements:

Comm.Control.1 HAN Device shall accept network organization messages from the AMI Gateway (e.g., gateway location, routing table, address).

Comm.Control.2 HAN Device shall accept network organization messages from peer devices (e.g., hidden node). (E)

Comm.Control.3 HAN Device shall use the most reliable path to the AMI Gateway (e.g., based on signal strength/quality).

Comm.Control.4 HAN Device shall only use routes within its logical network (e.g., network ID, address scope, utility ID).

Comm.Control.5 HAN Device shall support prioritization of traffic (e.g., queuing, scheduling, traffic shaping). (E)

Comm.Control.6 HAN Device shall have the ability to automatically adapt to communications interference through detection and analysis of environmental conditions (e.g., channel hopping, channel avoidance, signal-to-noise ratio).

Comm.Control.7 HAN Device shall have the ability to automatically adapt to range constraints through detection and analysis of environmental conditions (e.g., change modulation schemes, change power output levels).  (E)

Comm.Control.8 HAN Device shall include a data integrity mechanism for all communications.

Comm.Control.9 HAN Device shall have the ability to activate and deactivate its HAN communication. ( AMI Gateway

Comm.Control.10 HAN Device shall communicate its availability (i.e., ‘heartbeat’) to the AMI Gateway at least once per day.

Comm.Control.11 HAN Device shall have a configurable availability communication (i.e., heartbeat) frequency to the AMI Gateway. (E)

Comm.Control.12 HAN Device shall store a list of available premise HAN Devices and make that list available to the AMI System upon request. ( AMI Gateway

## Security Requirements

HAN Device shall implement controls which limit access to audit information.

There are several registration requirements, including rights associated with audits.  These requirements require consumers to grant Utilities rights to manage and audit security applications in order to register their HAN Devices with the Utility.

### Access Controls and Confidentiality

Context: The goal of access control is to prevent the unauthorized use of HAN resources. Access control includes resource control; for example, preventing logon to local HAN Devices. For the purposes of this discussion, access control is not concerned with denying physical access. Access control is applied to an entity based on an identity or an authorization. An identity may represent an actual user, a process with its own identity (e.g., a program making a remote access connection), or a number of users represented by single identity (e.g., role-based access control).

Confidentiality refers to the security services, which prevent unauthorized disclosure of data (both stored and communicated). Confidentiality services prevent disclosure of data in transit and data at rest. Confidentiality services also include “anonymity”, a service which prevents disclosure of information which leads to the identification of the source or end-user of the information. Because of its role in limiting authorized disclosure of information, confidentiality services are closely linked with access control services.

The concept of least privilege is…

Assumptions:

Requirements:

Security.Access.1 HAN Device shall provide access control to utility applications, data, and services (e.g., control data, consumer-specific consumption data). ( AMI Gateway

Security.Access.2 HAN Device shall control access to persistent utility HAN data (data at rest).

Security.Access.3 HAN Device shall control access to transmitted utility HAN data (data in transit).

Security.Access.4 HAN Device shall provide protection of Utility HAN data while being processed (data in processing) (e.g., trusted processor).  (E) ( AMI Gateway

Security.Access.5 HAN Device shall control access to data in accordance with a configurable utility security policy (e.g., users, applications, devices, data access-read/write). (  AMI Gateway

Security.Access.6 HAN Device shall provide mechanisms to enforce a policy based on least privilege (i.e., explicit authorization). ( AMI Gateway

Security.Access.7 HAN Device shall have the ability to enforce policy periods (time constraints) for security policy elements (e.g., maintenance/firmware window).  (E) ( AMI Gateway

Security.Access.8 HAN Device shall control access to data in accordance with a configurable utility security policy (e.g., users, applications, devices).  (E)

Security.Access.9 HAN Device shall provide methods to query and report access control data settings.  ( AMI Gateway

Security.Access.10 HAN Device shall provide access control methods which prevent known attacks, including replay, man-in-the-middle, delay, spoofing, sequence change, and deletion attacks.

Security.Access.11 HAN Device shall implement mechanisms to prevent unintended disclosure of source/originator data to unauthorized principals.  (E)

Security.Access.12 HAN Device shall implement controls which limit access to audit information.

Security.Access.13 HAN Device shall support confidentiality and access controls that employ cryptographic operations (e.g., digital signatures).

Security.Access.14 HAN Device shall support confidentiality and access controls that employ cryptographic keys for only one purpose (e.g., encryption authentication, or digital signatures).

### Integrity

Context:  The integrity security service addresses prevention of unauthorized modification of data (both stored and communicated).  Modification of both stored and communicated data may include changes, insertions, deletions or duplications. Additional potential modifications that may result when data is exposed to communications channels include sequence changes.  The integrity service also addresses the problem of ensuring that communicating components can correctly identify those that they are communicating with.

Assumptions:

Requirements:

Security.Integrity.1 HAN Device shall protect the integrity of the HAN system (e.g., shall not adversely impact the operations of the HAN system by introducing malicious or unintended activity).

Security.Integrity.2 HAN Device shall provide a configurable HAN filtering function that filters based on allowable message types. ( AMI Gateway

Security.Integrity.3 HAN Device shall provide a configurable HAN filtering function that filters messages based on structural integrity of the message. ( AMI Gateway

Security.Integrity.4 HAN Device shall provide a configurable HAN filtering function that filters based on allowable message rates. ( AMI Gateway

Security.Integrity.5 HAN Device shall detect unauthorized modification of data during storage (e.g., check sums, hashes, software attestations).

Security.Integrity.6 HAN Device shall detect unauthorized modification of data during network transit (e.g., check sums and hashes).

Security.Integrity.7 HAN Device shall attempt to correct unauthorized modification of data (e.g., resend).

Security.Integrity.8 HAN Device shall detect unauthorized modification of data attributes (e.g., modification to a message type).

Security.Integrity.9 HAN Device shall attempt to correct unauthorized modification of data attributes.  (E)

Security.Integrity.10 HAN Device shall only accept data from an authorized source (e.g., AMI Gateway, certified EMS).

Security.Integrity.11 HAN Device shall protect the system from malicious code (e.g., buffer overflow protection, limit executable code exposure).

Security.Integrity.12 HAN Device shall detect known attacks, including replay, man-in-the-middle, delay, spoofing, sequence change, and deletion attacks.

Security.Integrity.13 HAN Device shall separate security critical functionality and data from non-security critical system data.  (E)

Security.Integrity.14 HAN Device shall validate the source of HAN security policy.  ( AMI Gateway

Security.Integrity.15 HAN Device shall detected unauthorized modification of HAN security policy.  ( AMI Gateway

Security.Integrity.16 HAN Device shall detect unauthorized modification of audit data.

Security.Integrity.17 HAN Device shall validate the integrity of all software updates, including source, structure, and version.

Security.Integrity.18 HAN Device shall use tamper-resistant hardware (e.g., epoxy, TPM).  (E)

### Accountability

Context: Accountability can be considered a special type of non-repudiation, in that the accountability security service is basically holding each network entity responsible for its actions on that network.

Audit functionality is a critical element of the layered defense strategy for a system. Audit contributes to user and device accountability by recording security critical user actions while using HAN services. Audit also contributes to domain boundary enforcement services by recording activities of HAN services related to proper operation of security critical functions. In addition to auditing users and system activities, audit must be able to monitor the status of audit data to ensure its integrity and accuracy.

Assumptions:

Definitions:

- Audit is a stored record/event…

Requirements:

Security.Account.1 HAN Device shall alert the AMI Gateway of all detected, security –related activities, including access control, authentication, and integrity violations.

Security.Account.2 HAN Device shall audit and store all security-related activities, including access control, authentication, registration, and integrity violations. (E)

Security.Account.3 HAN Device shall provide, at a minimum, the following information for all detected security events: date and time of the event, type of event, device/user identity. (E)

Security.Account.4 HAN Device shall provide the AMI System access to audit data. (E)

Security.Account.5 HAN Device shall provide non-repudiation mechanisms for devices and users. ( AMI Gateway

Security.Account.6 HAN Device shall provide a mechanism for source identification of data (e.g., HAN and AMI System data). ( AMI Gateway

Security.Account.7 HAN Device shall provide the capability to audit both system and user operations as defined by the HAN security policy. ( AMI Gateway

Security.Account.8 HAN Device shall provide the ability to perform searches, sorts and filters of audit data based on date and time, type and/or user identity.

Security.Account.9 HAN Device shall provide the capability to identify mandatory and configurable audit elements (In this context, mandatory refers to audit elements which are always enabled and configurable refers to audit elements which can be enabled or disabled at the discretion of the Consumer or Utility).

### Registration

Context: The registration and authenticating requirements are used in conjunction with most other security services. That is, the first step of most security services is to determine the identities of one or more of the parties participating in an action. A trusted identity must be used for access control decisions and to provide accountability evidence. Knowing the identity of an entity and the existence of a peer relationship is also fundamental to establishing communication with confidentiality and integrity. If the identity of the peer in a secure communications path is not properly established, it leaves open the possibility that an unauthorized principal (an adversary) could masquerade as an authorized principal, exposing the data to disclosure or manipulation.

Assumptions:

- For authentications to be considered secure they must not be able to be reversed with modern computing technology in the amount of time for which they are valid.

Definitions:

- Mutual authentication is defined as a process in which both entities in a communications link authenticate each other.

Requirements:

Security.Reg.1 HAN Device shall support mutual authentication.

Security.Reg.2 HAN Device shall authenticate the source of all control signals.

Security.Reg.3 HAN Device shall provide a mechanism which allows for multiple and configurable authentication materials (e.g., device ID, device type, key, serial key, utility ID, and device configuration).

Security.Reg.4 HAN Device shall be configured with utility-approved or -provided authentication materials (e.g., certificate, key).

Security.Reg.5 HAN Device shall not send authentication materials over the network in an insecure fashion (e.g., do not transmit passwords or keys in the clear).

Security.Reg.6 HAN Device shall be compatible with a utility-defined registration process.

Security.Reg.7 HAN Device shall provide a means to update (i.e., change, reconstitute, rollover) authentication materials.

Security.Reg.8 HAN Device shall allow registration revocation for connected HAN Devices.  (( AMI Gateway requirement ONLY)

Security.Reg.9 HAN Device shall support a configurable registration and expiration period (e.g., registration timeout, registration persistence).

Security.Reg.10 HAN Device shall use security services (i.e., cryptographic services) which are either FIPS-approved or NIST-recommended.

Security.Reg.11 HAN Device shall support a registration method that employs cryptographic operations (e.g., digital signatures).

Security.Reg.12 HAN Device shall provide an authentication mechanism which proxies for the AMI System (e.g., negotiates on behalf of the utility). (  AMI Gateway ONLY

Security.Reg.13 HAN Device shall provide notification to the Installer of the registration status. Status conveyed shall be either: registered/not registered.  (formerly E)

## Performance Requirements

Context: These requirements are designed to insure HAN applications and devices are:

- consistently reachable,

- designed and manufactured to be durable and resilient,

- easy to diagnose and manage,

- expandable to support future growth,

- remotely upgradeable (e.g., patches, updates, enhancements) without a field visit,

- performing as advertised (i.e., quality).

Assumptions:

Requirements:

Perf.1 HAN Device shall supply functionality that maintains communications availability to the AMI Gateway.

Perf.2 HAN Device shall supply functionality that maintains application availability to the AMI System (e.g., software/hardware application watchdog).

Perf.3 After loss of power, HAN Device shall return to its post-configuration state (i.e., shall persist communication and registration configurations).

Perf.4 HAN Device shall supply adequate computational performance (i.e., Device shall not hamper overall operational state of the HAN)

Perf.5 HAN Device shall supply adequate communications performance (e.g., bandwidth and throughput).

Perf.6 HAN Device shall supply accurate time keeping and counter functions.  (E)

Perf.7 HAN Device shall not act on expired signals (e.g., message validity duration or sequence).  (E)

Perf.8 HAN Device shall provide configurable communications such that system is scalable (e.g., heartbeat and request frequency).  (E)

Perf.9 HAN Device with battery power shall function for a minimum of 1 year.

Perf.10 HAN Device shall supply a local software upgrade function (i.e., firmware upgrade).  (E)

Perf.11 HAN Device shall supply a remote software upgrade function (i.e., firmware upgrade).  (E)

Perf.12 HAN Device shall meet the quality, interoperability, and testing (i.e., certification) requirements of its respective technology platform body.

## Operations, Maintenance, and Logistics Requirements

### Manufacturing and Distribution

Context: These requirements speak to a vendor’s pre-installation activities, including manufacture, depot, distribution, and point-of-sale.  The goal of these requirements is to clearly establish responsibilities and enable the widest diversity of supply chain options for utilities and their customers.

Assumptions:

- Enrollment in a utility program or incentive is out of scope for the purpose of this document.  Our assumption is that enrollment and registration of HAN devices can be closely related and could often occur simultaneously (e.g., customer service call, utility website), but that enrollment is a higher-level utility-specific function.

Definitions:

- Pre-commissioning - Depot level configuration setting

- Registration Configuration - Any required utility-specific configurations

- Labeling - Utility compliance and standards labeling

- Purchasing - Supports multiple distribution channels (e.g., retail, wholesale, utility)

Requirements:

OML.ManuDist.1 Prior to installation (e.g., factory, depot), HAN Device shall support placement of commissioning data (e.g., pre-placed network key).

OML.ManuDist.2 Prior to installation (e.g., factory, depot), HAN Device shall support placement of registration data (e.g., pre-placed registration key).

OML.ManuDist.3 HAN device shall support pre-placed methods or materials that support commissioning and registration by multiple utilities (does not imply simultaneous utility registration).

OML.ManuDist.4 HAN Device shall support pre-placement of application-specific configurations (e.g., cost, consumption, environmental impact, configurable time/rate intervals).  (E)

OML.ManuDist.5 HAN Device shall have and display appropriate certification (e.g., UL, ANSI, and FCC) on its packaging and body.

OML.ManuDist.6 HAN Device shall have and display appropriate commissioning and registration information on its packaging and body (e.g., serial number, registration code).

OML.ManuDist.7 HAN Device shall display utility compatibility guidance to verify that a HAN Device is compatible with a particular AMI system.

OML.ManuDist.8 HAN Device shall display its HAN network technology compatibility on its outside packaging.

OML.ManuDist.9 HAN Device shall display UtilityAMI compliance.

OML.ManuDist.10 HAN Device shall display Enhanced UtilityAMI compliance. (E)

OML.ManuDist.11 HAN device shall display, on its packaging, any secondary device requirements (e.g., required EMS, bridge device).

OML.ManuDist.12 HAN Device shall be manufactured to support multiple distribution channels (e.g., retail, direct utility).

### Installation

Context:  These requirements speak to vendor responsibilities in support of physical placement of the HAN Device.  The goal of these requirements is to ensure a smooth installation process regardless who the installer is with a minimum need for customer support from the Manufacturer and, especially, the Utility.

Assumptions:

Definitions:

- Installer – The installer can be a 3rd party installer or the consumer.

- Manufacturer – Defined broadly and includes the OEM, Distributor, and Value-added retailers (VAR) and is accountable for ensuring proper out-of-box operation of the device.

Requirements:

OML.Install.1 HAN Device Manufacturer shall include installation documentation, which includes instructions for installation (e.g., placement), commissioning, and registration, including any external dependencies.

OML.Install.2 HAN Device Manufacturer shall include a HAN Device user’s manual in the Device packaging.

OML.Install.3 HAN Device Manufacturer shall include Manufacturer contact information in the Device packaging.

OML.Install.4 HAN Device Manufacturer shall supply technical support services (e.g., help desk, web site).

### Manage, Maintain

Context:  These requirements speak to vendor responsibilities for customer support.  They ensure HAN Devices enable diagnostic, management, and troubleshooting capabilities.  The goal of these requirements is to allow Utilities the ability to resolve remotely, if at all possible, problems with HAN Devices and quickly determine whether a customer needs to contact the Manufacturer’s customer support for further assistance.

Assumptions:

Requirements:

OML.Maintain.1 HAN Device shall have a self-check (initialization) function, which notifies the Installer that the HAN Device is functioning properly. (E)

OML.Maintain.2 HAN Device shall log all AMI System-to-HAN System communications.  ( AMI Gateway

OML.Maintain.3 When the HAN Device is rebooted, HAN device shall reset to its configured (i.e., post-installation commissioning and registration) state and shall reestablish communication with the AMI Gateway.

OML.Maintain.4 HAN Device shall have a user-operable testing function that is equivalent to the self-testing function.  (E)

OML.Maintain.5 HAN Device shall supply a maintenance port for field diagnostics.

OML.Maintain.6 HAN Device shall simulate Utility events for diagnostic purposes.

OML.Maintain.7 HAN Device shall supply network management functions for diagnostic purposes.

OML.Maintain.8 For battery-powered devices, HAN Device shall communicate low battery state to the AMI System.  (E)

OML.Maintain.9 HAN Device Manufacturer shall supply and support a flaw remediation process.

OML.Maintain.10 HAN Device shall support a communications feedback mechanism (i.e., ping).

# Appendixes