## OpenHAN v1.95 comments
OpenHAN SRS v1.95 document
Instructions: NOTE: USE THE V1.95 CLEAN DOCUMENT for Page No. and Line No. referneces
1. Indicate the page and line number
2. State your comment
3. Provide a suggested resolution, alternate wording, etc.
Comment # | Commenter Name | Page No. | Line No. | Comment | OpenHAN Doc Editing Team Response
1 | C Smith | 12 | 2 | This SRS addresses access to the HAN through a ESI that can be suported by either an AMI device or a internet Gateway device. The utility enterprise system is out of scope for this SRS
2 | C Smith | 21 | 25 | This type of communication is a new technology be introduced to the electric power grid through the use of ESI connected to internet gateway or to a AMI meter. Usage data is assumed to come from the smart meter.
3 | C Smith | 26 | 8 | While AMI and/or the Internet enable
4 | C Smith | 39 | 25 | isn't this BR?
5 | C Smith | 25 | 14 | Add: Consumer optional override and previously established preferences must be observed expect in emergency events previously defined.
6 | C Smith | 30 | 1 | Add to the drawing AMI / Internet Backhaul Network
7 | C Smith | 35 | 1 | Add to the drawing AMI / Internet Backhaul Network
8 | C Smith | 36 | 1 | Add to the drawing AMI / Internet Backhaul Network
9 | C Smith | 37 | 1 | Add to the drawing AMI / Internet Backhaul Network
10 | C Smith | 38 | 1 | Add to the drawing AMI / Internet Backhaul Network
11 | C Smith | 31 | 32 | the Utility ESI (and/or thrid party ESI ) should start with the assumption that a HAN Device should not be trusted and it must provide a means for protecting the Utility AMI including the AMI meter and the validity of data sent back through 3rd party gateway.
12 | C Smith | 40 | 19 | Control applications respond to control signals and price information.
13 | C Smith | 41 | 13 | Does this belong with Control rather than process: Energy Demand Reduction - Uses external and HAN data to reduce load based on a consumer configurable profile (e.g. profiles based on various triggers such as occupancy (home/away/vacation), schedule (day/night/weekend), price (low/med/high), demand response requests (voluntary/mandatory)
14
15 | C Smith GE | 49 | App.Control.1 | change Smart Appliance to BF
16 | C Smith GE | 49 | App.Control.2 | Change pct to NA, EMS to NA and Sm App to NA Applies only to Direct Load Control add-on devices, not Smart Devices Or CHANGE TO "device go to lowest power consuming mode" in which case NA=>BF
17 | C Smith GE | 49 | App.Control.3 | Change pct to NA, EMS to NA and Sm App to NA Applies only to Direct Load Control add-on devices, not Smart Devices Or CHANGE TO "device go to lowest power consuming mode" in which case NA=>BF
18 | C Smith GE | 49 | App.Control.4 | SA => NA assuming always 2 way communictions
19 | C Smith GE | 49 | App.Control.5 | SA => NA assuming always 2 way communictions
20 | C Smith GE | 49 | App.Control.6 | SA => NA assuming always 2 way communictions
21 | C Smith GE | 49 | App.Control.7 | SA => NA assuming always 2 way communictions
22 | C Smith GE | 49 | App.Control.8 | Change pct to NA, EMS to NA and Sm App to NA Applies only to Direct Load Control add-on devices, not Smart Devices Or CHANGE TO "device go to lowest power consuming mode" in which case NA=>BF
23 | C Smith GE | 49 | App.Control.9 | Change pct to NA, EMS to NA and Sm App to NA Applies only to Direct Load Control add-on devices, not Smart Devices Or CHANGE TO "device go to lowest power consuming mode" in which case NA=>BF
24 | C Smith GE | 50 | App.Control.10
25 | C Smith GE | 50 | App.Control.11 | Change pct to NA, EMS to NA and Sm App to NA Applies only to Direct Load Control add-on devices, not Smart Devices Or CHANGE TO "device go to lowest power consuming mode" in which case NA=>BF
26 | C Smith GE | 50 | App.Control.12 | Delete eg on, off, cycle, as these apply only to Direct Load control add ons and is addressed above. Then change Sm App to BF
27 | C Smith GE | 50 | App.Control.13 | add price, level commands to eg then make SmApp BF
28 | C Smith GE | 50 | App.Control.14 | Device will respond to price and level commands. Make SmApp BF
29 | C Smith GE | 50 | App.Control.15 | replace "appropriately respond" with "within it's internal safe operational control algorithms". Then make SmAPP BF
30 | C Smith GE | 51 | App.Control.16 | replace "appropriately respond" with "within it's internal safe operational control algorithms". Then make SmAPP BF
31 | C Smith GE | 64 | App.Process.25 | What is this?
32 | C Smith GE | 71 | App.HMI.2 | Change pct to O, IHD to O, EMS to O and Sm App to O manufactures choice (e.g. unplug the device or cycle the breaker counts)
33 | C Smith GE | 71 | App.HMI.3 | Change to returns to original consumer configured state. (e.g. through a button press sequence)
34 | C Smith GE | 72 | App.HMI.11 | Utility data source config per IEC CIM or IEC CIM compatible protocol.
35 | C Smith GE | 72 | App.HMI.14 | Utility data source config per IEC CIM or IEC CIM compatible protocol.
36 | C Smith GE | 75 | Comm.Commission.1 | Change Sm App to O ...Depends on the method. Some devices have limited UI
37 | C Smith GE | 75 | Comm.Commission.3 | What is ment by triggered? Commissioned, maybe the better word?
38 | C Smith GE | 79 | Comm.Control.3 | Isn't this is mesh specific, OpenHAN is not to specify technology
39 | C Smith GE | 80 | Comm.Control.7 | Change pct to O, IHD to O, EMS to O and Sm App to O What is ment by configurable? Configured by manufacturer only.
40 | C Smith GE | 89 | Security.Reg.2 | Change pct to O, IHD to O, EMS to O and Sm App to O Not by user, only by manufacturer
41 | C Smith GE | 92 | Security.Enroll.5 | Duplications of App.Process.23
42 | C Smith GE | 97 | Perf.15 | Change pct to O, IHD to O, EMS to O and Sm App to O not sure what this is
43 | C Smith GE | 98 | Perf.21 | Change pct to O, IHD to O, EMS to O and Sm App to O manufacturers choice
44 | C Smith GE | 98 | Perf.22 | Change pct to O, IHD to O, EMS to O and Sm App to O This is only configurable by the manufacturer.
45 | C Smith GE | 98 | Perf.23 | Sm App to O Most appliances do not display meassages
46 | C Smith GE | 98 | Perf.24 | Sm App to O Most appliances do not display meassages
47 | C Smith GE | 99 | Perf.27 | Change pct to O, IHD to O, EMS to O and Sm App to O Not clear enough to be a BF. Make O
48 | C Smith GE | 99 | Perf.29 | Change pct to O, IHD to O, EMS to O and Sm App to O What is near real time? Not clear enough to be a BF. Make O
49 | C Smith GE | 100 | Perf 32 | missing
50 | C Smith GE | 100 | Perf.33 | Change pct to O, IHD to O, EMS to O and Sm App to O Not clear enough to be a BF. Make O
51 | C Smith GE | 103 | OML.ManuDist.3 | Add comment: "As long as Utilities comply with OpenHAN definition of commissioning and registration etc."
52 | C Smith GE | 103 | OML.ManuDist.4 | Change pct to O, IHD to O, EMS to O and Sm App to O What is this?
53 | C Smith GE | 103 | OML.ManuDist.5 | Change pct to O, IHD to O, EMS to O and Sm App to O Desirable but not a requirement. Manufactures Option. (or in installation information provided with product)
54 | C Smith GE | 103 | OML.ManuDist.6 | Change pct to O, IHD to O, EMS to O and Sm App to O Desirable but not a requirement. Manufactures Option. (or in installation information provided with product)
55 | C Smith GE | 104 | OML.ManuDist.7 | Change pct to O, IHD to O, EMS to O and Sm App to O Desirable but not a requirement. Manufactures Option. (or in installation information provided with product)
56 | C Smith GE | 109 | OML.Maintain.3 | Duplication