Joint IOU HAN Use Case

Definitions / Assumptions / Actors

Assumptions:

* note, only add assumptions if they are specific to the use case

- The “Utility AMI to HAN” interface exists.

- All communications between the Utility AMI network and the HAN Devices are passed through the AMI Network Gateway.

- A process exists to connect/bind the customer’s HAN to the Utility AMI network.

- HAN communications may be limited to the customer’s HAN, and may securely cross the “Utility AMI to HAN” interface.

- HAN devices have been safety tested and are approved by a nationally recognized test facility (Manufacturers to determine).

- HAN devices comply with all applicable FCC requirements.

- Utility AMI interoperable HAN devices are remotely upgradeable.

- The original equipment manufacturer will provide operating manuals and technical support for HAN devices to the end use customer. This includes installing, operating, and troubleshooting materials.

- If net metering, the home’s electric panel upgrade has occurred and the electrical circuits and wiring can handle the discharging process.

- For EV/PHEV, the vehicle has some onboard intelligence and communication capability.

- Customers can override a non-emergency curtailment request (e.g. pricing events).

- Customers can not override an emergency curtailment request.

- Non-Interoperable HAN devices will not participate in Utility sponsored rates and programs.

- In order for customer HAN devices to communicate with the Utility AMI network, suitable and appropriate security methods (including privacy protection) and capabilities within the AMI and HAN devices must be implemented.

- The AMI project requirements apply to all customers, specifically to those under 200kW in demand

- The ISO (i.e., transmission operator) and utility have determined that demand response programs and events (e.g., Critical Peak Pricing) will be necessary for grid management

- Load control device(s) at the customer site will take action based on price or specific event (dependent on presence of the control devices and compliance with Utility requirements)

- The meter may serve as the interface between the utility and the customer’s load control equipment (as opposed to using a separate gateway).

- The customer shall have the ability to pre-program the load control device at their site to respond to event messages and/or pricing

- The customer shall have the ability to “over-ride” the automated load reduction event response at their site

- Customers must be enrolled in a demand response program to enable communications between the utility and the customer’s control devices

- Customers may, but do not have to, negotiate another communication method (such as cable, DSL, WiMax, city-wide WiFi, etc…) for price, consumption, load, event messages between their HAN devices and the AMI

- Customers will have the choice of which HAN devices participate in any offered demand response program (subject to technical conformance with the offered demand response program from the utility).  [For example, the customer may have door open/close sensors attached to the same HAN as their lights and thermostat and may choose to only enroll the lights and thermostat in the demand response program.]

- The utility AMI gateway sends daily time and rate synchronizations to the IHD.

- If a device requires registration with the utility, the device is expected to contain volatile and non-volatile memory.  A portion of the non-volatile memory will retain registration information in case there is a loss of power.  Once power and communication is restored to the device, it will automatically re-register itself based upon the last known “good” registration.

- The HAN Device is utility compatible, meaning it is technology enabled to interoperate with the AMI system.

Definitions

- Utility AMI HAN interface or Utility AMI Gateway – Permits applications such as remote load control, monitoring and control of distributed generation, in-home display of customer usage, reading of non-energy meters, and integration with building management systems.

- AMI System – “the big picture”, includes Utility AMI HAN interface, AMI meter, AMI network, Utility AMI network, Meter data management, Utility business processes.

- Utility Enterprise System – Includes AMI system, Distributed Automation, and all other enabling technologies of the utility operation.

- Standard Data Model - The ability to exchange information among multiple vendors’, customers’ and utility’s equipment in the same system without the cost of specialized software adapters.

- Security – Those measures that protect and defend information and information systems by assuring their confidentiality, integrity, access controls, availability and accountability.

- Remote Upgrade - The ability to correct defects, enable new features and applications, change recording and reporting intervals, refresh security, and optimize network operation without the cost of sending personnel to the customer site.

- Network Management - The ability to remotely diagnose system components, and to monitor and control the communication system.

- Price Event - Refers to a change in pricing sent to the device from the utility.

- Emergency Event – CAISO or Utility initiated reliability events.

- Customer Over-Ride - Refers to a person adjusting the functional behavior of a device to ignore Utility messages.

- Provisioning - Describes the commissioning or binding process of connecting a device to the network.

- Pending Event - Refers to a price event or emergency event that is scheduled but has not yet happened.

- Active Event - Refers to a price event or emergency event that is underway.

- Installed Service Point (ISP) - Uniquely identifies the service delivery point.

- Home Area Network (HAN) – customer’s premise communication system.

- Health Check - Operation performed by HAN device to determine proper functionality.

- Neighborhood Area Network (NAN) – communication system between multiple customer premises

- System Owner - The entity responsible for oversight and control of the entire system.

- System Operator	- The entity responsible for operation and control of a specific and defined geographic / service area.

- Manufacturer - The entity responsible for production of the HAN device.

- Installer - The entity responsible for placing the HAN device in service within the customer’s premises.

- PCT - The Programmable Communicating Thermostat in the customer’s premise.

- In Home Display (IHD) - a standalone device and simply receives data and displays information.  It has minimal intelligence and storage capacity and receives data from the AMI system through the Utility AMI gateway.

- A charging interval is the period of time that is bound by a start and stop of charging.

Actors:

| Actor Name | Actor Type | Actor Description |
| --- | --- | --- |
| Customer | Person | Receives pricing and event information from the AMI. Pre-programs responses to events into their load controller(s). Needs to reduce their load throughout the event to reduce energy costs or receive financial benefit. |
| HAN Devices | Devices | Equipment owned by the Customer (or, in some cases, the Utility) and operating on the same HAN as the Utility HAN devices and providing energy management services to the AMI. |
| Customer Interface | Device(s) and/or System | Any user interface available to the customer to display information related to load management and/or Utility HAN behavior, including but not limited to a PCT, In-home LCD display, Personal Computer, Fridge Magnet, and EMS etc… Connects to, commissions and configures HAN devices in the customer premises. Configures appropriate demand response information such as price, consumption, load or event responses. May store data for customer audit and analysis. May be an Energy Management System such as HomeSeer.” |
| AMI | System | The AMI system is made up of systems that are required to enable remote two-way communications with meters and data storage (e.g. MDMS and MS). |
| Metering System (MS) | System | System that can communicate with AMI meters remotely (e.g. program meters, test meters, retrieve data). This system is a component of the AMI. |
| Utility AMI Gateway | Device | The logical network interface between the AMI and the HAN regardless of how that interface is embodied – e.g. meter, substation, aggregator, set-top box, DSL router, WiMAX box, etc |
| Customer Service System (CSS) | System | System that provides utility employees ability to view customer specific information regarding billing, tariffs, programs, metering, interval usage, etc. (e.g. system used by the call center) |
| AMI and/or HAN Trust Center | System | Logical software entity that provides appropriate security interactions to establish proper credentials for AMI to HAN interaction(s). |
| Automated Data Collection System (ADCS) | System | System that can communicate with AMI remotely (e.g. program meters, test meters, retrieve data). This system is a component of the AMI. |
| Utility HAN | Devices | Equipment directly connected to load devices capable of receiving curtailment, pricing, load, and event messages and carrying out the requests or otherwise responding to them. Would also include Customer Interface devices or systems described below. The Utility HAN is a combination of three things: 1) AMI meter (with HAN interface) and 2) the customer selected or utility-supplied set of HAN-Connected Control Equipment and 3) Customer Interface. All devices on the Utility HAN, working in concert, switch loads on or off or reduce load in response to events or messages communicated by the AMI system (AMI Meter). At least one device needs to follow the pre-programmed rules (e.g. PCT). The rest may be pre-programmed to respond to messages or events, or may be programmed by the Customer Interface.“ |
| Customer HAN Gateway | Device | Customer device that coordinates the HAN commissioning and behavior. Customer device that interfaces to, and routes network traffic between, the HAN, external, non-HAN networks (such as premises WiFi, cable, DSL, satellite, etc… networks) and the Customer HAN Interface. May or may not be the Premises Gateway. |
| Customer HAN | Devices | Equipment owned by the Customer and operating on the same HAN as the Utility HAN devices and providing non-utility use case services (such as security, child monitoring, home entertainment or other services). Prior to installation/provisioning a subset of Customer HAN Equipment could be attached to (or part of) load bearing equipment and be capable of participation in AMI programs. |
| Pool Pump Controller | Devices | The controller is a separate device and resides between the timer and the pool pump. The controller has minimal intelligence and sends and receives signals through the HAN. |
| Customer Representative | Person or System | Intelligent system that consumer interacts to work with a business (e.g. utility). |
| HAN Device Registration Application | Application | Computer logic that automates certain registration activities on behalf of a device or consumer. |
| In Home Display (IHD) | Device | A standalone device and simply receives data and displays information. It has minimal intelligence and storage capacity and receives data from the AMI system through the Utility AMI gateway. |
| Energy Management System (EMS) | Application | Computer program used primarily for controlling energy-controllable devices (e.g. pool pump, PCT, light ballasts). Program may reside within a PCT, computer, cable settop box, “smart” IHD, or other computing device with ability to display parameters and accept user input. |