Joint IOU HAN Use Case Work Shop

July 17, 2007

Scope:

Limit use case scenarios between AMI Network and HAN (devices)

Audience (stakeholders):

Regulators

Utilities

AMI Vendors

HAN Device Manufacturers

Consumers

Methodology:

Development will focus on functional capabilities rather than device-specific capabilities.  Illustrations may occur that designate a device, but we strive to describe the use case by its function.

Use Case Categories:

Load (kW) and Energy (kWh) Management (PCT – IOU, Pool Pump – SDGE, IHD – SDG&E)

- Voluntary (UC5/C1 – SCE)

- Mandatory (D1 – SCE)

User Information (IHD – SDG&E)

- Interactive

- One-way

Sub-metering (EV-PHEV – SDG&E)

System Configuration and Management (I1 – SCE, I3 - SCE)

- HAN Provisioning

- Utility Registration (e.g. application/devices)

- Support (e.g. diagnostic)

Use Case Template:

Use case title:

Use case description:

Use case business rules and assumptions:

Use case actors:

Use case scenarios (sequenced):

* note, only add assumptions if they are specific to the use case

Assumptions

The “Utility AMI to HAN” interface exists.

A process exists to connect/bind the customer’s HAN to the Utility AMI network.

HAN communications may be limited to the customer’s HAN, and may securely cross the “Utility AMI to HAN” interface.

HAN devices have been safety tested and are approved by a nationally recognized test facility (Manufacturers to determine).

HAN devices comply with all applicable FCC requirements.

Utility AMI interoperable HAN devices are remotely upgradeable.

The original equipment manufacturer will provide operating manuals and technical support for HAN devices to the end use customer. This includes installing, operating, and troubleshooting materials.

If net metering, the home’s electric panel upgrade has occurred and the electrical circuits and wiring can handle the discharging process.

For EV/PHEV, the vehicle has some onboard intelligence and communication capability.

Customers can override a non-emergency curtailment request (e.g. pricing events).

Customers can not override an emergency curtailment request.

Non-Interoperable HAN devices will not participate in Utility sponsored rates and programs.

In order for customer HAN devices to communicate with the Utility AMI network, suitable and appropriate security methods (including privacy protection) and capabilities within the AMI and HAN devices must be implemented.

The AMI project requirements apply to all customers, specifically to those under 200kW in demand

The ISO (i.e., transmission operator) and utility have determined that demand response programs and events (e.g., Critical Peak Pricing) will be necessary for grid management

Load control device(s) at the customer site will take action based on price or specific event (dependent on presence of the control devices and compliance with Utility requirements)

The meter may serve as the interface between the utility and the customer’s load control equipment (as opposed to using a separate gateway).

The customer shall have the ability to pre-program the load control device at their site to respond to event messages and/or pricing

The customer shall have the ability to “over-ride” the automated load reduction event response at their site

Customers must be enrolled in a demand response program to enable communications between the utility and the customer’s control devices

Customers may, but do not have to, negotiate another communication method (such as cable, DSL, WiMax, city-wide WiFi, etc…) for price, consumption, load, event messages between their HAN devices and the AMI

Customers will have the choice of which HAN devices participate in any offered demand response program (subject to technical conformance with the offered demand response program from the utility).  [For example, the customer may have door open/close sensors attached to the same HAN as their lights and thermostat and may choose to only enroll the lights and thermostat in the demand response program.]

Definitions

** Need to define: UtilityAMI HAN interface and a “device HAN interface” (whatever “device” means)

** TBD UtilityAMI to HAN Gateway – Permits applications such as remote load control, monitoring and control of distributed generation, in-home display of customer usage, reading of non-energy meters, and integration with building management systems.

Standard Data Model - The ability to exchange information among multiple vendors’, customers’ and utility’s equipment in the same system without the cost of specialized software adapters.

Security – Those measures that protect and defend information and information systems by assuring their confidentiality, integrity, access controls, availability and accountability.

Remote Upgrade - The ability to correct defects, enable new features and applications, change recording and reporting intervals, refresh security, and optimize network operation without the cost of sending personnel to the customer site.

Network Management - The ability to remotely diagnose system components, and to monitor and control the communication system.

Price Event - Refers to a change in pricing sent to the device from the utility.

Emergency Event – CAISO or Utility initiated reliability events.

Customer Over-Ride - Refers to a person adjusting the functional behavior of a device to ignore Utility messages.

Provisioning - Describes the commissioning or binding process of connecting a device to the network.

Pending Event - Refers to a price event or emergency event that is scheduled but has not yet happened.

Active Event - Refers to a price event or emergency event that is underway.

Installed Service Point (ISP) - Uniquely identifies the service delivery point.

Home Area Network (HAN) – customer’s premise communication system.

Health Check - Operation performed by HAN device to determine proper functionality.

Neighborhood Area Network (NAN) – communication system between multiple customer premises

System Owner - The entity responsible for oversight and control of the entire system.

System Operator	- The entity responsible for operation and control of a specific and defined geographic / service area.

Manufacturer - The entity responsible for production of the HAN device.

Installer - The entity responsible for placing the HAN device in service within the customer’s premises.

PCT - The Programmable Communicating Thermostat in the customer’s premise.

# Comments

Terry

Jack

Zahra

Zahra

Jeremy/Jack