Use Case Description

Pool pump controller (controller) integrates with the respective Home Area Network (HAN), and the Utility Communication system, and responds to commands to drop load for grid reliability, economic dispatch, and price responsive programs.   These scenarios are expectations of device functionality and device/HAN interaction and communication

Use Case Narrative

Two types of controllers are described: (A) simple on/off controller switch that is separated from the timer and (B) smart controller integrated with the timer.  The communication protocol for the controller to enable pool pump control, whether for grid reliability, economic dispatch, or price responsiveness, is dependent on the HAN.

Use Case Assumption

These use cases assume that following:

- The utility HAN interface exists.

- A process exists to connect/bind the customer’s HAN to the Utility HAN interface.

- HAN communications may be limited to the customer’s HAN, and may securely Cross the Utility HAN interface.

- The controller has undergone safety testing conducted by an approved test facility (Manufacturers to determine).

- The communications between the controller and the HAN complies with all applicable FCC requirements.

- The controller is compatible with any enhancements to the HAN.

- The original equipment manufacturer provides operating manuals and technical support for the controller to the end use customer. This includes installation, operating, and troubleshooting the controller.

Scenario 1 (Simple Pool Pump Controller Switch)

In this scenario, a customer enrolls in a DR program specifically designed for pool pumps. The controller is a separate device and resides between the timer and the pool pump. The controller has minimal intelligence and sends and receives signals through the HAN.  Utility dispatches price and grid reliability DR program control commands through the HAN to the pool pump controller.

- A customer enrolls in a pool pump DR program.

- The electrician installs the controller in-line between the timer and the pool pump.

  - The controller communicates with the HAN.

  - Upon proper installation, the controller indicates the status of the communication link to the HAN.

- Customer activates the communications aspect of the controller to connect to the HAN.  The controller’s identity is confirmed, and is linked to the HAN.

  - The controller is capable of remote self-registration using the HAN, when activated by the customer or his agent or directly with the Utility when no consumer HAN/gateway exists.

  - The controller restores communications to the HAN from temporary (24 hours) power outages without requiring re-registration or manual reset.

- CAISO or electric grid operator notifies utility of the need to drop load for grid reliability.

  - Utility sends communications message of reliability event activation via HAN to the pool pump controller.

  - The pool pump control receives encrypted load control commands transmitted via HAN.

  - The controller verifies the source of the message to drop load and execute command only after validation. Verification includes message authentication and integrity checks.

  - The controller is uniquely addressable through the HAN once located geographically.

  - The controller sends its current state via the HAN to a HMI and AMI network.

- The controller acknowledges receipt of signal back to Utility via the HAN to a HMI (if installed) and AMI network.

  - The controller may have the capability for secure request and return messages such as customer overrides, validation, status, etc… to the Utility via HAN.

  - The controller provides its current “on or off” status to the HAN.

  - The controller is capable of responding to emergency signals within 2 seconds upon receipt of message from HAN.

Scenario 1B (Simple Pool Pump Controller Switch– Communications Failure)

Controller is no longer receiving and/or responding to the HAN.

- Customer sees that the controller or HMI display indicates a communications error.

  - The controller or HMI indicates a communications failure when the controller is no longer sending or receiving remote signals from the HAN.

  - The controller regularly communicates with the HAN to indicate communication status.

  - The controller accommodates an ad-hoc communications verification from the HAN. (Note: customers may turn off equipment (breakers for example) that may generate communications errors)

Smart Pool Pump Controller: In the following scenarios, a customer enrolls in a DR program specifically designed for pool pumps. The controller is integrated with the pool timer & controls. The controller has more intelligence and sends and receives signals through the HAN and allows remote programming of future applications, enhancements, upgrades, and time schedules.  Utility dispatches price and grid reliability DR program control commands through the HAN to the pool pump controller.

General Requirements:

- The electrician installs the integrated pool controller to the pool pump.

  - The controller is manufactured by multiple vendors.

  - The controller communicates with the HAN.

  - The controller is a commercially available, off-the-shelf product commonly available at pool equipment retail outlets and through licensed contractor sales channels.

  - The controller is minimally capable of storing user defined operating time schedules in memory.

  - Upon proper installation, the controller indicates the status of the communication link to the HAN.

  - The controller supports HAN programming of future applications, enhancements, operating time schedules or software upgrades.

  - The controller recovers from temporary (24 hours) power outages without requiring reprogramming or manual reset of the timer.

  - Daily the controller receives and synchronizes time and rate information from the HAN.

- A customer enrolls in a program.

- Customer activates the communications aspect of the controller to connect to the HAN.  The controller’s identity is confirmed, and is linked to the HAN.

    - The controller remotely self-registers using the HAN, when activated by the customer or his agent or directly to the Utility when no customer HAN/gateway exists.

    - The controller is aware of the type of pool pump (variable versus fixed speed) and upon registration (or change-out of pump), communicates that information back to the HAN.

Scenario 2A (Smart Pool Pump Controller - Reliability)

- CAISO or electric grid operator notifies utility of the need to drop load for grid reliability.

- Utility sends communications message of DR event activation via HAN to pool pump controller.

- The pool pump control receives encrypted load control commands transmitted via the HAN.

- The controller verifies the source of the message to drop load and executes command only after validation. Verification includes message authentication and integrity checks.

- The controller is uniquely addressable through the HAN once located geographically.

- The controller sends its current state through the HAN to the HMI and Utility.  Upon customer override action, the controller conveys such action via the HAN to the HMI and AMI network.

      - The controller acknowledges receipt of signal back to the HAN and curtails load.

- The controller may have the capability for secure return of messages such as override signals, validation, status, etc… to the Utility via HAN.

- The  controller is able to initiate a maximum of 24 events during the same day, of fifteen minute duration minimum, operating in or out of sequence (i.e., subsequent programs dispatched, concurrent programs dispatched)

- The controller communicates the “on or off” status of the pool pump to the HAN.

- The controller is capable of being pre-programmed to respond to emergency signals from HAN and will activate within 2 seconds upon receipt of message from HAN.

- The controller returns to the user pre-specified operating schedule after an event has expired or a restore command is received via the HAN.

  - The controller is capable of randomly restoring its user specified operating schedule within a programmed recovery time frame.

Scenario 2B (Smart Pool Pump Controller – Price Response)

Utility dispatches for local emergency, economics or calls a price responsive DR program and controls the load by communicating with the controller through the HAN.

- Customer is already enrolled in price-responsive program.

- Customer receives notification of event and for the price response case, the appropriate pricing information.

  - The controller is capable of responding to relative price (low, medium, high, critical).

  - The HAN is capable of differentiating between emergency/reliability, economic dispatch, and/or price-response event signals.

  - The controller receives information on pending pricing event (event type, event date, start/end time, pricing).

- Economic or price event is activated and load drop occurs.

  - The controller is pre-programmed to respond to economic or price signals and activates in 2 seconds upon receipt of message from HAN.  (Note: concerns on complexity of customer interface)

  - The controller responds back with an acknowledgment to the HAN that load has been dropped or that the control message has been received.

- Customer chooses not to participate in economic or pricing event.

  - The controller initiates a signal of a customer override to an event.  The controller sends override status back to the HAN.

- Controller restores load to the user specified set points after an event has expired or a command is received via the HAN.

  - The controller restores dropped load at random time intervals within a programmed recovery time frame.

Scenario 2C (Smart Pool Pump Controller – Event Logging)

Customer receives utility bill and would like to confirm the correct credit/charge was applied.

- Customer receives the bill, with credits/penalties applied.

- Customer views a log of events on the HMI.

  - The controller is capable of providing a log of the last 20 HAN events. This includes a record of received communication, new programming instructions, and actions as a result of load control events. (Note: cost considerations may not justify expense to intelligent controller for residential consumer use – could be addressed through diagnostic functions )

Scenario 2D (Smart Pool Pump Controller – Reset & Diagnostics)

Customer confirms that the DR event has ended, but the pool pump does not work.

- Customer attempts to turn on pool pump but it does not respond.

- The controller, after a configurable delay at the end of the DR event or a default time period from the start of the event, enables the user to reset the controller defaults and restore normal operations.

- If step 2 fails, customer calls the utility to report problem. Utility confirms no event in progress, HAN or AMI indicates normal state, and recommends that the customer contact their controller manufacturer or pool pump installer to troubleshoot.

- The controller may be capable of providing diagnostic data via HAN.

  - The controller may receive a request for diagnostic data via the HAN from the HMI or the Utility.

  - The controller may respond with a diagnostic text file via the HAN to the HMI or the Utility.

Scenario 2E (Smart Pool Pump Controller – Communications Failure)

Controller is no longer receiving and/or responding to the HAN.

- Customer sees that the HMI display indicates a communications error.

- The HMI indicates a communications failure when the controller is no longer sending or receiving remote signals from the HAN.

- The controller regularly communicates with the HAN to indicate communication status.

- The controller accommodates an ad-hoc communications verification from the HAN. (Note: customers may turn off equipment (breakers for example) that may generate communications errors)