| AMI System Security Architectural Description |  |
| --- | --- |
|  | Version 0.30 Sep 2, 2008 |

Change History

| Author | Date | Version | Description |
| --- | --- | --- | --- |
| Bobby Brown | 4/24/08 | 0.1 | Draft |
| Darren Highfill | 4/30/08 | 0.15 | Draft |
| Bobby Brown | 6/13/08 | 0.20 | Draft |
| Bobby Brown | 6/24/08 | 0.21 | Draft |
| Bobby Brown | 8/16/08 | 0.22 | Draft |
| Bobby Brown | 9/2/08 | 0.30 | Draft |

Contributing Authors:  Bobby Brown, Darren Highfill, James Ivers, Ben Rankin, Rick Wornat

Table of Contents

Introduction	4

Summary	4

1	Assumptions	5

1.1	Scope	5

1.2	Mission	6

1.3	Stakeholders & Concerns	7

1.4	Security Analysis Approach	8

1.5	Architecture Description Approach	9

1.5.1	Viewpoints	10

1.5.2	Views	10

1.6	Glossary and Acronyms	11

1.7	References	13

2	Use Cases	15

2.1	Billing	15

2.2	Customer	17

2.3	Distribution System	18

2.4	Installation	20

2.5	System	20

3	Views	22

3.1	Contextual View	22

3.1.1	Top Level Model	23

3.1.2	Customer Model	24

3.1.3	Third Party Model	25

3.1.4	Utility Model	26

3.2	Decomposition View	29

3.2.1	Premise and Utility Edge Services Model	30

3.2.2	Communication Services Model	31

3.2.3	Managed Network Services Model	31

3.2.4	Automated Network Services Model	31

3.2.5	Utility Enterprise Services Model	31

4	Background, Design Constraints and Rationale	32

Appendix A	- Traceability	33

A.1	Risk	33

A.2	System Security Requirements	33

Appendix B	- AMI Value Streams at Risk	34

Appendix C	- Relation to Industry and Government Standards	36

Introduction

This chapter gives a summary and describes the scope of this report.

Summary

Architecting is concerned with developing satisfactory and feasible system concepts, maintaining the integrity of those system concepts through development, certifying built systems for use, and assuring those system concepts through operational and evolutionary phases. The definition of architecture is the fundamental organization of a system embodied in its components, their relationships to each other, and to the environment, and the principles guiding its design and evolution. [IEEE 1471-2000]

The focus of this document is Architectural Descriptions (AD). ADs are particular descriptions of architecture that are concrete products or artifacts.

This paper begins by defining the overall scope of this document, the scope of Advanced Metering Infrastructure (AMI) discussed herein, and a mission (or objective) for the Security Architecture. The paper then discusses the context as it relates to AMI security; next the stakeholders of the AMI system are defined, followed by the conceptual and supporting viewpoints and views. A glossary is included at the end for reference.

# Assumptions

## Scope

The scope of this document is to define the Advanced Metering Infrastructure (AMI) Security Architecture. AMI-SEC taskforce defines AMI as:
The communications hardware and software and associated system and data management software that creates a network between advanced meters and utility business systems and which allows collection and distribution of information to customers and other parties such as competitive retail providers, in addition to providing it to the utility itself. AMI is further defined as: 1) The hardware and software residing in, on, or closest to the customer premise for which the utility or its legal proxies are primarily responsible for proper operation; and 2) The hardware and software owned and operated by the utility or its legal proxies which has as its primary purpose the facilitation of Advanced Metering.

The goal of this document is to describe the abstract (logical, platform-agnostic) mitigation plan for addressing requirements identified in the Risk Assessment / System Requirements Document. The following approach has been taken in designing the system:

Approach

- Architectural Representation of Security Systems

- Logical Function Descriptions

- System, Subsystem, and Function Boundaries

- Reference: IEEE 1471-2000

This document is intended to focus on security architecture, and is not intended to cover enterprise level AMI architecture, except to describe a security concept. The objective of architecting is to decompose the system into its primary views in order to describe the system enough to complete the mission of AMI security. The architecture does not extend beyond the external visible properties of the elements of the system. That is, non-visible properties are left to the designers, implementers and integrators of the system.

The following image represents the 10,000 foot view of AMI. This document begins by explaining the interactions between external actors and the AMI system (see section 3.1). The next view zooms in on the AMI system by describing the system with a decomposition view (section 3.2). Each iteration provides deeper granularity and traceability between views.

AMI-SEC is developing other relevant documentation in parallel that supports the AD including the AMI Risk Analysis and System Security Requirements (SSR) documents. The Risk Analysis walks the utility through a method of determining a risk-to-value of an asset. Assets in terms of these documents are considered to be the business level value streams to the utility. The appendix of the AMI Risk Analysis includes catalogues for assets, vulnerabilities, and threats. The SSR document includes AMI-SEC’s approach to conducting a requirements assessment and applying requirements. Traceability between views in the AD and requirements defined in the SSR are maintained for consistency and rationale.

This document develops security around commonly known AMI use cases selected from use cases shared by utilities to AMI-SEC. It is assumed that AMI will evolve supporting additional uses and variants, but these uses cannot be predicted. Therefore, a goal of this AD is to group use cases that possess commonality in security treatment in order to support the evolution of AMI.

## Mission

The mission of the AMI Security Architecture is to provide understanding of AMI security, communication among stakeholders and serve as a basis for system analysis. It is important to understand that the task of this architecture is not to provide the groundwork to build the entire AMI system, but to secure it, which is inherently nontrivial.

The information contained in this document will provide an introduction to AMI Security to interested parties. Newcomers will find this document a starting point for understanding the elements, interfaces, and structure of AMI security.

This document will serve to provide communication among stakeholders including designers of the system, implementers, integrators, testers and operators. All architecture is design, but not all design is considered architecture. The mission in communication is to produce sufficient guidance for stakeholders so that they understand the architecture well enough to perform their role.

The architecture will also serve to provide information needed the support analysis performed for security objectives including availability, integrity, confidentiality, access control and accounting.

The architecture will cross-check with information contained in the Requirements document to provide reasoning for requirements selection.

## Stakeholders & Concerns

This section describes the stakeholders and their concerns. A stakeholder is any individual or group of individuals with interests or concerns associated with the system. All actors of the system are stakeholders, but not all stakeholders are actors. For example, an investor may have a stake in the success of the AMI system, but may not interact directly with the AMI system.

Stakeholders identified to be relevant to the security architecture are:

- Customer Users of the system

- Operators of the system

- Responsible Entities of the systems

- Developers of the system

- Implementers of the system

- Maintainers of the system

Concerns that stakeholders may have from a security perspective for the entire AMI system

General Stakeholder Concerns:

- Integrity of the system

- Availability of the system

- Confidentiality of the system

- The purpose or missions of the system as pertains to security

- The appropriateness of the system for use in fulfilling its missions to security

- The feasibility of constructing the system

- The risks of system development and operation to users, acquirers, and developers of the system

- Maintainability, deploy-ability, and evolve-ability of the system

Each viewpoint defined for AMI security possesses specific concerns defined with each viewpoint under the following section.

Potential examples of AMI security concerns by stakeholders:

| STAKEHOLDER | SECURITY CONCERN |
| --- | --- |
| Residential Customer | Privacy |
| Utility Operator | Integrity of information and system control |
| Regulators | Integrity of system and compliance with regulations |
| Telecom Provider |  |

Table 1

## Security Analysis Approach

The security analysis approach is to evaluate each view under the security principles of availability, integrity, confidentiality, access control and accountability. The high level models are in the form of Use Cases. At least one security objective is identified with each Use Case by evaluating against these security principles.

- Availability

  - Ensure the desired resource is available at the time it is needed.

  - Ensure the desired resource is accessible in the intended manner by the appropriate entity.

- Integrity

  - Ensure the desired resource contains accurate information.

  - Ensure the desired resource performs precisely as intended.

- Confidentiality

  - Ensure the desired resource is only accessible to the desired targets.

  - Ensure the desired resource is only accessible under the designated conditions.

- Access Control

  - Ensure resource access follows the designated procedure.

  - Ensure access mechanisms provide sufficient management capabilities to establish, modify, and remove desired criteria.

- Accountability

  - Ensure system activities can be reconstructed, reviewed, and examined from transaction inception to output of final results.

  - Ensure system controls are provably compliant with established policy and procedures.

## Architecture Description Approach

Quick primer on view based documentation (in accordance with IEEE 1471)

Roadmap for rest of the document (bit of a reader's guide for where to look for different kinds of information)

Introduce templates or patterns that will be used in subsequent sections, such a template for describing each view that will be presented; for each view

- what viewpoint it realizes

  - name & definition of the viewpoint (external pointer or brief definition)

  - what stakeholders and concerns it addresses (and to what extent)

  - language/notation to be used

- one or more models, where model includes

  - context diagram (i.e., how it relates to AMI as a whole or to other models within the same view)

  - a picture or other primary presentation, always with a key

  - brief descriptions (or pointers to such) for each element and relation type in the primary presentation

  - related models, such as scenarios related to the view

  - known or anticipated variations (likely very important here)

  - rationale, assumptions, or other background for the decisions depicted in the view

### Viewpoints

- Specifications of each viewpoint that has been selected to organize the representation of the architecture and the rationale for those selections

- One or more architectural views

- A record of all known inconsistencies among the architectural description’s required constituents

- A rationale for selection of the architecture

Each viewpoint shall be specified by:

- A viewpoint name,

- The stakeholders to be addressed by the viewpoint,

- The concerns to be addressed by the viewpoint,

- The language, modeling techniques, or analytical methods to be used in constructing a view based upon the viewpoint,

- The source, for a library viewpoint (the source could include author, date, or reference to other documents, as determined by the using organization).

A viewpoint specification may include additional information on architectural practices associated with using the viewpoint, as follows:

- Formal or informal consistency and completeness tests to be applied to the models making up an associated view

- Evaluation or analysis techniques to be applied to the models

- Heuristics, patterns, or other guidelines to assist in synthesis of an associated view

Viewpoint specifications may be incorporated by reference (such as to a suitable recommended practice or previously defined practice).

An AD shall include a rationale for the selection of each viewpoint. The rationale shall address the extent to which the stakeholders and concerns are covered by the viewpoints selected.

### Views

An architectural description is organized into one or more constituents called (architectural) views. Each view addresses one or more of the concerns of the system stakeholders. The term view is used to refer to the expression of a system’s architecture with respect to a particular viewpoint.

The relationship between viewpoint and view is analogous to that of a template and an instance of that template. The viewpoint is the template and the view is the instance of the template.

## Glossary and Acronyms

| View | The expression of a system’s architecture with respect to a particular viewpoint. |
| --- | --- |
| Viewpoint | Is used to designate a means for constructing a view that is independent of a particular system. The term was chosen to align with that of the ISO Reference Model of Open Distributed Processing (RM-ODP), which defines viewpoint as follows (but has no separate term for view); viewpoint (on a system): a form of abstraction achieved using a selected set of architectural constructs and structuring rules, in order to focus on particular concerns within a system. |
| Viewpoint Language | The languages (including notations, model, or product types) to be used to describe the view and any associated modeling methods or analysis techniques to be applied to these representations of the view. These languages and techniques are used to yield results relevant to the concerns addressed by the viewpoint. |
| AMI | See Advanced Metering Infrastructure. |
| Advanced Metering Infrastructure | The Advanced Metering Infrastructure (AMI) is made up of various back office systems that are required to enable remote two-way communications and control with meters and allow for data storage and retrieval. |
| AMI Meter | A device that receives, records, displays and transmits data (e.g. usage, generation, text messages, event logs, etc.) to authorized systems (e.g. ADCS) and provides other advanced utility functions. |
| ADCS | Automated Data Collection Systems. (See Meter Data Management System) |
| Automated Data Collection Systems | See Meter Data Management System. |
| Field Service Terminal | A tool used by authorized Field Service personnel to query AMI meters and manually download all data contained within the meter. |
| MDMS | See Meter Data Management System. |
| Meter Data Management System | Manages data collection (recognizes when data doesn’t come in, automatically attempts to retrieve data from meter that wasn’t collected). |
| Billing Usage System |  |
| Customer | A consumer of energy services that participates in AMI; responsible for load reduction. (residential, commercial, industrial and potentially municipal) |
| Head End |  |
| DRAACS | See Distributed Resource Availability and Control System. |
| MDUS | Meter Data Unification System (See Meter Data Management System) |
| Distributed Resource Availability and Control System | A system that collects detailed information about customer loads and customer response patterns. It also maintains information regarding the number of times a customer has complied in a given time period vs. the compliance requirements of the tariff applicable to that customer. This information is brought together for the user so that the user can see what probable load is available to be curtailed in total and at various points in the network. The system will also receive and process requests for curtailment and will balance the requests across subscribers based on load, and how recently they have been curtailed. |
| EMS | See Energy Management System. |
| Energy Management System | System that controls HAN Devices. It has the ability to measure load of various pieces of equipment and control their operation. |
| Load Reduction Model System | A system that supports the development, maintenance and analysis of models to predict load reduction available based on the past load data and customer behavior. |
| GCC | See Grid Control Center. |
| Grid Control Center | Operates the utility transmission grid and measures load at the customer site |
| HAN | See Home Area Network. |
| Home Area Network |  |
| HAN Devices | Equipment owned by the Customer (or, in some cases, the Utility) and operating on the same HAN as the Utility HAN devices and providing energy management services to the AMI. |
| Meter | See AMI Meter. |
| Customer Interface | Any user interface available to the customer to display information related to load management and/or energy management, including but not limited to a PCT, In-home LCD display, Personal Computer, Fridge Magnet, EMS, etc. Connects to, commissions and configures HAN devices in the customer premises. Configures appropriate demand response information such as price, consumption, load or event responses. May store data for customer audit and analysis. |
| Neighborhood Aggregator | Handles collection of information from all associated field and premise equipment. |
| Edge Data Center Aggregator | Handles collection of information from all field and premise equipment via the Neighborhood Aggregator. |
| Utility AMI Gateway | The logical network interface between the AMI and the HAN regardless of how that interface is embodied – e.g. meter, substation, aggregator, set-top box, DSL router, WiMAX box, etc. |

## References

This report makes use of the following references:

[B1]	Advanced Metering Infrastructure (AMI) Program – AMI Use Case (Draft), by Southern California Edison, 2006.

[B2]	Clements, P.; Bachmann, F.; Bass, L.; Garlan, D.; Ivers, J.; Little, R.; Nord, R.; & Stafford, J. Documenting Software Architectures: Views and Beyond. Boston, MA: Addison-Wesley, 2002.

[B3]	IEEE Standard 1471-2000, IEEE Recommended Practice for Architectural Description of Software-Intensive Systems, by IEEE Computer Society, 2000.

# Use Cases

AMI Use Cases have been organized into five different categories consistent with the primary value streams they support.  These five categories/value streams are:

- Billing

- Customer

- Distribution System

- Installation

- System

## Billing

There are four primary use cases in the Billing category.

- Multiple Clients Read Demand and Energy Data Automatically from Customer Premises

- Utility remotely limits usage and/or connects and disconnects customer

- Utility detects tampering or theft at customer site

- Contract Meter Reading (or Meter Reading for other Utilities)

1 and 4 are directly related to the electronic capture and processing of time-based energy and demand data from customer meters to support the core Billing process of the electric utility (1) or, on a contract basis, for a gas or water utility (4) .  The other Billing Use Cases explore other functionality that can be leveraged from having installed AMI meters in the field.  Use case 2 explores utilization of the remote connect/disconnect functionality of AMI meters.  Use case 3 considers how AMI meters and the data they capture can be leveraged to support the detection of energy theft.

Business value in the Billing area is created in several different ways.  By automating the collection of time-based energy usage and demand, the utility is able to significantly transform the process for collecting energy and demand information to support the billing process.  The traditional process for collecting meter data (manually recording meter dial settings on a monthly basis) is replaced by a fully automated, electronic capture process.  Because the energy data is captured in intervals of time (typically 15 minute intervals), AMI systems enable time-based rates.  Time-based billing rates vary throughout the day, reflecting changes in the balance between energy supply and demand.  Although the primary implementers of AMI have been electric utilities, the potential exists for the infrastructure to be leveraged to capture gas and water meter data as well – either for the host utility if they deliver those commodities or for another utility (on a contract basis).

Other business value accrues from functionality that the AMI meters can provide.  AMI meters typically are outfitted with remote connect and remote disconnect capability.  This allows the utility to initiate or terminate service remotely, without having to send a field technician.  This functionality supports the routine Move-In/Move-Out processes as well as the credit/collections processes.  Disconnects for non-payment (and subsequent reconnects) can be accomplished remotely rather than requiring on on-site presence.  AMI meters also come with functionality that can help utilities identify potential meter tampering or energy theft/diversion.

Finally, AMI provides a wealth of data that various entities within the utility to use to create additional business value.  These areas include the following:

- Distribution system design – granular data on actual customer energy usage can be utilized for more optimal design of distribution system components

- Distribution planning – the utility has a wealth of usage and demand data by circuit that can be analyzed to better target investments in new distribution facilities to meet growth in demand

- Distribution operations and maintenance – the Distribution organization has a wealth of data for improved state estimation, contingency planning, and asset management

- Marketing – AMI data can be analyzed to develop energy services/products to meet customer needs

The following table summarizes the major business processes supported by the Billing Use Cases and the key areas of business value that they enable.

| Use Case | Short Title | Major Processes Supported | Business Value |
| --- | --- | --- | --- |
| 1 | Auto-Capture Customer Energy and Demand Data | Read Meters Validate Meter Reads Generate Customer Bills | Eliminate meter reader labor cost and meter reading infrastructure cost Increase billing accuracy Enable time-based rates Enable improved Distribution system design Distribution planning Distribution operations and maintenance Marketing |
| 2 | Remote Connect/ Disconnect | Establish service Terminate service Manage credit/collection | Reduce field service truck rolls Labor Transportation Reduce bad debt Reduce energy losses |
| 3 | Tamper Detection | Protect revenue; reduce energy theft | Reduce lost revenue |
| 4 | Meter Reading for Other Utilities | Read gas/water meters Read gas/water meters (other utilities) Transfer meter reading data to other utility | Eliminate meter reader labor cost and meter reading infrastructure cost Create additional source of revenue Leverage AMI investment |

## Customer

Four Use Cases have also been defined under the category of Customer:

- Customer reduces their usage in response to pricing or voluntary load reduction events

- Customer has access to recent energy usage and cost at their site

- Customer prepays for electric services

- External clients use the AMI to interact with devices at customer site

Use Case 1 explores how the AMI system, working together with customers, can create mutually-beneficial programs to manage energy demand/consumption.  Use Case 2 is related to 1 in that it describes ways that customers can access information about their energy costs and consumption, and how they can receive messaging from the utility informing the customer of an upcoming peak energy event, requiring/requesting customer load reductions.  Customer Use Case 4 is directly related to the previous use cases as well in that it describes how a customer’s energy cost/consumption data can be shared with a third party energy service provider to outsource the customer’s energy consumption.  Use Case 3 describes how AMI functionality can be leveraged to enable customer pre-payment for energy.

The primary business value in the Customer Use Cases comes from an enhanced ability to manage peak load on the distribution network.  By communicating pricing signals and upcoming peak load events to customers, customers can modify their energy consumption behavior to reduce their energy costs.  The utility benefits by reducing the potential for outages resulting from overload of the system and deferring new capital investments to provide increased capacity.  Another source of business value unique to Use Case 3 (Customer Prepayment) accrues to the utility through reduction in bad debt and improved cash flow.

The following table summarizes the major business processes supported by the Customer Use Cases and the key areas of business value that they enable.

| Use Case | Short Title | Major Processes Supported | Business Value |
| --- | --- | --- | --- |
| 1 | Demand Response/Load Reduction | Manage Energy Demand/Consumption | Reduce peak load Defer new construction Green benefits Reduce outages |
| 2 | Customer Access to Energy Data | Provide Energy Information to Customers and Third Parties | Customer energy awareness Reduce peak load |
| 3 | Customer Prepayment | Collect Revenue from Energy Sales | Reduce bad debt Improve cash flow Improve customer convenience/satisfaction |
| 4 | Third Party Energy Management | Manage Energy Demand/Consumption | Reduce peak load Customer satisfaction |

## Distribution System

Four Use Cases have been defined for the Distribution System category:

- Distribution Operations curtails customer load for grid management

- Distribution Engineering or Operations optimize network based on data collected by the AMI system

- Customer Provides Distributed Generation

- Distribution Operator locates Outage Using AMI Data and Restores Service

Distribution System Use Case 1 is similar to Customer Use Case 1. Both use cases describe the process to send signals to customers for the purpose of reducing load on the system, typically during a system peak.  Customer Use Case 1 describes demand response events that the customer can voluntarily participate in using a price signal or a load control signal that the customer may ignore. Distribution System Use Case 1 describes demand response events that are non-voluntary using load control signals or meter disconnection commands. Distribution Use Case 2 explores how data gathered by the AMI system can be utilized (either online or offline) to improve power quality and the overall performance of the distribution network.  Distribution Use Case 3 describes how the AMI system can interface with distributed generation (small, customer-owned generation) to improve network operations and reduce off-system energy purchases.  Use Case 4 investigates how the AMI system can be leveraged to support the identification of outages on the system and to facilitate the restoration of power following an outage.

The primary areas of business value in the Distribution System Use Cases are related to improving network operations.  Optimizing network operations can result in reduced energy losses, reduced outage frequency, and increased customer satisfaction (improved power quality).  In addition, Use Case 4 explicitly describes processes to reduce outage duration and, therefore, customer satisfaction.

The following table summarizes the major business processes supported by the Distribution System Use Cases and the key areas of business value that they enable.

| Use Case | Short Title | Major Processes Supported | Business Value |
| --- | --- | --- | --- |
| 1 | Emergency Demand Response | Manage Energy Demand/Consumption | Reduce peak load Defer new construction Reduce outages |
| 2 | Distribution Network Optimization | Manage Power Quality Optimize Distribution Network Manage Outages | Customer satisfaction Reduce energy losses Improve outage performance |
| 3 | Distributed Generation | Optimize Distribution Network Manage/Dispatch Distributed Resources | Network Optimization Reduced Off-System Energy Purchases |
| 4 | Outage Location and Restoration | Manage outages | Reduced outage duration Customer satisfaction |

## Installation

Three Use Cases have been defined for the Installation category:

- Utility installs, provisions, and configures the AMI system

- Utility Manages End-to-End Lifecycle of the Meter System

- Utility upgrades AMI to address future requirements.

Use Case 1 describes the process for deploying an AMI system, including the initial deployment plan, the forecasting and procurement process, logistical support, and field installation/testing/configuration.  Use Case 2 focuses on managing the AMI system components through their life cycle, including maintenance and asset retirement.  Use Case 3 explores future upgrades to the AMI system functionality and performance with particular attention to future deployment and integration of customer Home Area Network (HAN).

The key areas of business value in the Installation Use Cases include optimization of deployment costs and schedule for AMI system implementation, minimizing AMI operations and maintenance costs, maintaining billing accuracy, minimizing risk, and accommodating future growth and development within the AMI infrastructure.

The following table summarizes the major business processes supported by the Distribution System Use Cases and the key areas of business value that they enable.

| Use Case | Short Title | Major Processes Supported | Business Value |
| --- | --- | --- | --- |
| 1 | AMI System Deployment | Deploy AMI system | Optimize deployment costs/schedule |
| 2 | AMI System Maintenance | Maintain AMI system | Minimize AMI O&M costs Maintain billing accuracy |
| 3 | AMI System Upgrade | Upgrade/enhance AMI system functionality/performance Deploy/support customer HAN | Minimize risk Accommodate growth and future functionality |

## System

The final Use Case category is System.  Only one Use Case has been defined for this category:

- AMI system recovers after outage, communications or equipment failure.

System Use Case 1 explores how the AMI system responds and recovers to individual component failures, communications failures, and broader outages/disasters.  The primary business value in this use case comes from maintaining AMI system integrity through unplanned equipment failures or distribution system outages.

| Use Case | Short Title | Major Processes Supported | Business Value |
| --- | --- | --- | --- |
| 1 | AMI System Recovery | Recover from AMI component and telecommunications failures Recover from major area outages/disasters | Maintain system integrity |

# Views

## Contextual View

The primary goal of this view is to identify the external points of interaction (physical and logical/data) between AMI and anything outside of AMI. Once these points of interaction are defined, security architecture is developed to address the concerns of the stakeholders involved. Use cases are used to model customer, third party and utility interactions with AMI in sections 2.1.2, 2.1.3 and 2.1.4.

Elaborations of the interactions in this view are unlikely to be complete; they should, however, provide representative examples of

- Use cases of the outside world interacting with (stimulating) AMI

- Use cases of AMI interacting with (stimulating) the outside world

- Misuse or abuse cases in either direction; that is, specific uses that should be prevented

- Any sub-categories of the actors, to the extent that their uses are different and imply different security needs (leading to identification of access domains/privilege levels?)

- Physical interactions (e.g., installing a meter or physical access to assets like collectors)

- Logical interactions (e.g., user monitors or modifies settings with the utility via web browser or utility initiates a demand-response interaction with a residence)

Elements of the view are the AMI system (as a black box), human actors, and connected systems.

Relations of the view are vague - "interacts with", with elaboration in the prose.

### Top Level Model

The top level model represents a high level view of the external stakeholders that interact with the AMI system. This model is used to provide an understanding of security concerns of interaction with AMI for these stakeholders.

General security interaction needs:

- Customers are the consumers of AMI services and have a primary desire of availability and privacy from AMI and service value.

- Third Parties manage AMI resources with delegated authority from the Customer or Utility through an established trust relationship.

- Utilities provide AMI services and primary desire reliably gather information from the Customer to support the availability, resiliency and survivability of the electric grid.

Constraints:

- Bandwidth – current technologies have limited bandwidth for providing security services (examples: encryption, network management services).

- Latency – the time between when data is requested or generated and the time it is received. In many cases, data is only useful if received within a specific window of time.

- Storage – devices that store information either persistently or stage data temporarily are limited in the amount of data they are capable of storing at any given time.

- Processing – the rate at which a device can process information. It is important to keep in mind cryptographic functions require additional processing horsepower above normal processor usage.

### Customer Model

The customer model focuses on the interactions between a customer and the AMI system. Customers may include sub-actors such as:

- Residential Customer (Private home owners)

- Commercial Customer (Office buildings, Apartment Complexes)

- Industrial Customer (Manufacturing plants)

- Municipalities Customer (Street lights, traffic lights, subways)

Sub-actors may be considered in the instance that there is different security treatment applied based on the role a sub-actor plays. If the security treatment of all sub-actors is the same or similar then the group is treated as a whole. The differentiating properties are identified in the cases where sub-actors only differ slightly in the treatment of security. The following diagram represents the relationship between the customer and AMI system where the customer may perform a stimulus on the AMI system or vice versa.

The following use cases are used to define the relationship between the customer and AMI:

Customer reduces their usage in response to pricing or voluntary load reduction event:

- The utility can notify customers through the AMI system that demand reduction is requested for the purposes of either improving grid reliability, performing economic dispatch (energy trading), or deferring buying energy.
Security Objective:

- There are two levels of advanced warning which are envisioned for AMI demand response systems as outlined in Distribution Use Case 2. The first being predicted energy shortages—a few hours notice in advanced—and the emergency shortages—minute to sub-minute notices.
Security Objective:

Customer has access to recent energy usage and cost at their site:

- Customers can view a variety of information being gathered by their meter, permitting them to make energy-efficient choices and to shift demand to off-peak periods.  Customers may access this information through a variety methods.
Security Objective:

Customer prepays for electric services:

- Customers of the AMI system can prepay their accounts and read their current balance. Pre-pay may be done through the internet, phone, or other method.
Security Objective:

External clients use the AMI system to interact with devices at customer site:

- The Advanced Meter Infrastructure (AMI) will enable third parties, such as energy management companies, to use the communication infrastructure as a gateway to monitor and control customer equipment located at the customer’s premise.  The AMI will be required to enable on-demand requests and support a secure environment for the transmission of customer confidential information.
Security Objective:

### Third Party Model

The third party model represents the interaction between third parties and the AMI system. Third parties include utility contracted organizations such as a telecom provider, other utility, etc.

The following are use cases describing the relationships between potential third parties and the AMI system.

Multiple Clients Read Demand and Energy Data Automatically from Customer Premises:

- The AMI system can be used to permit gas and water utilities, contract meter readers, aggregators and other third parties to read electrical meters, read gas and water meters, or control third-party equipment on customer premises.
Security Objective:

### Utility Model

The utility model describes interactions between the Utility stakeholder and the AMI system in order to describe the security treatments that need to be applied.

Utility stakeholder security concerns about AMI:

- Loss of competitive advantage

- Loss of billing integrity

- Service degraded

- Increased cost

- Regulatory compliance

The following are use cases describing the relationships between the Utility and AMI.

Remote Meter Reads

- The AMI system permits the utility to remotely read meter data in intervals so that customers may be billed on their time of use, and demand can therefore be shifted from peak periods to off-peak periods, improving energy efficiency.
Security Objective:

Remote Connect / Disconnect

- The AMI system permits customers' electrical service to be remotely connected or disconnected for a variety of reasons, eliminating the need for utility personnel to visit the customer premises.
Security Objective:

- It should also provide an efficient way in which to initiate/terminate a service agreement between customer and utility via remote switching service(on/off)
Security Objective:

- Posses the ability to remotely limit customer usage as a response to constrained supply as well as the customer’s inability to pay the cost for the service
Security Objective:

- In addition to the aforementioned the following business transactions should also be made available to the customer and utility:

  - Routine shut-off of service (move out

  - Routine turn-on of service (move in

  - Credit & Collections termination of service

  - Local/on site shut-off of service

  - Local/on site turn-on of service

  - Credit and Collection Service Limiting

Security Objective:

Energy Theft

- The AMI system can be used to report when customers are stealing energy or tampering with their meter.
Security Objective:

Outage Management

- The AMI system can be used to report outages with greater precision than other sources, or verify outage reports from other sources.
Security Objective:

Power Quality Analysis

- The AMI system can be used to analyze the quality of electrical power by reporting harmonic data, RMS variations, Voltage and VARs, and can communicate directly with distribution automation networks to improve power quality and fault recovery times.
Security Objective:

Distributed Generation Management

- The AMI system can be used to dispatch, measure, regulate and detect distributed generation by customers.
Security Objective:

- Additional benefits include, but are not limited, to the following:

  - An increase in customer’s willingness to participate in a load management program with the utilities

  - Provides a channel of communication from utility to load management devices

  - Reduction in the costs associated with the installation of AMI system components which would enable customer-provided distributed generation (this could increase customer’s willingness to participate as well since there wouldn’t be any out of pocket costs for the customer)

  - Creates an avenue for the utilities to dispatch and monitor those participants in distributed generation

Security Objective:

Optimizing Lifetime of Network

- With the advent of new communications, in particular: wireless communication systems, PLC, and BPL, AMI devices would have the ability to interact with the critical physical infrastructure (e.g. IED’s such as CBC (Capacitor Bank Control) systems in order to improve: circuit efficiency, loss reduction, and energy savings). This will help optimize the lifetime of the physical infrastructure. (Ref: Distribution Use Case 2)
Security Objective:

Management of the End-to-End Lifecycle of the Metering System

- An important requirement of such an AMI system would be the ability of the system to diagnose itself. The system should be able to: collect information about the status/health of certain devices, conduct remote diagnostics, and optimize operating parameters remotely. 
Security Objective:

AMI system adaptability

- The system should be able to adapt to anticipated changes that may or may not occur such as:

  - New physical communications methods

  - New features available from equipment vendors

  - New tariffs possibly with certain restrictions (e.g. number of rates or time)

  - Connections to new types of load control equipment

  - New communications protocols

  - Changes to operating parameters

  - New computing applications

Security Objective:

- The aforementioned should be accomplishable with minimal incremental cost in stark contrast to a wholesale system replacement
Security Objective:

Prepay

  - Utilities use the AMI system to enforce disconnection when the prepayment balance reaches zero.
Security Objective:

## Decomposition View

This section describes the internal use cases; cases where activity is stimulated from entirely within AMI itself. Examples are automation and intelligent responses. The following diagram describes the internal services provided by AMI. Assumption is made that measurement, monitoring, and application control encompass all services.

Legend:

- Utility Edge Services – All field services applications including monitoring, measurement and control controlled by the Utility

- Premise Edge Services – All field services applications including monitoring, measurement and control controlled by the Customer (Customer has control to delegate to third party)

- Communications Services – are applications that relay, route, and field aggregation, field communication aggregation, field communication distribution information.

- Management Services – attended support services for automated and communication services (includes device management)

- Automated Services – unattended collection, transmission of data and performs the necessary translation, transformation, response, and data staging

- Business Services – core business applications (includes asset management)

Stakeholders:

  - Customer Users of the system

  - Operators of the system

  - Responsible Entities of the systems

  - Implementers of the system

  - Maintainers of the system

Concerns:

How is integrity maintained for processes?

How is integrity maintained for data?

How is confidentiality of customer data maintained (e.g. customer usage)?

How is availability to utility assets maintained?

Viewpoint language:

Use Cases (Misuse Cases)

Note: Potentially move down from business functions.

Analytic Methods:

Penetration Testing

Auditing

Rationale:

This viewpoint was selected because it shows the relationship between AMI services requiring security measures.

### Premise and Utility Edge Services Model

Assumptions

Premise Edge services assumes one customer

Concerns

Is remote asset interfaced with utility edge or premise edge?

Security Use Cases

- Utility queries remote asset (i.e. meter)

  - Access to utility owned asset

- Remote asset generates unsolicited report (alert/alarm)

  - Is report authenticated?

- Utility Operations issues control command to remote asset

- Install, Commission, Maintenance, Decommission

  - Centralized AAA

- Edge device to edge device query or command

  - Centralized or federated AAA

  - Edge devices depend on AAA service to communicate

### Communication Services Model

Add text here.

### Managed Network Services Model

Add text here.

### Automated Network Services Model

Add text here.

### Utility Enterprise Services Model

Assumptions

Has storage (has security concerns e.g. integrity and confidentiality)

Have intelligent (e.g. automated response) services that will authenticate, authorize and account for usage (AAA)

Use Cases

- Utility Operations issues aggregate command to > 1 edge device

- Utility Operations issues singular command to 1 edge device

- Utility Operations queries 1 edge device

- Utility Operations queries multiple edge devices (broadcast)

- Utility Operations queries AMI system

- Utility Operations issues command to AMI system

- Utility issues command to Utility Operations

- Utility queries Utility Operations

- Install, Commission, Maintenance, Decommission

# Background, Design Constraints and Rationale

Capture decisions that restrict security solutions

- any standards whose use is mandated

- any infrastructure investments that cannot be modified or replaced

- consideration of security in isolation; incomplete reconciliation of conflicting needs of security and (for example) cost, modifiability, or performance

- Traceability

A series of mappings (probably tabular) between elements of the architectural views and

- system security requirements

- risks (replacing information likely to have appeared in 2.9)

(Will provide check and balance with between documents)

Risk

This section discusses views that are part of the risk-to-value for AMI Security.

After a utility develops its unique Risk Assessment, then traceability between the risk-to-value and architecture can be performed. Mapping from risk to architecture shows architectural rationale behind security design considerations, and the mapping from the architectural reasoning to risk shows the justification for architectural design decisions. Traceability between these two documents can serve as a means of validation.

System Security Requirements

- AMI Value Streams at Risk

- Enhance Revenue

  - AMI system creates the opportunity for new products, services and business ventures, and/or…

  - AMI system permits the recovery of revenue that would otherwise be missed.

- Improve Reliability

  - Enhanced demand response programs,

  - Improved outage management,

  - Enablement of advanced distribution automation, and…

  - Integration of distributed generation.

- Improve Service

  - Customers,

  - Business clients, and…

  - Society at large.

- Reduce Management Costs

  - Reduced capital equipment needs,

  - More effective planning,

  - Lower inventory costs, and…

  - Reduced legal and tax costs.

- Reduce Operational Costs

  - Labor,

  - Transportation,

  - Maintenance,

  - Installation, and…

  - Energy procurement.

- Relation to Industry and Government Standards

We cannot be complete with regard to all relevant standards because

- being international in nature, there's just too many and not enough time

- standards are regulatory edicts will change over time

Need to consider:

- Regulatory organizations and roles

- Best practices and recommendations

- International and national standards

- Specifications

List a couple of examples of issues a utility needs to remember to take into account when deploying an AMI solution. This probably takes the form of mapping standards, etc. to existing or new security requirements and demonstrating that the concrete architecture satisfies those requirements.

# Comments

Probably/Maybe need to abstract these

Need to validate these need statements/objectives

Refer to business attributes in SABSA

Previously “Conceptual View” – may want to use this title instead?

Note:  Consider use cases where stakeholder produces stimulus that is out-of-band of AMI, but a response is generated through AMI. Example, customer sends/receives information to participate in AMI program through Internet/Phone service and Utility Enterprise Services respond through other services to Premise Edge. – Does this break the model?

May need to move this information to the Requirements document. We want the architecture to be traceable to value streams, but the value streams are not formable architectural material.

May want to talk about the reactive, inefficient nature of applying industry and government regulation to security.

# Text boxes

AMI

Customer

Utility

AMI

Third
Party

Third
Party

Customer

Utility

AMI

Customer

Third
Party

AMI

AMI

Figure 1

Utility