Smart Grid Secure Device Profiles:

Foundational Concepts

DOCUMENT REVISION HISTORY

| Version | Date | Updated By | Description of Changes |
| --- | --- | --- | --- |
| 0.1 | 2011.01.15 | Rohit Khera | Initial Draft and outline |
| 0.2 | 2011.01.24 | Rohit Khera, Bora Akyol | Added section on device robustness and Resilience, & Device Management to outline |
| 03. | 2011.03.07 | Shrinath Eswarahally | Added section on Cryptographic hardware (section 4.1 and Section 5) |

SIGNATURE BLOCK

Recommended By:

### Date:

Name, Title

Concurred By:

### Date:

Name, Title

### Date:

Name, Title

Approval Authority:

### Date:

Name, Title

## able of Contents

able of Contents	3

List of Figures	3

List of Tables	3

1	Introduction	3

2	Discussion of Requirements	3

2.1	NISITIR 7628	3

2.2	ASAP-SG AMI-Sec Profile	3

2.3	ASAP-SG DM Profile	3

2.4	NERC CIP	3

3	Smart Grid Domains in Scope	3

3.1	Distribution	3

3.1.1	Representative Device Types	3

3.1.2	Representative Communication Channel Bandwidth & Protocols	3

3.1.3	Representative l Device Computational Resources	3

3.2	Wide Area	3

3.2.1	Representative Device Types	3

3.2.2	Representative Communication Channel Bandwidth & Protocols	3

3.2.3	Representative Device Computational Resources	3

3.3	Sub-Station	3

3.3.1	Representative Device Types	3

3.3.2	Representative Communication Channel Bandwidth & Protocols	3

3.3.3	Representative Device Computational Resources	3

3.4	Home / AMI	3

3.4.1	Representative Device Types	3

3.4.2	Representative Communication Channel Bandwidth & Protocols	3

3.4.3	Representative Device Computational Resources	3

4	Secure Device Profiles – High Level Overview	3

4.1	Cryptographic Hardware	3

4.2	Ciphers	3

4.3	Random Number Generation	3

4.4	Side Channel Attack Mitigation	3

4.5	Secure Protocols	3

4.5.1	Internet Protocol Based (Internet & Transport Layer)(Connectionless / Connection Oriented)	3

4.5.2	Non – Internet Protocol Based	3

4.6	Device Identity	3

4.7	Device Authentication & Access Control	3

4.8	Device Robustness and Resilience	3

4.9	Key Management	3

4.10	Device Management	3

4.11	Cryptographic Hardware APIs	3

5	Cryptographic Hardware	3

5.1	Acceleration	3

5.1.1	GF Arithmetic	3

5.1.2	Asymmetric Cryptography Operations	3

5.1.3	Asymmetric Cryptography Primitives	3

5.1.4	Symmetric Ciphers and Modes	3

5.1.5	Sample Processors and Costs	3

5.2	Side Channel Attacks	3

5.2.1	Simple and Differential Power Analysis	3

5.2.1.1	Hamming Weight Leakage	3

5.2.1.2	Transition Count Leakage	3

5.2.2	Timing Based	3

5.2.3	Syringe Based	3

5.2.4	Practices for Side Channel Attack Protections	3

5.3	Secure Storage	3

5.4	Identity	3

5.5	Hardware APIs	3

5.6	Certification	3

6	Ciphers	3

6.1	Cryptographic Requirements	3

6.2	Cryptographic Strength	3

6.3	Symmetric Block Ciphers and Modes	3

6.4	Hash Functions	3

6.5	MAC	3

6.6	Pair-Wise Key Agreement Schemes	3

6.7	Key Transport and Key Wrapping	3

6.8	Key Validation	3

6.9	Digital Signature Schemes	3

6.10	Deterministic Random Bit Generators	3

6.11	Discussion on NSA Suite B Cryptography and FIPS 140-2 Approved Algorithms and Modes	3

6.12	Sample Performance and Size	3

6.13	Recommended Cipher Suites for IP Based Protocols	3

6.13.1	TLS	3

6.13.2	IPSec	3

6.13.3	SSH	3

6.13.4	Discussion of Connectionless and Connection Oriented Protocols	3

6.14	Recommended Cipher Suites for Non-IP Based Protocols	3

6.14.1	DNP3	3

7	Random Number Generation	3

7.1	FIPS 140-2 Annex C	3

7.2	Pseudo Random Generation	3

7.2.1	Seeding / Re-Seeding	3

7.2.2	Security Strength	3

7.2.3	Entropy Input	3

7.2.4	Seeding / Re-Seeding	3

7.2.5	Seed Secrecy	3

7.2.6	Prediction & Backtracking	3

7.2.7	DRBG Algorithms	3

7.2.7.1	Hashing	3

7.2.7.2	HMAC	3

7.2.7.3	Block Ciphers	3

7.2.7.4	Number Theoretic Problem Based DRBG	3

7.3	Assurance & Validation	3

7.4	Entropy Sources	3

8	Device Identity	3

8.1	Secret Key Based	3

8.2	Public Key Based	3

8.2.1	Device Generated / Interaction with RA / CA	3

8.2.2	Centrally Generated	3

8.3	Manufacturer Installed	3

8.4	Utility / Service Provider Installed	3

8.5	Hardware Based Mechanisms	3

9	Device Authentication & Access Control	3

9.1	Kerberos	3

9.2	EAP / PANA	3

9.3	Radius	3

9.4	Federated vs. Centralized	3

10	Device Robustness and Resilience	3

10.1	Architectural Principles to assure Robustness and Resilience	3

10.1.1	Hardware Architecture	3

10.1.2	Software Architecture	3

10.2	Physical Boundary Protection of Devices	3

10.3	Protecting Against Denial of Service Attacks	3

10.3.1	Communication Interfaces	3

10.3.2	CPU Resource Conservation	3

10.3.3	Memory and Storage Conservation	3

10.3.4	Battery and Power Conservation	3

10.4	Continuing to Operate Under Adverse Conditions	3

10.5	Protocol Implementation Guidelines for Robust and Resilient Embedded Systems	3

11	Key Mangement	3

11.1	Key Types and Usage	3

11.2	Cryptoperiods	3

11.3	Domain Parameter Validation	3

11.4	Assurance of Private Key Possession	3

11.5	Key Confirmation	3

11.6	Protection Requirements	3

12	Device Management	3

12.1	Security Event Definition	3

12.2	Secure Updates	3

12.2.1	Firmware	3

## List of Figures

## List of Tables

# Introduction

# Discussion of Requirements

## NISITIR 7628

## ASAP-SG AMI-Sec Profile

## ASAP-SG DM Profile

## NERC CIP

# Smart Grid Domains in Scope

## Distribution

### Representative Device Types

### Representative Communication Channel Bandwidth & Protocols

### Representative l Device Computational Resources

## Wide Area

### Representative Device Types

### Representative Communication Channel Bandwidth & Protocols

### Representative Device Computational Resources

## Sub-Station

### Representative Device Types

### Representative Communication Channel Bandwidth & Protocols

### Representative Device Computational Resources

## Home / AMI

### Representative Device Types

### Representative Communication Channel Bandwidth & Protocols

### Representative Device Computational Resources

# Secure Device Profiles – High Level Overview

## Cryptographic Hardware

4.1 CRYPTOGRAPHIC HARDWARE

Security processors are vastly utilized for protected processing and storage of data in many of today’s

applications. Security devices that are situated in the field are facing more and more threats, which in turn grow more dangerous from day to day. Meanwhile, new applications like  Two way secure communicable smart meter and other end devices,   electronic passports and national identification cards, demand increased security lifetimes. In a recent study conducted by one of the national lab has identified various threat to the smart Grid Control and IT network. Trends  impacting security are:

- Open Protocols: Open industry standard protocols are replacing vendor-specific proprietary communication protocols

- Common Operating Systems : Standardized computer platforms increasingly used to support control system applications

- Interconnected to Other Systems: Connections with enterprise networks to obtain productivity improvements and information sharing

- Reliance on External Communications: Increasing use of public telecommunication systems, the Internet, and wireless for control system communications

- Increased Capability of Field Equipment: “Smart” sensors and controls with enhanced capability and functionality

- Pressure against recognizing security as critical for automation system development, deployment, and management

- Limited security management policies and procedures for PCS and automation systems

- Wide availability of conventional information technology (IT) hardware and software/operating systems

- Desire for improved operational and process efficiency

- Lack of business case for PCS security investment

  - Little concrete data on automation system attacks

  - Legal precedent not well-established

  - Automation products that have limited intrinsic security capabilities

  - No contractual requirements for security

- Security is 5-10 years behind typical IT systems

Client side threats:

- Increasing interconnectedness at all levels

- Adoption of standardized technologies with known vulnerabilities

- Connectivity of control systems to other networks

- Insecure connections

- Widespread availability of technical information about control systems

Increasing reliance on automation

Considering the above threat to the end devices at client side we need to Change some of the Availability, Confidentiality and Integrity for Logical interface categories in  NISTIR. The end device such as Main meter @ home is not just electricity measuring meter. As smart grid will involve distributed Energy resources (Solar, PHEV wind energy),  Energy will be fed back to the grid. In this scenario, Meter needs to address reverse energy flow control and data. This increases  the end devices  and its interfaces availability, Integrity and confidentiality levels. Hardware security Module (HSM) are high end security micro controllers acts as a root of trust  for End-to-End suthentication with  secure Storage capability. For our Smart Grid environment , We can call this  as “ Secure Meter Element  (SME)”.

Four Pillars of Security Meter Element  at End point are:

1) Life Cycle Management

- Secure key management to introduce a root of trust very early into the product lifecycle.  This has the advantage of protecting Grid system components during manufacturing and programming.  Secure key management also enables lifecycle management such as subsequent initialization, integrity checking, upgrading, and disablement of any System Client.

- Throughout the entire life cycle of all system components.

2) PKI – key management

- Secure Meter Element improves, enforces and simplifies existing solutions for controlled distribution of chips/devices/systems and IP using asymmetrical PKI infrastructures.

3) Operational Mode

- Secure Meter Element enables custom use cases in Operational (deployed) mode adding high level security to customer’s applications.

4) Anti-Tampering (Trustworthiness)

- The Secure Meter Element improves and expands Anti-Tampering features of existing infrastructure, and  increases trustworthiness of entire system

.

SMEs have following features:

- Certified by independent third party.

- Tamper proof storage and execution environment of security functions

- Personalized; secrets and algorithms incorporated in security certified manufacturing

- Mutual authentication between smart meter and back office server

- Verification of updates of the smart meter

- Assurance of command and data integrity

- Support of rights management

- Recording of error conditions

- Protected Storage of meter data/control parameters and price signal info.

- Unique identification for Each device…injected into the SME during Manufacturing.

- Mutual authentication between  smart meter and back office server.

- Smart Meter data and communication integrity

SME Life cycle:

“Known” and “unknown” attacks

The target of every attack is mainly determined by the specific application that is used. Even until today, it was often common sense to primarily survey the protection against socalled “known attacks”, which were transferred into test scenarios for dedicated products. But taking into account that several hundred new attack scenarios are evolved every year, it is obvious that many questions are left open. First, one should ask who would know a specific attack? It is not surprising that proficient attackers often keep their findings secret.

Manufacturers of security Crypto  controllers also have to care about the question “What can be done to protect a device in a better way against unknown attacks?”.

Three attack classes, which are used against hardware, have been known since the beginnings. They remained constant for decades, and are also expected to remain constant over many coming years:

Semi-Invasive attacks

Utilizing “Semi-Invasive” attacks, an adversary tries to induce faulty behavior in a security controller. Then, he can try to circumvent security decisions in the software, or manipulate data for his own purpose. A faulty cryptographic calculation may even lead to the extraction of a secret key. In principle, attackers can utilize everything which affects the behavior of silicon chips: Electrical transients, called “Spikes” or “Glitches”, but also electromagnetic pulses, light or lasers, ionizing radiation from radioactive sources, or temperature changes can be applied. For example, protection measures against “laser attacks”, an attack test often used in evaluation, would not automatically give indications about protection against  neighbored Semi-Invasive attack scenarios.

Manipulative attacks

If the attacker performs manipulations of the hardware itself, such attacks are called “manipulative attacks”. This could include the use of microscopic needles which are set on the signal lines, over which secret information from the heart of the chip would be extracted. Other manipulative attacks imply the modification of a chip’s structure and circuit by utilizing micro-surgery on the silicon, typically by the use of a Focused-Ion-Beam (FIB) workstation. More recent manipulative attacks include the use of atomic force microscopy needles, which are only a few atoms wide and therefore

are compatible with even the latest, smallest technology sizes.

Observing attacks

Observing  attacks have existed for many decades now. For example, the observation of the power consumption of a security

device could yield information concerning the secret data processed therein or even the secret key that is used to process this information. In principle, every side-effect of semiconductor operation, the timing behavior, or even smallest traces of light emission or heat generation can be utilized to extract secret data. For example, protection measures against the “Differential Power Attacks” (DPA), would not automatically give indications about protection against neighbored attack scenarios like the successor “Electromagnetic Analysis” (EMA).

Many of today’s products are equipped with security features that are focused on very special attack scenarios or subgroups, like laser attacks or DPA. The situation gets worse if the countermeasures are tailored to only meet the attack equipment or parameters that are used in common tests: Would such a chip be designed only for the purpose of surviving evaluation and certification? Would this be the intention or only the fault of a semiconductor manufacturer? The industry had to find a way out of this situation. The more the countermeasures were scenario-oriented, the more available space they would leave open for an adversary. This is the reason why the overall philosophy of countermeasures had to be dramatically changed.

Attacks are further expanded in Chapter 5.2

New, comprehensive security concepts

Most typical security features cannot be used any more for building the main security layer, as they are always bound to the specific parameters of the attack. A new comprehensive security concept  utilizes  mechanisms that work independently of the specific detailed characteristics of a single attack scenario. Main requirements for designing future-orientated security

concepts:

• Hardware security should be strong

• Security technology should be easy to use

• Security systems should work autonomously

• Hardware should be able to check itself

• Designs should be robust

• Security mechanisms should be mathematically modeled.

Technical realization

In the history of security controllers, one most important aspect was typically neglected – the CPU itself, the heart of the microcontroller. Indeed, a real protection of the CPU itself, at first sight, seems to be a hard problem: Simple protection concepts like adding parity bits in the registers or other parts of the CPU, under attack conditions, turned out not to be sufficient. Utilizing a dual-CPU with very close denticulation allows for very comprehensive protection against semi-invasive attacks. It should be fully transparent for the software developer, and should not have a negative impact on performance. Interestingly, in reality it turned out that such a system could often be even much more energy efficient than a conventional chip, as other security measures, usually decreasing performance, would not be needed anymore.

For protection against observing  and manipulative attacks, encryption is very important. Even older products usually employed encryption in the chip’s memory blocks, but conventional concepts still show a major weakness: Typically, the CPU, if it wants to process the information stored in the memories, had to utilize clear text.  But today, with New CPU design techniques,  it is even possible to process data in encrypted form in the CPU itself making end to end encryption of data processing upto last mile.  . Two CPUs can employ even different key sets in both parts. In unpowered chips, such keys should of course not be “present”, so they have to be volatile.

Outlook

The future of security controllers is being built by comprehensive digital security mechanisms. Mathematical modeling and simulation greatly simplifies pre-evaluation. Uncertainties concerning upcoming attacks can be greatly reduced, a need for long-living applications. Software developers regain freedom in operating system design and application coding.

Although absolute security will never be possible, the paradigm shift towards the encrypted processing of data in the CPU itself in combination with efficient error detection will be a major step in security technology. This is further explained in Chapter 5.

## Ciphers

## Random Number Generation

## Side Channel Attack Mitigation

## Secure Protocols

### Internet Protocol Based (Internet & Transport Layer)(Connectionless / Connection Oriented)

### Non – Internet Protocol Based

## Device Identity

## Device Authentication & Access Control

## Device Robustness and Resilience

## Key Management

## Device Management

## Cryptographic Hardware APIs

# Cryptographic Hardware

5.0 Security coprocessor :  Required Features (RFP) :

Cryptographic Hardware IC  Functional Characteristics shall have:

- Onboard Coprocessors

- Fully Encrypted CPU core ad cache.

- Onboard True Random Number generator: capable in accordance with FIPS 140-2

- Strong Block cipher Encrypted memories and  their buses.

- Encrypted Bus and registers for   peripherals access.

- Built in error detection capability

- Memory Bus and peripheral Bus are not exposed to outside the IC Package. A very limited 2-3 signals for communication.

- CRC generator

- Dynamic Power management modes.

- Open Standard Communication interface and protocol.

- Asymmetric crypto processor :  To support key length for RSA upto 4096 and ECC 512; the crypto engine performance shall be in accordance with xxx for doing active authentication tasks.

- Symmetric crypto coprocessor for AES/3DES  : High speed  engine to run AES 256 Encryption/Decryption. Capable of running 3DES algorithm. The crypto engine shall perform Secure Messaging

Operating System (OS)

The OS is a required component in the secure micro IC. It defines the characteristics and features of the IC in the AMI. Specifically, the operating system is a software layer that works  in conjunction with the IC hardware, including the cryptographic operation, security, communication, data storage, and other functions. The design and implementation of an AMI operating system plays a critical role in determining the quality AMI security, flexibility, interoperability, and performance.

The IC operating system required for the device.

The OS shall support Symmetric algorithms:

- TDEA

- MAC

- MAC3

- IMAC

- IMAC3

- AES 256

The OS shall support Asymmetric algorithms:

- RSA 1024

- RSA 2048

- DSA 1024

- ECC 224

The OS shall support HASH:

- SHA-1

- SHA-2 (256, 512.)

OS shall support Secure boot capability

OS shall support a Secure flash loader to Flash the updated software and data in field

Os shall support Secure Audit log for forensic purpose.

Micro-Controller/Processor

At a minimum, ICs shall have a 16-bit processor. Multiple processors are acceptable in a single IC. All IC functions shall be performed on a single IC package.

Accessible Memory

Utility accessible memory shall be secure (factory lockable and Utility lockable), programmable and non-volatile during the production processes. At the final personalization phase, the memory will be capable of write-locked  (also referred to as permanently locked).

The IC shall have a minimum of XX KiloBytes (KB) of electrically erasable programmable

read-only memory (EEPROM) space available for the Utility’s  discretionary use.

IC Security

Offerer shall provide evidence (i.e. documentation or certification) and explain to what level and how their solution will  provide the following hardened security requirements:

- Hardware and software (logical) tamper-resistance.

- Security/exception sensors such as voltage, frequency, and temperature.

- A design to prevent unauthorized access via hardware and software security features.

- Auto detection if tamper attempt is made.

Attack Security

- DFA = Differential Fault Analysis

- SPA = Simple Power Analysis

- DPA = Differential Power Analysis

- DEMA = Differential  Electro-Magnetic radiation Analysis

- Common Criteria, Protection Profiles, Vulnerability Assessment Activities, Side Channel Attacks

- Electro Static Discharge (ESD) protection

- Security policy complies with the Common Criteria EAL4+ (ISO/IEC objectives and requirements in a document specified by ISO/IEC 27002.

The IC Memory Management shall have:

- Secure EEPROM/Flash on the same IC

- Durability (data retention): At least 15-20 years

- Anti-tearing reading/writing mechanisms

The memory shall support a minimum of 500K read/write cycles without failure or performance degradation.

UNIQUE IC SERIAL NUMBER

Identification Method

- Unique IC shall be obtainable by reading the Chip UID

- Unique serial number shall be stored internally in the IC and not printed on the surface of the IC or IC package

Numbering Requirements

- The unique IC serial numbers shall be non-sequential numbers.

- The unique IC serial number shall not repeat for ten years from product delivery.

IC TRANSPORT KEY REQUIREMENTS

Transport Key(s) include: Transport, Format, Pre-personalization, and Personalization Keys for each life cycle phase (Manufacturing, Administration/Pre-Personalization, and Personalization).

Transport Key Characteristics

- The Transport Key length shall be a minimum of 24 bytes For signature the algorithm shall be MAC3/TDEA_MAC3, EDE, effective key length shall be respectively 112bits/168bits

- For encryption the algorithm shall be DES3/3TDEA, EDE, effective key length shall be respectively 112bits/168bits Initial Value (IV) shall support SSC (secure session counter) with random and IV=0

- Data Padding shall be ISO padding.

5.2 : Attacks and Countermeasures

State of the Art Security microcontrollers  designed today , plan and anticipate for  long lifetime , as the devices uses these controllers must be in field typically for around 15-20 years as in the case of  smart grid devices ,

The security level achievable by a specific design, can be derived from its resistance against attack scenarios both known and unknown. The resistance against known attacks will provide the security level today, while the resistance against future attacks may provide  information about the security level of the same product in the future. Therefore, in order to gain a comprehensive overview, attacks

from the past, present and even the future should be given the utmost consideration.

As we discussed earlier Attacks against the hardware used in Secure microcontrollers smart card and security controllers can

be assigned to three main classes:  Fault Induction (Semi-Invasive) Attacks,  Side Channel (Observing) Attacks, and  Physical (Manipulating) Attacks.

These three attack classes are  populated with many thousands of different types of specific attacks, and even with combinations of these.

Fault Induction Attacks, for example, being the most popular attack form in the last years, have diversified into methods using electrical impulses (“Spike Attacks”), frequency variations (“Glitch Attacks”), laser radiation (“Optical Attacks”), thermal transients (“Temperature Attacks”) and even radioactive sources (“Alpha Radiation Attacks”). Each method, in turn, can be used in a large variety of scenarios. Nevertheless, every year a multitude of new methods are researched and applied against security devices. Interestingly, till recently, many of the countermeasures that are available in some s products was not covering  the attack  class itself, but instead only focus on specific varieties. In reality, this means that for counteracting Fault Induction Attacks, some of these   controllers comprise specific detectors for each known particular scenario – for example voltage detectors against spike attacks, temperature detectors against temperature variation attacks and light detectors against optical attacks  this may lead to the remaining risk of attacks that are not foreseen, even by top experts. Therefore, all future orientated concepts that are targeting the next decade of security controllers, must be

based on comprehensive approaches and research.

.

The actual and future attacks applied by internal evaluation, external test laboratories and, of course, by attackers, are mainly characterized by their local application, which means that the complete chip is not targeted, but only small areas or even single

transistors. Now, as attacks become locally focused, the complete chip can no longer be protected by global sensors. In the conventional approach, area-localized countermeasures (sensors)  would have to be applied, which further drives up the costs. In the future, applying conventional concepts could not only endanger the security   products that rely mainly on sensor security, but could also endanger the cost element of such products, as immense amounts of sensor elements would have to be introduced. Furthermore, if a security

system was to be only sensor-based, irrespective of which attack medium a hacker would choose, the right sensor must be present in nearly every part of the chip. Even for amateurs, it quickly becomes clear that a comprehensive security system cannot be purely

sensor-based. With this in mind now,  security controllers are  designed for a security lifetime of many years. For this , approach of moving in the direction   of error-detecting circuits and their utilization in security controllers ,  Instead of setting up legions of sensors against every possible threat, a new and innovative barrier was set up – the identification of errors before they could cause harm

to the chip security. Now these secure controllers  are equipped with   error detection codes (EDC) for all the memories (RAM,NVM,ROM)  , Hardware checks for the chip’s internal states, e.g. bus systems and CPU functionalities along with Trap system which enables  the operating system to identify errors that could have been introduced to try an attack. The “trap system” distinguishes between approximately 50 different error scenarios, such as bus access errors, illegal CPU states, illegal address or code configurations,

memory access violations and many more. These support Multi level concept which enforces strict true Firewall between Multi Applications running on the chip.  The new security concept oif Guarding the integrity of the chip with a full error detection capability for the complete data path as shown in the diagram.

These new security controllers will comprise of two CPUs in every chip. The dual-CPU approach allows error detection in real time, even while processing. Both CPUs deliver their calculation results independently from each other. A comparator detects

whether a calculation was performed without errors, or if an erroneous calculation was made, e.g. under attack conditions. In the case of an error, an alarm is instantly issued. This concept enables relevant attack scenarios to be detected, whereas other conditions that would not lead to an error, would mainly be ignored. All memories are included in a comprehensive Error Detection System, which protects the

complete data path from CPUs through the buses to the memories and also back to the CPUs. Needless to say, standard CPU cores must NOT be used in advanced security controllers. Therefore, both CPU implementations were designed  in such a way to allow full control over all internal functions. Even the cache is an active part of Error Detection – which is essential, as cache based attacks will become a major threat for  security in the near future. The error detection system is  mathematically modeled and therefore its protection functionalities can be simulated. This simulation and mathematical modeling of security systems will be of

much higher importance in the future security evaluations. The prediction of security behavior by mathematical means

allows truly scalable security, making security evaluation and certification more efficient and reliable. For example, fault attack simulations and their effects on the complete system can now be modeled and evaluated before the silicon prototypes are even available. Tests using real attack conditions have already shown that the mathematical models are correct. Digital security features, in contrast to analog technologies, do not require calibration or adjustment. They are not process dependant and their efficiency can be simulated before integration and also easily tested. The robustness against environmental parameters is very high.  As mentioned earlier   both CPUs are now able to perform encrypted calculations, enabled by a feature called Full Encryption. These controllers will be equipped with   full encryption over the complete core and memories, leaving no plain data on the chip.

The two CPUs utilize full hardware encrypted calculation, with different secret keys used in both of the

CPUs.  . All memories are completely encrypted . For the memory blocks RAM, ROM, EEPROM and FLASH, a strong block cipher hardware encryption engine is utilized, which also protects the memory bus systems. Mathematical methods enable re-ciphering from the memory encryption system to the encrypted CPU itself to be done without exposing clear text.  Peripheral buses are protected using dynamically changing keys.   Symmetric coprocessor  Engine used for AES and DES    utilizes internal dynamic encryption – just like the encrypted CPUs. This prevents the presence of secret plaintext inside important parts of the chip. Indeed, significant mathematical efforts were required to develop this non-plaintext, full-encryption concept. This will  enable  unchallenged protection potential in the light of upcoming advanced attacks, such as micro coil based localized DEMA (Differential Electromagnetic Analysis).

These microcontrollers also provide signal protection. The most important part about signal protection, is to reduce the attractiveness of signals for an attacker. This is done by full encryption – encrypted signals are of no use to the attacker; neither for manipulating them, nor for eavesdropping. Nevertheless, for every design there are some signals that are of more importance than others, so a new   shielding concept, combined with intelligent secure wiring, is  introduced.   . An intelligent shielding algorithm finishes the chip’s layers, providing the final Active I2-shield,

## Acceleration

### GF Arithmetic

### Asymmetric Cryptography Operations

### Asymmetric Cryptography Primitives

### Symmetric Ciphers and Modes

### Sample Processors and Costs

## Side Channel Attacks

### Simple and Differential Power Analysis

#### Hamming Weight Leakage

#### Transition Count Leakage

### Timing Based

### Syringe Based

### Practices for Side Channel Attack Protections

## Secure Storage

## Identity

## Hardware APIs

## Certification

# Ciphers

## Cryptographic Requirements

## Cryptographic Strength

## Symmetric Block Ciphers and Modes

## Hash Functions

## MAC

## Pair-Wise Key Agreement Schemes

## Key Transport and Key Wrapping

## Key Validation

## Digital Signature Schemes

## Deterministic Random Bit Generators

## Discussion on NSA Suite B Cryptography and FIPS 140-2 Approved Algorithms and Modes

## Sample Performance and Size

## Recommended Cipher Suites for IP Based Protocols

### TLS

### IPSec

### SSH

### Discussion of Connectionless and Connection Oriented Protocols

## Recommended Cipher Suites for Non-IP Based Protocols

### DNP3

# Random Number Generation

## FIPS 140-2 Annex C

## Pseudo Random Generation

### Seeding / Re-Seeding

### Security Strength

### Entropy Input

### Seeding / Re-Seeding

### Seed Secrecy

### Prediction & Backtracking

### DRBG Algorithms

#### Hashing

#### HMAC

#### Block Ciphers

#### Number Theoretic Problem Based DRBG

## Assurance & Validation

## Entropy Sources

# Device Identity

## Secret Key Based

## Public Key Based

### Device Generated / Interaction with RA / CA

### Centrally Generated

## Manufacturer Installed

## Utility / Service Provider Installed

## Hardware Based Mechanisms

# Device Authentication & Access Control

## Kerberos

## EAP / PANA

## Radius

## Federated vs. Centralized

# Device Robustness and Resilience

## Architectural Principles to assure Robustness and Resilience

### Hardware Architecture

### Software Architecture

## Physical Boundary Protection of Devices

## Protecting Against Denial of Service Attacks

### Communication Interfaces

### CPU Resource Conservation

### Memory and Storage Conservation

### Battery and Power Conservation

## Continuing to Operate Under Adverse Conditions

## Protocol Implementation Guidelines for Robust and Resilient Embedded Systems

# Key Mangement

## Key Types and Usage

## Cryptoperiods

## Domain Parameter Validation

## Assurance of Private Key Possession

## Key Confirmation

## Protection Requirements

# Device Management

## Security Event Definition

## Secure Updates

### Firmware